## Slide 1: 2003 and 2005 CA Loading Order
2003 Energy Action Plan I – CEC/CPUC/CPA
2005 Energy Action Plan II – CEC/CPUC
Loading order established implementation priorities for meeting energy demand
  Energy efficiency
  Demand response
  Renewables
  Clean, affordable fossil fuel generation

## Slide 2: What’s Changed in 20 Years
Rapid acceleration of climate change
Focus on energy shifted to broader outlook on emissions
Electrification became a large part of the solution, though not always as clear policy
Solar capacity went from negligible in 2003 to 39,000 MW in 2022
The duck curve was “invented”, first as a projection, then as reality
Revolutionary technology advances
  Addressable devices
  Battery storage
CA EV adoption went from <4k in 2003 to 1.5M in 2023 with a goal of 5M by 2030

## Slide 3: Modernizing the Loading Order
Energy efficiency (EE) is good. EE during peak is especially good
  Need policy and innovation that addresses the time value of EE
Demand response. Conventional DR has been useful, but limiting
  Today, load flexibility can be nimble, aligned with peak, rate responsive
Renewables at 100%
  Needs storage!
Clean fossil fuel generation.
  Secondary to a primary electrification policy
Transportation and system reliability
  Integration of clean transportation is key in climate policy
  Reliability is paramount with electrification at scale.

## Slide 4: Considerations for Change
Why change the loading order?
  Recognize broader climate outlook vs just energy
  Catch up with what is actually occurring already
  Provide clear direction on implementation priorities to regulators, policymakers, industry, utilities, researchers, etc
  Align key agencies
2. Overarching principles
  Reducing emissions is a policy priority (with costs and reliability as core values)
  The time value of initiatives is key
    High value EE targeted to peak
    Load flexibility to capture untapped potential (esp residential)
    Renewables PLUS storage
  Clean, affordable electrification is a primary strategy
  Integration of transportation as part of emissions strategy