Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-G240C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 228000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-G240D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 228000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H180C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 172000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H180D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 172000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H210C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 200000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-G180C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 172000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-G180D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 172000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-G300C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 9.8 |  | 13 | 13 | [6 empty] | 286000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-G300D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 9.8 |  | 13 | 13 | [6 empty] | 286000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H180C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 172000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H240C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 228000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H240D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 228000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H300C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 9.8 |  | 13 | 13 | [6 empty] | 286000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H300D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 9.8 |  | 13 | 13 | [6 empty] | 286000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H300C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10 |  | 13.2 | 13.2 | [6 empty] | 290000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H300D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10 |  | 13.2 | 13.2 | [6 empty] | 290000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2180C | RHCLA2180C | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 172000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RPCL2090D | RHCLP2090D | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.1 | 14.1 |  |  |  |  | 3.4 | 3.4 | 85000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RPCL2090C | RHCLP2090C | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.1 | 14.1 |  |  |  |  | 3.4 | 3.4 | 85000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RPCL2120C | RHCLP2120C | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.1 | 14.1 |  |  |  |  | 3.4 | 3.4 | 113000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RPCL2120D | RHCLP2120D | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.1 | 14.1 |  |  |  |  | 3.4 | 3.4 | 113000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2120C | RHCLA2120C | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 114000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2120D | RHCLA2120D | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 114000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RHPDZT102AC*****B |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.1 | 14.1 |  |  |  |  | 3.4 | 3.4 | 97000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RHPDZT102AD*****B |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.1 | 14.1 |  |  |  |  | 3.4 | 3.4 | 97000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-G180D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 172000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-G300C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10 |  | 13.2 | 13.2 | [6 empty] | 290000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-G300D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10 |  | 13.2 | 13.2 | [6 empty] | 290000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H210D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 200000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H240C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 228000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLNL-H240D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 228000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RLRL-H180C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.6 |  | 14.2 | 14.2 | [6 empty] | 170000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-G180C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 172000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H180D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 172000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H210C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 200000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKNL-H210D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 200000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKRL-H180C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.6 |  | 14 | 14 | [6 empty] | 170000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKRL-H180D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.6 |  | 14 | 14 | [6 empty] | 170000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKRL-H240C |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.6 |  | 14 | 14 | [6 empty] | 228000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RKRL-H240D |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.6 |  | 14 | 14 | [6 empty] | 228000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT090AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 85000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT090AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 85000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT102AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 96000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT102AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 96000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT120AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 114000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT120AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 114000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT150AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 142000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACDZT150AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 142000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT090AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.6 | 14.6 | [6 empty] | 85000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT090AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.6 | 14.6 | [6 empty] | 85000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT102AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.6 | 14.6 | [6 empty] | 96000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT102AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.6 | 14.6 | [6 empty] | 96000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT120AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.6 | 14.6 | [6 empty] | 114000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT120AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 14.6 | 14.6 | [6 empty] | 114000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT150AC*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 142000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RGEDZT150AD*****A |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.8 |  | 14 | 14 | [6 empty] | 142000 | Heating Other Than Electric Re | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2240C | RHCLA2240C | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10 |  | 13.2 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2240D | RHCLA2240D | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10 |  | 13.2 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2078C | RHCLA2090C | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 78000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2090C | RHCLA2090C | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 88000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2078D | RHCLA2090D | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 78000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2090D | RHCLA2090D | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.8 | 14.8 | [6 empty] | 88000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2150C | RHCLA2150C | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 142000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2150D | RHCLA2150D | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 142000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Rheem Sales Company, Inc. | CLIMATEMASTER | RACL2180D | RHCLA2180D | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 172000 | Electric Resistance Heating Or | 11/02/2023 |  | 12/18/2023
Trane U.S. Inc. | AMERICAN STANDARD | ECC210A(3,4,W)E0****7 |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 206000 | Electric Resistance Heating Or | 11/08/2023 |  | 12/18/2023
Trane U.S. Inc. | AMERICAN STANDARD | ECC210A(3,4,W)E(N,P,R)****7 |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 206000 | Electric Resistance Heating Or | 11/08/2023 |  | 12/18/2023
Trane U.S. Inc. | AMERICAN STANDARD | GCC210A(3,4,W)E(H,L,M,X,Y,Z)****7 |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14 | [6 empty] | 206000 | Heating Other Than Electric Re | 11/08/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT072*2 | EED072 | Voluntarily Certified | HPWaterSAllPhase&gt;=65k&lt;13 | False | False |  |  |  |  | 14.4 | 13 | [6 empty] | 4.7 | 4.3 | 67000 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT072*2 | EED072 | Voluntarily Certified | HPWaterSAllPhase&gt;=65k&lt;13 | False | False |  |  |  |  | 14.4 | 13 | [6 empty] | 4.7 | 4.3 | 67000 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT072 | EED072 | Voluntarily Certified | HPWaterSAllPhase&gt;=65k&lt;13 | False | False |  |  |  |  | 14.4 | 13 | [6 empty] | 4.7 | 4.3 | 67000 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT072 | EED072 | Voluntarily Certified | HPWaterSAllPhase&gt;=65k&lt;13 | False | False |  |  |  |  | 14.4 | 13 | [6 empty] | 4.7 | 4.3 | 67000 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT072*2 | EED072 | Voluntarily Certified | HPWaterSAllPhase&gt;=65k&lt;13 | False | False |  |  |  |  | 14.4 | 13 | [6 empty] | 4.7 | 4.3 | 67000 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT072*2 | EAD072 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 13.6 | 13 | [6 empty] | 4.5 | 4.3 | 64300 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT024*2 | EAD024 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5 | 4.3 | 24100 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT060 | EAD060 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.3 | 13 | [6 empty] | 4.7 | 4.3 | 58400 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT072 | EAD072 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 13.6 | 13 | [6 empty] | 4.5 | 4.3 | 64300 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT072 | EAD072 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 13.6 | 13 | [6 empty] | 4.5 | 4.3 | 64300 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT072*2 | EAD072 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 13.6 | 13 | [6 empty] | 4.5 | 4.3 | 64300 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT024*2 | EAD024 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5 | 4.3 | 24100 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT060 | EAD060 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.3 | 13 | [6 empty] | 4.7 | 4.3 | 58400 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT060 | EAD060 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.3 | 13 | [6 empty] | 4.7 | 4.3 | 58400 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT024*2 | EAD024 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5 | 4.3 | 24100 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT072*2 | EAD072 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 13.6 | 13 | [6 empty] | 4.5 | 4.3 | 64300 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT072 | EAD072 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 13.6 | 13 | [6 empty] | 4.5 | 4.3 | 64300 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT060*2 | EAD060 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.3 | 13 | [6 empty] | 4.7 | 4.3 | 58400 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT024 | EAD024 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5 | 4.3 | 24100 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT048*2 | EAD048 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.6 | 13 | [6 empty] | 5.2 | 4.3 | 47800 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT048 | EAD048 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.6 | 13 | [6 empty] | 5.2 | 4.3 | 47800 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT036*2 | EAD036 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5.3 | 4.3 | 35200 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBT036 | EAD036 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5.3 | 4.3 | 35200 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBS018*2 | EAD018 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 17.7 | 13 | [6 empty] | 6 | 4.3 | 20700 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Hydron Module | HBS018 | EAD018 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 17.7 | 13 | [6 empty] | 6 | 4.3 | 20700 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBS018 | EAD018 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 17.7 | 13 | [6 empty] | 6 | 4.3 | 20700 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBS018*2 | EAD018 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 17.7 | 13 | [6 empty] | 6 | 4.3 | 20700 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT036 | EAD036 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5.3 | 4.3 | 35200 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT036*2 | EAD036 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5.3 | 4.3 | 35200 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT048 | EAD048 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.6 | 13 | [6 empty] | 5.2 | 4.3 | 47800 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT048*2 | EAD048 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.6 | 13 | [6 empty] | 5.2 | 4.3 | 47800 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT024 | EAD024 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5 | 4.3 | 24100 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | Tetco | TBT060*2 | EAD060 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.3 | 13 | [6 empty] | 4.7 | 4.3 | 58400 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBS018 | EAD018 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 17.7 | 13 | [6 empty] | 6 | 4.3 | 20700 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBS018*2 | EAD018 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 17.7 | 13 | [6 empty] | 6 | 4.3 | 20700 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT036 | EAD036 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5.3 | 4.3 | 35200 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT036*2 | EAD036 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5.3 | 4.3 | 35200 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT048 | EAD048 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.6 | 13 | [6 empty] | 5.2 | 4.3 | 47800 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT048*2 | EAD048 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.6 | 13 | [6 empty] | 5.2 | 4.3 | 47800 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT024 | EAD024 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16.6 | 13 | [6 empty] | 5 | 4.3 | 24100 | All Heating | 11/13/2023 |  | 12/18/2023
Enertech Global, LLC | GEOCOMFORT | GBT060*2 | EAD060 | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 15.3 | 13 | [6 empty] | 4.7 | 4.3 | 58400 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | Bosch | EP060-3HZ/VT*-*****B |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | Bosch | EP060-4HZ/VT*-*****B |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | Bosch | EP060-1HZ/VT*-*****B |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | Carrier | 50PSH/V060***6/FA* |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | Carrier | 50PSH/V060***5/EA* |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | Carrier | 50PSH/V060***3/CA* |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | FHP | EP060-4HZ/VT*-*****B |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | FHP | EP060-3HZ/VT*-*****B |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
FHP Manufacturing Company | FHP | EP060-1HZ/VT*-*****B |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14.95 | 13 | [6 empty] | 5.09 | 4.3 | 58900 | All Heating | 11/13/2023 |  | 12/18/2023
First Co. | HYDROTECH | WSVXB018*-7 |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14 | 13 | [6 empty] | 4.4 | 4.3 | 17400 | All Heating | 11/13/2023 |  | 12/18/2023
First Co. | AE Air | WSVXB018*-7 |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 14 | 13 | [6 empty] | 4.4 | 4.3 | 17400 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASH*030AB**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASV*030AB**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASH*030AD**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASV*030AD**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASH*030AJ**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASV*030AJ**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASH*030AM**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
The Whalen Company | Whalen | CASV*030AM**A**(D,E) |  | Voluntarily Certified | HPWaterSAllPhase&gt;=17k&lt;65 | False | False |  |  |  |  | 16 | 13 | [6 empty] | 4.66 | 4.3 | 30000 | All Heating | 11/13/2023 |  | 12/18/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUD(T,U)12***(5,6,1)* + 40RFAA12A(2,3)A(5,6,1)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUD(T,U)14***(5,6,1)* + 40RUAA14T*A(5,6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUD(T,U)16***(5,6,1)* + 40RUAA16T*A(5,6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUD(T,U)28***(5,6,1)* + 40RUAA28T*A(5,6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUQ(D,E)07***(5,6,1)* + 40RFQA07A(2,3)A(5,6,1)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUQ(D,E)12***(5,6,1)* + 40RFQA12A(2,3)A(5,6,1)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUQ(M,N)08***(5,6,1)* + 40RFQA08A(2,3)A(5,6,1)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUQ(T,U)16***(5,6,1)* + 40RUQA16T*A(5,6,1)A* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUZ(D,E)07***(5,6,1)* + 40RFAA07A(2,3)A(5,6,1)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUZ(D,E)08***(5,6,1)* + 40RFAA08A(2,3)A(5,6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUZ(M,N)12***(5,6,1)* + 40RFAA12A(2,3)A(5,6,1)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUZ(M,N)14***(5,6,1)* + 40RUAA14T*A(6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUZ*16***(5,6,1)* + 40RUAA16T*A(5,6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 38AUZ*25***(5,6,1)* + 40RUAA25T*A(5,6,1)A* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 11 |  | 13.6 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR06*****(A,B)***** + 09XC06******* |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11.2 | 11.2 | [8 empty] | 68000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR06*****(F,G)***** + 09XC06****1** |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11.2 | 11.2 | [8 empty] | 68000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR08*****(A,B)***** + 09XC08******* |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11.2 | 11.2 | [8 empty] | 81000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR08*****(F,G)***** + 09XC08****1** |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11.2 | 11.2 | [8 empty] | 81000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR12*****(A,B)***** + 09XC12******* |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11.2 | 11.2 | [8 empty] | 121000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR12*****(F,G)***** + 09XC12****1** |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11.2 | 11.2 | [8 empty] | 121000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR14*****(A,B)***** + 09XC14******* |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11 | 11 | [8 empty] | 140000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR14*****(F,G)***** + 09XC14****1** |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11 | 11 | [8 empty] | 140000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR16*****(A,B)***** + 09XC16******* |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11 | 11 | [8 empty] | 180000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR16*****(F,G)***** + 09XC16****1** |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 11 | 11 | [8 empty] | 180000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR24*****(A,B)***** + 09XC24******* |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 10 | 10 | [8 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | CARRIER CORPORATION | 50XCR24*****(F,G)***** + 09XC24****1** |  | Voluntarily Certified | DoubleDuctACAirCoolAllPhase&gt | False | False |  |  |  |  | 10 | 10 | [8 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)07(G,H)* + 524F(E,P,T)07A000A(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)08(G,H)* + 524F(E,P,T)08A000A(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)12(M,N)* + 524F(E,P,T)12A000A(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)12(T,U)* + 524F(E,P,T)12A000A(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)14(M,N)* + 524J(E,P,T)14A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)14(T,U)* + 524J(E,P,T)14A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)16(A,B)* + 524J(E,P,T)16A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)16(T,U)* + 524J(E,P,T)16A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)25(A,B)* + 524J(E,P,T)25A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 11 |  | 13.6 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)25(T,U)* + 524J(E,P,T)25A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 569J(P,E,T)28(T,U)* + 524J(E,P,T)28A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 575J(P,E,T)07(G,H)* + 524F(E,P,T)07H000A(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 575J(P,E,T)08(M,N)* + 524F(E,P,T)08H000A(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 575J(P,E,T)12(G,H)* + 524F(E,P,T)12H000A(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 575J(P,E,T)16(T,U)* + 524J(E,P,T)16H2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Bryant Heating & Cooling Systems | 575J(P,E,T)25(T,U)* + 524J(E,P,T)25H2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS072(H,L,S)(G,H)* + FAX072(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 12 |  | 15.5 | 14.8 | [6 empty] | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS091(H,L,S)(G,H)* + FAX091(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 92000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS121(H,L,S)(M,N)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.5 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS123(H,L,S)(T,U)* + FAX120(H,L,S)(2,3)* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 14.9 | 14.8 | [6 empty] | 117000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS151(H,L,S)(M,N)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 15.5 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS153(H,L,S)(T,U)* + FAS150(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 135000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS181(H,L,S)(A,B)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11.2 |  | 14.3 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS183(H,L,S)(T,U)* + FAS180(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 11 |  | 14.2 | 14.2 | [6 empty] | 184000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS243(H,L,S)(T,U)* + FAS240(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.2 | [6 empty] | 240000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CAS303(H,L,S)(T,U)* + FAS300(H,L,S)**A2* |  | Voluntarily Certified | ACAirCoolAllPhase&gt;=240k&lt; | False | False |  |  |  |  | 10.6 |  | 13.2 | 13.2 | [6 empty] | 278000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CHS072(H,L,S)(G,H)* + FHX072(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.7 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 70000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CHS091(H,L,S)(M,N)* + FHX091(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11.2 |  | 15.3 | 14.1 |  |  |  |  | 3.5 | 3.4 | 88000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CHS121(H,L,S)(G,H)* + FHX120(H,L,S)(2,3)* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=65k&lt;1 | False | False |  |  |  |  | 11 |  | 15.3 | 14.1 |  |  |  |  | 3.4 | 3.4 | 112000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CHS183(H,L,S)(T,U)* + FHS180(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 178000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Keeprite | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Tempstar | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Heil | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Comfortmaker | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | ICP Commercial | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Airquest | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Arcoaire | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023
Carrier Corp. - Syracuse | Day & Night | CHS243(H,L,S)(T,U)* + FHS240(H,L,S)**A2* |  | Voluntarily Certified | HPAirCoolAllPhase&gt;=135k&lt; | False | False |  |  |  |  | 10.6 |  | 13.5 | 13.5 |  |  |  |  | 3.5 | 3.3 | 222000 | Electric Resistance Heating Or | 08/10/2023 |  | 12/26/2023