## GasFiredHeatPump_12012025
Manufacturer | Brand | Model Number | Coil Model Number | Gas Central Heat Pump Type | Voltage | Phase | Refrigerant Type | Cooling Capacity | Gas Input Cooling | Electrical Input Cooling | Cooling Gas Coefficient of Performance (Gas Cooling COP) | Cooling Electric Coefficient of Performance (Electric Cooling COP) | Heating Output | Gas Input Heating | Electrical Input Heating | Heating Gas Coefficient of Performance (Gas Heating COP) | Heating Electric Coefficient of Performance (Electric Heating COP) | Regulatory Status | Add Date | Reference Number | Modified Date
Robur Corp. | Gax | ACF60 |  | GAS-HRCU-A-CO, Split System: G | 208 | 1 | No Match | 60000 | 97000 | 850 | [7 empty] | Non Federally-Regulated | 1999-05-24 |  | 2019-11-27
Robur Corp. | Gax | ACF36 |  | GAS-HRCU-A-CO, Split System: G | 115 | 1 | No Match | 36000 | 58000 | 740 | [7 empty] | Non Federally-Regulated | 1999-05-24 |  | 2019-11-27
Aisin Seiki | Aisin | AXGP096D1NHS | FXHQ24MVJU | GAS-HRCU-A, Split System: Gas | 230 | 1 | Non-Ozone-Depleting | 96000 | 81000 | 1 | 1.2 | 9.82 | 103000 | 86000 | 1 | 1.24 | 9.59 | Non Federally-Regulated | 2012-04-24 |  | 2020-02-27
Aisin Seiki | Aisin | AXGP180D1NHS | FXMQ36MVJU | GAS-HRCU-A, Split System: Gas | 230 | 1 | Non-Ozone-Depleting | 180000 | 189000 | 1 | 0.96 | 11.01 | 205000 | 165000 | 1 | 1.26 | 11.54 | Non Federally-Regulated | 2012-04-24 |  | 2020-02-27
IntelliChoice Energy | NextAire | 132.P.6.0.HA |  | GAS-HSP-A, Single-Package Gas | 208 | 3 | Non-Ozone-Depleting | 135000 | 118000 | 4 | 1.14 | 10.84 | 147000 | 104000 | 4 | 1.41 | 11.96 | Non Federally-Regulated | 2010-11-29 |  | 2020-03-23
IntelliChoice Energy | NextAire | 132.P.6.0.HA |  | GAS-HSP-A, Single-Package Gas | 230 | 3 | Non-Ozone-Depleting | 135000 | 118000 | 4 | 1.14 | 10.84 | 147000 | 104000 | 4 | 1.41 | 11.96 | Non Federally-Regulated | 2010-11-29 |  | 2020-03-23