## BallastsForResidentialRecessedL
Manufacturer | Brand | Model Number | Ballast Lamp Type | Dimming | Minimum Rated Life | Min Rated Life Std | Maximum Ballast Case Temp | Ballast Factor | Ballast Factor Std | Regulatory Status | Add Date | Reference Number | Modified Date
Keystone Technologies | Keystone | KTEB-126-1-TP-SC-RJS /HB | G24Q | Non-BallastDimming | 30000 | 30000 | 194 | 0.934 | 0.9 | Non Federally-Regulated | 2014-07-15 |  | 2019-04-05