## Deep-DimmingBallasts_12022025
Manufacturer | Brand | Model Number | Ballast Voltage | Ballast Lamp Number | Deep-Dimming Lamp Type | Dimming Type | Ballast Control Type | Ballast Start | P100 | Arc Power 100 | P80 | Arc Power 80 | P50 | Arc Power 50 | Ballast Luminous Efficiency 100 | Ballast Luminous Efficiency 80 | Ballast Luminous Efficiency 50 | P0 Standby Mode Power | P0 Standby Mode Power Std | Weighted Ballast Luminous Efficiency | Weighted Ballast Luminous Efficiency Std | Power Factor | Power Factor Std | Regulatory Status | Add Date | Reference Number | Modified Date
Lutron Electronics Co., Inc. | Ecosystem | EC5NST528CU110R | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.964 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT528CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.964 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT528CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.964 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW4 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.964 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.89 | 30.76 | 29.896 | 24.73 | 19.499 | 15.14 | 0.833 | 0.827 | 0.776 | 0.946 | 1 | 0.78 | 0.748 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.89 | 30.76 | 29.896 | 24.73 | 19.499 | 15.14 | 0.833 | 0.827 | 0.776 | 0.946 | 1 | 0.78 | 0.748 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW1 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.89 | 30.76 | 29.896 | 24.73 | 19.499 | 15.14 | 0.833 | 0.827 | 0.776 | 0.946 | 1 | 0.78 | 0.748 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 41.37 | 34.65 | 33.28 | 27.75 | 21.44 | 17.07 | 0.837 | 0.833 | 0.796 | 0.943 | 1 | 0.793 | 0.764 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 41.37 | 34.65 | 33.28 | 27.75 | 21.44 | 17.07 | 0.837 | 0.833 | 0.796 | 0.943 | 1 | 0.793 | 0.764 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFX1 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 41.37 | 34.65 | 33.28 | 27.75 | 21.44 | 17.07 | 0.837 | 0.833 | 0.796 | 0.943 | 1 | 0.793 | 0.764 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Ecosystem | EC5NST554CU110R | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.921 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT554CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.921 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT554CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.921 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 6ZER6 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.921 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Ecosystem | EC5NST528CU210R | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.953 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT528CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.953 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT528CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.953 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW5 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.953 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 69.36 | 60.95 | 55.3 | 48.773 | 35.28 | 30.331 | 0.878 | 0.881 | 0.859 | 0.939 | 1 | 0.848 | 0.823 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 69.36 | 60.95 | 55.3 | 48.773 | 35.28 | 30.331 | 0.878 | 0.881 | 0.859 | 0.939 | 1 | 0.848 | 0.823 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW2 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 69.36 | 60.95 | 55.3 | 48.773 | 35.28 | 30.331 | 0.878 | 0.881 | 0.859 | 0.939 | 1 | 0.848 | 0.823 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU217 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 78.89 | 68.89 | 62.48 | 54.946 | 39.78 | 34.373 | 0.873 | 0.879 | 0.864 | 0.95 | 1 | 0.852 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU217 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 78.89 | 68.89 | 62.48 | 54.946 | 39.78 | 34.373 | 0.873 | 0.879 | 0.864 | 0.95 | 1 | 0.852 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFX2 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 78.89 | 68.89 | 62.48 | 54.946 | 39.78 | 34.373 | 0.873 | 0.879 | 0.864 | 0.95 | 1 | 0.852 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Ecosystem | EC5NST554CU210R | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.854 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT554CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.854 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT554CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.854 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Hi-Lume 3D | 6ZER7 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.854 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-30
Lutron Electronics Co., Inc. | Ecosystem | EHDT528MU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 29.6 | 26.02 | 23.875 | 20.56 | 14.968 | 12.42 | 0.879 | 0.861 | 0.83 | 0.585 | 1 | 0.789 | 0.724 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C863 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 29.6 | 26.02 | 23.875 | 20.56 | 14.968 | 12.42 | 0.879 | 0.861 | 0.83 | 0.585 | 1 | 0.789 | 0.724 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT528MU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 31.91 | 27.53 | 26.314 | 22.15 | 17.65 | 13.86 | 0.863 | 0.842 | 0.785 | 0.85 | 1 | 0.781 | 0.732 | 0.98 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT525MU1RW | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 31.97 | 27.32 | 25.527 | 21.5 | 16.015 | 12.59 | 0.854 | 0.842 | 0.786 | 0.698 | 1 | 0.779 | 0.731 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT525MU1RW | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 31.97 | 27.32 | 25.527 | 21.5 | 16.015 | 12.59 | 0.854 | 0.842 | 0.786 | 0.698 | 1 | 0.779 | 0.731 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT828MU1RW | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 32.74 | 27.79 | 26.3 | 22.39 | 16.346 | 13.25 | 0.849 | 0.851 | 0.811 | 0.702 | 1 | 0.785 | 0.734 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT828MU1RW | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 32.74 | 27.79 | 26.3 | 22.39 | 16.346 | 13.25 | 0.849 | 0.851 | 0.811 | 0.702 | 1 | 0.785 | 0.734 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 33.7 | 29.1 | 27.115 | 23.29 | 17.027 | 13.98 | 0.864 | 0.859 | 0.821 | 0.587 | 1 | 0.794 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C849 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 33.7 | 29.1 | 27.115 | 23.29 | 17.027 | 13.98 | 0.864 | 0.859 | 0.821 | 0.587 | 1 | 0.794 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.04 | 31.28 | 29.293 | 25.17 | 19.598 | 15.79 | 0.813 | 0.756 | 0.806 | 0.964 | 1 | 0.766 | 0.751 | 0.98 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 42.75 | 36.95 | 33.93 | 29.3 | 21.304 | 17.64 | 0.864 | 0.863 | 0.828 | 0.795 | 1 | 0.812 | 0.772 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 42.75 | 36.95 | 33.93 | 29.3 | 21.304 | 17.64 | 0.864 | 0.863 | 0.828 | 0.795 | 1 | 0.812 | 0.772 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C851 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 42.75 | 36.95 | 33.93 | 29.3 | 21.304 | 17.64 | 0.864 | 0.863 | 0.828 | 0.795 | 1 | 0.812 | 0.772 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT528MU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 54 | 49.05 | 43.5 | 39.14 | 31.7 | 28.13 | 0.909 | 0.901 | 0.888 | 0.584 | 1 | 0.85 | 0.803 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C864 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 54 | 49.05 | 43.5 | 39.14 | 31.7 | 28.13 | 0.909 | 0.901 | 0.888 | 0.584 | 1 | 0.85 | 0.803 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT549MU1RW | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 58.44 | 49.95 | 48.4 | 41.42 | 33.11 | 28.06 | 0.855 | 0.856 | 0.848 | 0.701 | 1 | 0.829 | 0.805 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT549MU1RW | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 58.44 | 49.95 | 48.4 | 41.42 | 33.11 | 28.06 | 0.855 | 0.856 | 0.848 | 0.701 | 1 | 0.829 | 0.805 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT554MU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 59.56 | 51.48 | 48.76 | 42.63 | 31.34 | 26.86 | 0.864 | 0.874 | 0.857 | 0.805 | 1 | 0.836 | 0.808 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT554MU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 59.56 | 51.48 | 48.76 | 42.63 | 31.34 | 26.86 | 0.864 | 0.874 | 0.857 | 0.805 | 1 | 0.836 | 0.808 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C859 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 59.56 | 51.48 | 48.76 | 42.63 | 31.34 | 26.86 | 0.864 | 0.874 | 0.857 | 0.805 | 1 | 0.836 | 0.808 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT525MU2RW | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 59.6 | 53.15 | 47.6 | 42.34 | 29.7 | 25.14 | 0.892 | 0.89 | 0.846 | 0.698 | 1 | 0.843 | 0.811 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT525MU2RW | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 59.6 | 53.15 | 47.6 | 42.34 | 29.7 | 25.14 | 0.892 | 0.89 | 0.846 | 0.698 | 1 | 0.843 | 0.811 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT828MU2RW | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 61.1 | 53.94 | 47.4 | 42.17 | 30.2 | 25.89 | 0.882 | 0.89 | 0.857 | 0.692 | 1 | 0.845 | 0.812 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT828MU2RW | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 61.1 | 53.94 | 47.4 | 42.17 | 30.2 | 25.89 | 0.882 | 0.89 | 0.857 | 0.692 | 1 | 0.845 | 0.812 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 66.3 | 59.1 | 53.2 | 47.51 | 33.4 | 29.11 | 0.891 | 0.893 | 0.871 | 0.583 | 1 | 0.853 | 0.821 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C850 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 66.3 | 59.1 | 53.2 | 47.51 | 33.4 | 29.11 | 0.891 | 0.893 | 0.871 | 0.583 | 1 | 0.853 | 0.821 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 68.17 | 61.81 | 54.57 | 49.52 | 35.02 | 30.64 | 0.907 | 0.907 | 0.875 | 0.987 | 1 | 0.861 | 0.824 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU217 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 77.2 | 69.06 | 62.1 | 55.85 | 39 | 34.61 | 0.894 | 0.899 | 0.887 | 0.811 | 1 | 0.863 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU217 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 77.2 | 69.06 | 62.1 | 55.85 | 39 | 34.61 | 0.894 | 0.899 | 0.887 | 0.811 | 1 | 0.863 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C852 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 77.2 | 69.06 | 62.1 | 55.85 | 39 | 34.61 | 0.894 | 0.899 | 0.887 | 0.811 | 1 | 0.863 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT549MU2RW | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 110.2 | 97.99 | 87.4 | 79.08 | 54.2 | 48.3 | 0.889 | 0.904 | 0.891 | 0.694 | 1 | 0.876 | 0.856 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT549MU2RW | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 110.2 | 97.99 | 87.4 | 79.08 | 54.2 | 48.3 | 0.889 | 0.904 | 0.891 | 0.694 | 1 | 0.876 | 0.856 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | EHDT554MU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 120.6 | 107.83 | 95.8 | 87.17 | 60.4 | 55.04 | 0.894 | 0.909 | 0.911 | 0.695 | 1 | 0.883 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | UEHDT554MU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 120.6 | 107.83 | 95.8 | 87.17 | 60.4 | 55.04 | 0.894 | 0.909 | 0.911 | 0.695 | 1 | 0.883 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Lutron Electronics Co., Inc. | Ecosystem | 18C860 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 120.6 | 107.83 | 95.8 | 87.17 | 60.4 | 55.04 | 0.894 | 0.909 | 0.911 | 0.695 | 1 | 0.883 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-26 |  | 2016-08-31
Universal Lighting Technologies | Ballastar | B228PU115S50D | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Stepped | 3-wire | Programmed | 71.69 | 62.66 |  |  | 34.59 | 29.645 | 0.874 |  | 0.857 | 1 | 1 | 0.865 | 0.825 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Ballastar | B228PU95S50D | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Stepped | 3-wire | Programmed | 61.11 | 53.519 |  |  | 27.172 | 22.252 | 0.876 |  | 0.819 | 1 | 1 | 0.845 | 0.812 | 0.98 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Ballastar | B232PUS50-A | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Stepped | 3-wire | Programmed | 57.98 | 51.645 |  |  | 28.065 | 22.761 | 0.891 |  | 0.811 | 1 | 1 | 0.847 | 0.808 | 0.96 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Superdim | B128PUNVSV3-D | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 32.66 | 29.085 | 26.865 | 23.308 | 18.17 | 14.294 | 0.891 | 0.868 | 0.787 | 1 | 1 | 0.848 | 0.74 | 0.96 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Superdim | B228PUNVSV3-D | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 62.27 | 55.447 | 49.79 | 44.194 | 32.09 | 27.594 | 0.89 | 0.888 | 0.859 | 1 | 1 | 0.879 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Superdim | B132PUNVSV3-A | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 29.279 | 25.454 | 24.166 | 20.428 | 16.653 | 12.935 | 0.869 | 0.845 | 0.777 | 1 | 1 | 0.829 | 0.721 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Varipro | B254PUSV3PLD | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 116.18 | 102.94 | 95.79 | 85.6 | 61.48 | 51.87 | 0.886 | 0.894 | 0.844 | 1 | 1 | 0.877 | 0.859 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Ballastar | B232PU104S50A | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Stepped | 3-wire | Programmed | 66.38 | 59.233 |  |  | 29.834 | 23.692 | 0.892 |  | 0.803 | 1 | 1 | 0.843 | 0.821 | 0.96 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-14
Universal Lighting Technologies | Superdim | B232PUNVSV3-A | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 59.53 | 51.256 | 47.77 | 41.164 | 31.36 | 25.754 | 0.862 | 0.862 | 0.821 | 1 | 1 | 0.849 | 0.808 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-09-15
Osram Sylvania, Inc. | Osram | QHE 2x54T5HO-UNV DIM-TCL | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 114.34 | 106.01 | 91.89 | 84.388 | 58.02 | 53.296 | 0.927 | 0.918 | 0.919 | 0 | 1 | 0.92 | 0.86 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QT 2X54-120PHO-DIM | 120 | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 118.37 | 105.872 | 94.19 | 84.77 | 62.07 | 52.189 | 0.894 | 0.9 | 0.841 | 0 | 1 | 0.881 | 0.86 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QT 1X54-120PHO-DIM | 120 | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 59.903 | 54.036 | 47.908 | 43.254 | 31.514 | 26.944 | 0.902 | 0.903 | 0.855 | 0 | 1 | 0.888 | 0.813 | 1 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QT 1X54-277 PHO-DIM | 120 | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 59.514 | 54.66 | 47.979 | 43.751 | 32.058 | 27.351 | 0.918 | 0.912 | 0.853 | 0 | 1 | 0.896 | 0.814 | 1 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 1X54HO-UNV DIM-TC | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 57.941 | 53.049 | 47.38 | 42.47 | 32.358 | 26.534 | 0.916 | 0.896 | 0.82 | 0 | 1 | 0.877 | 0.811 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 2x28T5-UNV DIM-TCL | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 62.3 | 56.583 | 51.197 | 45.228 | 34.457 | 28.489 | 0.908 | 0.883 | 0.827 | 0 | 1 | 0.871 | 0.817 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QTP 2x28T5-UNV DIM-TCL | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 62.462 | 56.645 | 50.95 | 45.67 | 33.633 | 28.447 | 0.907 | 0.896 | 0.846 | 0 | 1 | 0.883 | 0.817 | 1 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 1x28T5-UNV DIM-TC | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 31.759 | 29.032 | 26.542 | 23.42 | 17.834 | 14.309 | 0.914 | 0.882 | 0.802 | 0 | 1 | 0.865 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 4x32T8-UNV DIM-TCL | 120 - 277 (inclusive) | 4 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 115.12 | 108.277 | 96.73 | 86.768 | 65.28 | 54.047 | 0.941 | 0.897 | 0.828 | 0 | 1 | 0.885 | 0.862 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 3x32T8-UNV DIM-TCL | 120 - 277 (inclusive) | 3 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 84.42 | 78.929 | 68.87 | 63.18 | 44 | 39.57 | 0.935 | 0.917 | 0.899 | 0 | 1 | 0.915 | 0.843 | 1 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 2x32T8-UNV-HDIM10-SC | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 58.729 | 53.458 | 49.752 | 42.808 | 33.28 | 26.811 | 0.91 | 0.86 | 0.806 | 0 | 1 | 0.854 | 0.812 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Osram Sylvania, Inc. | Osram | QHE 1x32T8-UNV DIM-TC | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 29.144 | 26.581 | 23.969 | 21.227 | 16.517 | 13.577 | 0.912 | 0.886 | 0.822 | 0 | 1 | 0.872 | 0.727 | 1 | 0.9 | Non Federally-Regulated | 2016-09-26 |  | 2016-09-30
Lutron Electronics Co., Inc. | Ecosystem | EHDT528MU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 29.6 | 26.02 | 23.875 | 20.56 | 14.968 | 12.42 | 0.879 | 0.861 | 0.83 | 0.99 | 1 | 0.789 | 0.724 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C863 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 29.6 | 26.02 | 23.875 | 20.56 | 14.968 | 12.42 | 0.879 | 0.861 | 0.83 | 0.99 | 1 | 0.789 | 0.724 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT528MU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 31.91 | 27.53 | 26.314 | 22.15 | 17.65 | 13.86 | 0.863 | 0.842 | 0.785 | 0.99 | 1 | 0.781 | 0.732 | 0.98 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 33.7 | 29.1 | 27.115 | 23.29 | 17.027 | 13.98 | 0.864 | 0.859 | 0.821 | 0.99 | 1 | 0.794 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C849 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 33.7 | 29.1 | 27.115 | 23.29 | 17.027 | 13.98 | 0.864 | 0.859 | 0.821 | 0.99 | 1 | 0.794 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.04 | 31.28 | 29.293 | 25.17 | 19.598 | 15.79 | 0.813 | 0.756 | 0.806 | 0.99 | 1 | 0.766 | 0.751 | 0.98 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 42.75 | 36.95 | 33.93 | 29.3 | 21.304 | 17.64 | 0.864 | 0.863 | 0.828 | 0.99 | 1 | 0.812 | 0.772 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 42.75 | 36.95 | 33.93 | 29.3 | 21.304 | 17.64 | 0.864 | 0.863 | 0.828 | 0.99 | 1 | 0.812 | 0.772 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C851 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 42.75 | 36.95 | 33.93 | 29.3 | 21.304 | 17.64 | 0.864 | 0.863 | 0.828 | 0.99 | 1 | 0.812 | 0.772 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT528MU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 54 | 49.05 | 43.5 | 39.14 | 31.7 | 28.13 | 0.909 | 0.901 | 0.888 | 0.99 | 1 | 0.85 | 0.803 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C864 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 54 | 49.05 | 43.5 | 39.14 | 31.7 | 28.13 | 0.909 | 0.901 | 0.888 | 0.99 | 1 | 0.85 | 0.803 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 66.3 | 59.1 | 53.2 | 47.51 | 33.4 | 29.11 | 0.891 | 0.893 | 0.871 | 0.99 | 1 | 0.853 | 0.821 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C850 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 66.3 | 59.1 | 53.2 | 47.51 | 33.4 | 29.11 | 0.891 | 0.893 | 0.871 | 0.99 | 1 | 0.853 | 0.821 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 68.17 | 61.81 | 54.57 | 49.52 | 35.02 | 30.64 | 0.907 | 0.907 | 0.875 | 0.99 | 1 | 0.861 | 0.824 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT832MU217 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 77.2 | 69.06 | 62.1 | 55.85 | 39 | 34.61 | 0.894 | 0.899 | 0.887 | 0.99 | 1 | 0.863 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT832MU217 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 77.2 | 69.06 | 62.1 | 55.85 | 39 | 34.61 | 0.894 | 0.899 | 0.887 | 0.99 | 1 | 0.863 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C852 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 77.2 | 69.06 | 62.1 | 55.85 | 39 | 34.61 | 0.894 | 0.899 | 0.887 | 0.99 | 1 | 0.863 | 0.833 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT549MU2RW | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 110.2 | 97.99 | 87.4 | 79.08 | 54.2 | 48.3 | 0.889 | 0.904 | 0.891 | 0.99 | 1 | 0.876 | 0.856 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT549MU2RW | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 110.2 | 97.99 | 87.4 | 79.08 | 54.2 | 48.3 | 0.889 | 0.904 | 0.891 | 0.99 | 1 | 0.876 | 0.856 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EHDT554MU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 120.6 | 107.83 | 95.8 | 87.17 | 60.4 | 55.04 | 0.894 | 0.909 | 0.911 | 0.99 | 1 | 0.883 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | UEHDT554MU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 120.6 | 107.83 | 95.8 | 87.17 | 60.4 | 55.04 | 0.894 | 0.909 | 0.911 | 0.99 | 1 | 0.883 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | 18C860 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 120.6 | 107.83 | 95.8 | 87.17 | 60.4 | 55.04 | 0.894 | 0.909 | 0.911 | 0.99 | 1 | 0.883 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-31 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EC5NST528CU110R | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.99 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT528CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.99 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT528CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.99 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW4 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 34.66 | 28.99 | 27.991 | 22.96 | 19.085 | 14.59 | 0.836 | 0.82 | 0.764 | 0.99 | 1 | 0.772 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EC5NST528CU210R | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.99 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT528CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.99 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT528CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.99 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW5 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 63.36 | 55.488 | 50.41 | 44.078 | 33.21 | 28.076 | 0.875 | 0.874 | 0.845 | 0.99 | 1 | 0.839 | 0.815 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EC5NST554CU110R | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.99 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT554CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.99 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT554CU110 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.99 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 6ZER6 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 62.32 | 52.44 | 49.29 | 41.81 | 31.46 | 26.11 | 0.841 | 0.848 | 0.829 | 0.99 | 1 | 0.824 | 0.81 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Ecosystem | EC5NST554CU210R | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.99 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT554CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.99 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT554CU210 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.99 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 6ZER7 | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 121.48 | 106.94 | 95.42 | 85.28 | 59.84 | 52.98 | 0.88 | 0.893 | 0.885 | 0.99 | 1 | 0.874 | 0.861 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.89 | 30.76 | 29.896 | 24.73 | 19.499 | 15.14 | 0.833 | 0.827 | 0.776 | 0.99 | 1 | 0.78 | 0.748 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU110 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.89 | 30.76 | 29.896 | 24.73 | 19.499 | 15.14 | 0.833 | 0.827 | 0.776 | 0.99 | 1 | 0.78 | 0.748 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW1 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 36.89 | 30.76 | 29.896 | 24.73 | 19.499 | 15.14 | 0.833 | 0.827 | 0.776 | 0.99 | 1 | 0.78 | 0.748 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 41.37 | 34.65 | 33.28 | 27.75 | 21.44 | 17.07 | 0.837 | 0.833 | 0.796 | 0.99 | 1 | 0.793 | 0.764 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU117 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 41.37 | 34.65 | 33.28 | 27.75 | 21.44 | 17.07 | 0.837 | 0.833 | 0.796 | 0.99 | 1 | 0.793 | 0.764 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFX1 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 41.37 | 34.65 | 33.28 | 27.75 | 21.44 | 17.07 | 0.837 | 0.833 | 0.796 | 0.99 | 1 | 0.793 | 0.764 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | H3DT832CU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 69.36 | 60.95 | 55.3 | 48.773 | 35.28 | 30.331 | 0.878 | 0.881 | 0.859 | 0.99 | 1 | 0.848 | 0.823 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | UH3DT832CU210 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 69.36 | 60.95 | 55.3 | 48.773 | 35.28 | 30.331 | 0.878 | 0.881 | 0.859 | 0.99 | 1 | 0.848 | 0.823 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Lutron Electronics Co., Inc. | Hi-Lume 3D | 4LFW2 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 69.36 | 60.95 | 55.3 | 48.773 | 35.28 | 30.331 | 0.878 | 0.881 | 0.859 | 0.99 | 1 | 0.848 | 0.823 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-14 |  | 2016-12-22
Philips Lighting North America Corporation | Philips | IDA-154 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 58.41 | 53.83 | 46.83 | 42.73 | 31.44 | 26.99 | 0.922 | 0.912 | 0.858 | 0.861 | 1 | 0.898 | 0.812 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IDA-2S54 | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 113.81 | 105.51 | 92.18 | 85.25 | 61.54 | 54.155 | 0.927 | 0.925 | 0.88 | 0.861 | 1 | 0.912 | 0.86 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IDA-4S32 | 120 - 277 (inclusive) | 4 | T8 4-Foot linear lamps | Continuous | Digital Communication | Programmed | 108.24 | 99.058 | 89.23 | 79.472 | 60.87 | 50.571 | 0.915 | 0.891 | 0.831 | 0.894 | 1 | 0.878 | 0.857 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IEZ-2S28-D | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | Phase | Programmed | 58.92 | 54.418 | 48.87 | 43.842 | 32.64 | 27.658 | 0.924 | 0.897 | 0.847 | 0 | 1 | 0.887 | 0.813 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-128-D | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 31.83 | 28.76 | 26.725 | 23.389 | 18.061 | 14.424 | 0.904 | 0.875 | 0.799 | 0 | 1 | 0.858 | 0.739 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-132-SC | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 31.53 | 28.815 | 25.986 | 23.135 | 17.326 | 14.36 | 0.914 | 0.89 | 0.829 | 0 | 1 | 0.877 | 0.739 | 0.97 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-154-D | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 58.8 | 54.21 | 47.74 | 43.54 | 31.72 | 27.434 | 0.922 | 0.912 | 0.865 | 0 | 1 | 0.9 | 0.813 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-2PSP32-SC | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 63.49 | 57.528 | 51.17 | 46.305 | 33.05 | 29.151 | 0.906 | 0.905 | 0.882 | 0 | 1 | 0.898 | 0.818 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-2S28-D | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 60.18 | 56.033 | 48.72 | 44.537 | 34.59 | 29.765 | 0.931 | 0.914 | 0.861 | 0 | 1 | 0.901 | 0.816 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-2S54-D | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 113.85 | 105.58 | 91.64 | 84.55 | 59.14 | 52.32 | 0.927 | 0.923 | 0.885 | 0 | 1 | 0.912 | 0.86 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-3PSP32-SC | 120 - 277 (inclusive) | 3 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 95.21 | 86.889 | 75.75 | 69.398 | 49.57 | 44.388 | 0.913 | 0.916 | 0.895 | 0 | 1 | 0.909 | 0.849 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-4S32 | 120 - 277 (inclusive) | 4 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 111.8 | 101.971 | 92.26 | 82.085 | 62.84 | 51.669 | 0.912 | 0.89 | 0.822 | 0 | 1 | 0.874 | 0.858 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-132-SC | 120 | 1 | T8 4-Foot linear lamps | Continuous | Phase | Programmed | 31.64 | 28.247 | 25.866 | 22.578 | 17.14 | 14.096 | 0.893 | 0.873 | 0.822 | 0 | 1 | 0.862 | 0.736 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-154 | 120 | 1 | T5 4-Foot linear lamps | Continuous | Phase | Programmed | 59.84 | 53.56 | 48.16 | 42.8 | 32.13 | 26.813 | 0.895 | 0.889 | 0.835 | 0 | 1 | 0.874 | 0.812 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-2S32-SC | 120 | 2 | T8 4-Foot linear lamps | Continuous | Phase | Programmed | 63.03 | 56.358 | 51.2 | 45.1 | 33.81 | 28.031 | 0.894 | 0.881 | 0.829 | 0 | 1 | 0.868 | 0.816 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-2S54 | 120 | 2 | T5 4-Foot linear lamps | Continuous | Phase | Programmed | 117.35 | 105.25 | 94.09 | 84.35 | 62.15 | 52.674 | 0.897 | 0.896 | 0.848 | 0 | 1 | 0.882 | 0.86 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-154 | 277 | 1 | T5 4-Foot linear lamps | Continuous | Phase | Programmed | 60.02 | 54.52 | 48.38 | 43.64 | 32.28 | 27.276 | 0.908 | 0.902 | 0.845 | 0 | 1 | 0.886 | 0.813 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-2S32-SC | 277 | 2 | T8 4-Foot linear lamps | Continuous | Phase | Programmed | 65.35 | 59.099 | 53.34 | 47.039 | 35.09 | 29.277 | 0.904 | 0.882 | 0.834 | 0 | 1 | 0.872 | 0.821 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-2S54 | 277 | 2 | T5 4-Foot linear lamps | Continuous | Phase | Programmed | 111.29 | 101.25 | 90.14 | 81.7 | 59.67 | 50.834 | 0.91 | 0.906 | 0.852 | 0 | 1 | 0.891 | 0.858 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IEZ-128-D | 120 - 277 (inclusive) | 1 | T5 4-Foot linear lamps | Continuous | Phase | Programmed | 31.82 | 28.805 | 26.303 | 23.283 | 17.746 | 14.372 | 0.905 | 0.885 | 0.81 | 0 | 1 | 0.867 | 0.739 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-4PSP32-G | 120 - 277 (inclusive) | 4 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 112.41 | 102.766 | 90.47 | 82.13 | 58.73 | 51.559 | 0.914 | 0.908 | 0.878 | 0 | 1 | 0.9 | 0.859 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-3S32-SC | 120 | 3 | T8 4-Foot linear lamps | Continuous | Phase | Programmed | 94.41 | 84.962 | 76.37 | 67.57 | 51.25 | 43.036 | 0.9 | 0.885 | 0.84 | 0 | 1 | 0.874 | 0.848 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VZT-4S32-HL | 277 | 4 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 144.85 | 133.7 | 117.48 | 107.338 | 77.73 | 66.938 | 0.923 | 0.914 | 0.861 | 0 | 1 | 0.9 | 0.871 | 0.99 | 0.9 | Non Federally-Regulated | 2016-08-30 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-132-SC | 277 | 1 | T8 4-Foot linear lamps | Continuous | Phase | Programmed | 33.78 | 29.276 | 27.806 | 23.494 | 18.814 | 14.802 | 0.867 | 0.845 | 0.787 | 0 | 1 | 0.832 | 0.741 | 0.98 | 0.9 | Non Federally-Regulated | 2016-09-01 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-3S32-SC | 277 | 3 | T8 4-Foot linear lamps | Continuous | Phase | Programmed | 97.05 | 88.615 | 78.7 | 70.848 | 51.09 | 43.661 | 0.913 | 0.9 | 0.855 | 0 | 1 | 0.889 | 0.85 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-01 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-2PSP32-SC | 120 - 277 (inclusive) | 2 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 63.86 | 57.79 | 51.49 | 46.464 | 32.78 | 28.706 | 0.905 | 0.902 | 0.876 | 0 | 1 | 0.895 | 0.819 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-08 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-3PSP32-SC | 120 - 277 (inclusive) | 3 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 95.54 | 87.124 | 75.77 | 69.733 | 50.06 | 44.635 | 0.912 | 0.92 | 0.892 | 0 | 1 | 0.91 | 0.849 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-08 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-2S32-SC | 120 | 2 | T8 4-Foot U-shaped lamps | Continuous | Phase | Programmed | 62.99 | 56.828 | 52.2 | 46.074 | 34.43 | 28.775 | 0.902 | 0.883 | 0.836 | 0 | 1 | 0.872 | 0.817 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-08 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | REZ-132-SC | 120 | 1 | T8 4-Foot U-shaped lamps | Continuous | Phase | Programmed | 31.56 | 28.073 | 25.636 | 22.415 | 17.236 | 14.147 | 0.89 | 0.874 | 0.821 | 0 | 1 | 0.861 | 0.735 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-08 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-2S32-SC | 277 | 2 | T8 4-Foot U-shaped lamps | Continuous | Phase | Programmed | 66.54 | 60.232 | 54.38 | 48.398 | 36.52 | 30.579 | 0.905 | 0.89 | 0.837 | 0 | 1 | 0.877 | 0.822 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-08 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IDA-4S32 | 120 - 277 (inclusive) | 4 | T8 4-Foot U-shaped lamps | Continuous | Digital Communication | Programmed | 109.9 | 100.797 | 89.84 | 80.58 | 62.36 | 51.92 | 0.917 | 0.897 | 0.833 | 0.844 | 1 | 0.882 | 0.858 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-132-SC | 120 - 277 (inclusive) | 1 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 31.61 | 28.996 | 26.17 | 23.379 | 17.613 | 14.635 | 0.917 | 0.893 | 0.831 | 0 | 1 | 0.879 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-2S32-SC | 120 - 277 (inclusive) | 2 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 63.7 | 57.846 | 52.64 | 46.662 | 35.48 | 29.095 | 0.908 | 0.886 | 0.82 | 0 | 1 | 0.871 | 0.819 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-4PSP32-G | 120 - 277 (inclusive) | 4 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 110.852 | 101.693 | 88.708 | 80.99 | 58.498 | 51.776 | 0.917 | 0.913 | 0.885 | 0 | 1 | 0.905 | 0.858 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-4S32 | 120 - 277 (inclusive) | 4 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 111.002 | 101.276 | 91.55 | 81.422 | 62.118 | 51.322 | 0.912 | 0.889 | 0.826 | 0 | 1 | 0.875 | 0.858 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VEZ-132-SC | 277 | 1 | T8 4-Foot U-shaped lamps | Continuous | Phase | Programmed | 33.59 | 29.07 | 27.76 | 23.504 | 18.839 | 14.827 | 0.865 | 0.847 | 0.787 | 0 | 1 | 0.833 | 0.74 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | VZT-4S32-HL | 277 | 4 | T8 4-Foot U-shaped lamps | Continuous | 0-10 volts | Programmed | 145.2 | 134.487 | 117.763 | 107.772 | 77.67 | 67.243 | 0.926 | 0.915 | 0.866 | 0 | 1 | 0.903 | 0.872 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-09 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IZT-2S32-SC | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 62.72 | 57.012 | 51.96 | 45.834 | 34.47 | 28.191 | 0.909 | 0.882 | 0.818 | 0 | 1 | 0.868 | 0.817 | 0.99 | 0.9 | Non Federally-Regulated | 2016-09-12 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IOP-2S28-95-SC-SD | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Stepped | 3-wire | Programmed | 61.2 | 55.332 |  |  | 30.16 | 22.432 | 0.904 |  | 0.744 | 0 | 1 | 0.816 | 0.815 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-19 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IOP-2S28-115-SC-SD | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Stepped | 3-wire | Programmed | 71.12 | 65.53 |  |  | 35.33 | 27.923 | 0.921 |  | 0.79 | 0 | 1 | 0.849 | 0.829 | 0.98 | 0.9 | Non Federally-Regulated | 2016-09-19 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IOP-2S54-L-SD | 120 - 277 (inclusive) | 2 | T5 4-Foot linear lamps | Stepped | 3-wire | Programmed | 115.13 | 109.24 |  |  | 52.25 | 43.541 | 0.949 |  | 0.833 | 0 | 1 | 0.885 | 0.862 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-19 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IOP-2S32-SC-SD | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Stepped | 3-wire | Programmed | 56.42 | 51.596 |  |  | 26.658 | 20.956 | 0.914 |  | 0.786 | 0 | 1 | 0.844 | 0.808 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-19 |  | 2019-03-04
Philips Lighting North America Corporation | Philips | IOP-2S32-SC-SD | 120 - 277 (inclusive) | 2 | T8 4-Foot U-shaped lamps | Stepped | 3-wire | Programmed | 57.28 | 52.347 |  |  | 27.069 | 21.311 | 0.914 |  | 0.787 | 0 | 1 | 0.844 | 0.81 | 0.97 | 0.9 | Non Federally-Regulated | 2016-09-19 |  | 2019-03-04
GE Lighting | GE | GE132MVPSN-V03 | 120 - 277 (inclusive) | 1 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 29.52 | 25.31 | 27.41 | 20.24 | 19.18 | 12.65 | 0.857 | 0.738 | 0.66 | 0 |  | 0.739 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04
GE Lighting | GE | GE232MVPSH-V03 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 76.33 | 69.01 | 60.82 | 55.2 | 47.77 | 34.51 | 0.904 | 0.908 | 0.722 | 0 |  | 0.851 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04
GE Lighting | GE | GE332MVPSH-V03 | 120 - 277 (inclusive) | 3 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 115.88 | 106.07 | 91.65 | 84.84 | 69.73 | 53.05 | 0.915 | 0.926 | 0.761 | 0 |  | 0.861 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04
GE Lighting | GE | GE432MVPSH-V03 | 120 - 277 (inclusive) | 4 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 147.61 | 137.36 | 116.89 | 109.87 | 88.99 | 68.7 | 0.931 | 0.94 | 0.772 | 0 |  | 0.888 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04
GE Lighting | GE | GE232MVPSN-V03 | 120 - 277 (inclusive) | 2 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 55.18 | 50.44 | 43.14 | 39.63 | 28.4 | 25.56 | 0.914 | 0.919 | 0.9 | 0 |  | 0.912 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04
GE Lighting | GE | GE332MVPSN-V03 | 120 - 277 (inclusive) | 3 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 80.87 | 74.43 | 65.34 | 59.13 | 41.76 | 36.673 | 0.909 | 0.905 | 0.878 | 0 |  | 0.898 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04
GE Lighting | GE | GE432MVPSN-V03 | 120 - 277 (inclusive) | 4 | T8 4-Foot linear lamps | Continuous | 0-10 volts | Programmed | 110.66 | 101.8 | 86.8 | 80.05 | 58.12 | 52.541 | 0.92 | 0.922 | 0.904 | 0 |  | 0.916 |  | 0.98 |  | Non Federally-Regulated | 2019-12-03 |  | 2020-11-04