# ATTACHMENT 10
Measurement & Verification Plan

## Instructions

Each application must include a proposed M&V Plan via this Attachment. The M&V Plan should be designed to describe the types of data and data analyses, along with the methodology for data collection, necessary for reporting on the DEBA project’s performance and benefits in the Annual Measurement and Verification Report after each program season, the Evaluation of Project Benefits, and the Final Report, further specified in the Scope of Work (Attachment 04).

Additionally, the proposed M&V Plan should also describe the methodology for measuring dispatch performance that is relevant and accurate for the technology type(s) included in the proposed project:

- Dispatch performance of a DEBA resource is defined as the measured generation, discharge, or load impact during an hour in which the resource is dispatched. Dispatch performance is measured first at each individual DER asset, then aggregated up to the site, and then summed across all sites comprising the project to determine the overall performance.

- Applicants must document, if applicable, that the chosen counterfactual baseline approach is the best method available and include additional details such as same-day adjustments. Subject to CEC staff approval, the counterfactual baseline approach may be changed following the execution of the grant agreement if a more accurate approach becomes available.

- Each application must select one of the following performance pathways (as defined in Section II.B.5 “Performance Requirements”):

  - Pathway 1: Market-Integrated: Dispatch in response to the applicable California Balancing Authority (BA) market instructions.

  - Pathway 2: Market-Aware: Dispatch in response to the applicable BA’s market event.

  - Pathway 3: Hourly Dynamic Rate: Dispatch in response to an hourly dynamic retail rate tariff.

  - Pathway 4: Daily Dispatch: Dispatch daily in designated hours.

Selected Performance Pathway (one per application): ________________________

### Project Capacity, Duration, and Lifespan:

- All projects must nominate the incremental capacity (nominated capacity) of a technology type(s), and the duration it can be sustained (full duration), that will be committed by the proposed project to improve grid reliability in accordance with a proposed performance pathway. The project must be able to sustain power output or load reduction at the nominated capacity value for a minimum of two hours.

- Projects will be assessed on the basis of “rated” capacity in order to evaluate and compare projects with varying durations of nominated capacity.

- Nominated and Rated Capacity are considered equal for a DEBA resource that can be sustained for 4 or more hours. See solicitation manual, Section II.B.4 “Project Specifications” for more information.

| Technology Type Enter one technology type per row | Aggregate Nominated Power Capacity (MW) | Aggregate Nominated Storage Capacity (MWh) - (if applicable) | Duration (hours) | Rated Capacity | Lifespan |
| --- | --- | --- | --- | --- | --- |

## Approach for Meeting Data Requirements

Describe the proposed plan to meet the following general data requirements and applicable performance pathway data requirements.

### General Data Requirements

Describe the data that will be used to verify the project’s ability to provide nominated capacity that is incremental to existing Resource Adequacy (RA) and Strategic Reliability Reserve (SRR) requirements.

Metering data and data for temperature experienced by the resource must be provided in 5-minute interval increments, unless the data are already reported in another time increment (such as 15-minute interval increments).

Resources that output power (e.g., batteries) must measure output directly at the device sub-meter or inverter.

For other technology types, the Applicant must provide details on the proposed methodology and cite sources for assumptions used in calculations. For example, proposals using thermal energy storage resources may choose to convert cooling load (for example, in Ton-hours) to equivalent energy consumption (kWh) if the applicant provides conversion assumptions and pre- and post-installation load impact analysis.

Load flexibility project proposals may include any of the following methods for developing a counterfactual baseline:

- Regression-based approaches

- Day matching

- Weather matching

- Comparison groups

- CalTRACK OpenEEMeter (Hourly) (CalTRACK Methods — CalTRACK Technical Documentation 2.0 documentation)

### Describe how the project will demonstrate compliance with the dispatch requirements applicable to each performance pathway as specified in Section II.B.5 “Performance Requirements” of the solicitation manual:

### Description of Proposed Approach for Meeting Data Requirements

## Methodology for Quality Control of Relevant Data

Describe the proposed plan for quality control of relevant data streams to be collected or calculated, including but not limited to the following:

- Description of the applicant’s plans to implement quality control on submetered charge and discharge data or device-level load data, including minimum standards for data completeness and quality.

- Description of how the applicant will implement the plan for the selected performance pathway.

  - For all performance pathways, demonstrated capacity will be measured in each program year.

- Description of how the applicant proposes to measure and report actual incremental generation or load reduction.

### Description of Applicant’s Methodology for Quality Control of Relevant Data

More information on counterfactual baselines can be found here: https://www.caiso.com/Documents/2017BaselineAccuracyWorkGroupFinalProposalNexant.pdf.