## Read Me
Public Workshop Questions & Answers - Senate Bill 379 Proposed Guidelines
Workshop - December 8, 2022
Date Posted: January 11, 2023
Document Information: The following four tabs include all questions received at the Energy Commission's public workshop held on December 8, 2022. The questions are separated by topic. The fifth tab features public comments submitted to the docket following the workshop. Next to each question is a staff response that seeks to address each question. The Energy Commission will respond to all docketed comments submitted by 5PM on January 9th. Updated revisions to this document may be posted.
Disclaimer: Staff responses are intended to provide helpful and thorough answers. The views contained in these staff responses do not necessarily represent the views of the Energy Commission itself. Please note that some responses, including those related to legislation, are not intended to make final determinations about Senate Bill 379. The language in SB 379 supercedes all staff responses to questions about the bill, and the Energy Commission makes no attempt to override the will of this legislation already signed into law. As described in SB 379, the Energy Commission's role is primarily to adopt guidelines pertaining to the submission of annual reporting by jurisdictions.

## General
Question | Response
Will the recording be available later? | Yes, the presentation and recording is available from the 'Docket Log' on our website at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
I heard someone mention that the CEC may try to include heat pump water heaters into this program. Is there any truth to this suggestion? | SB 379 is already signed into law and does not address heat pump water heaters.
Can CEC grant funding can only be used for implementation of SolarApp+? | Funding is available to implement the requirements of SB 379 through the CalAPP Program. Funding can be used to implement any permitting software that meets requirements outlined in the solicitation manual including SolarAPP+. More information can be found at https://www.energy.ca.gov/programs-and-topics/programs/california-automated-permit-processing-program-calapp
How does a company that is offering the same services as SolarAPP+ get mentioned in these workshops and guidelines? There are other options aside from SolarAPP+ that the jurisdictions should know about and that provide more comprehensive functionality at no cost. | The workshop hosted by the CEC is meant to solicit input on proposed guidelines regarding the CEC's role in administering annual reporting requirements as defined in SB 379. SB 379 references SolarAPP+ which is why it was mentioned at this workshop. The bill allows for other options, provided they meet minimum capabilities identified in the bill.
If we do not use solarapp, will we be provided the kinds of projects the application can handle? If solar app changes over time by increasing the types of projects covered will the jurisdictions tool need to be continually updated. | SB 379 requires the implementation of a system such as SolarAPP+ that can be used for permit processing but does not alter or restrict other forms of permit processing. Cities and counties must comply with the existing bill as signed into law. Future updates to SolarAPP+ will not change the requirements of SB 379.
Comment: if the legislation applies to ground mounted solar, there is a problem and possible conflict with other state law that requires jurisdicctions to ensure that Joshua trees are not removed or harned. I dont beleive SolarAPP or any other app can determine if Jashua trees are removed or harmed. | SB 379 does not address ground mounted projects, nor does it address the removal of Joshua Trees. The bill does not affect the applicability of existing environmental laws.
How much grant funding is available? | Funding through the CalAPP program started with $19 million available in funding. Remaining funding can be viewed through the most recently posted NOPA Grant List which can be accessed from this webpage: https://www.energy.ca.gov/programs-and-topics/programs/california-automated-permit-processing-program-calapp
will the CEC be providing any submittal checklist templates to guide jurisdictions in confirming all code compliance items for a submittal | The CEC aims to provide helpful information and resources pertaining to compliance with SB 379. More information can be found on our webpage at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
why is this item being singled out for special permit processing? what about water heaters? why are we not mandating other automated permit reviews. | SB 379 addresses permit processing for residential solar energy systems in order to promote the development of solar and storage to help meet the state's clean energy needs. The bill does not address permitting for other building department requests such as water heaters.
what mechanism and or State/Federal entity will be accountable for SB-379 enforcement? | SB 379 does not identify a specific entity for enforcing compliance with SB 379. As noted by provisions in the bill, any non-exempt cities and counties that fail to comply could risk being ineligible for other funding opportunities at the CEC after the compliance deadline passes. There may be other risks for failing to comply, however we recommend you consult with your own attorney for advice about possible risks or consequences, as the CEC does not give legal advice to others.
Not sure if my questions was clear. Large companies like to use a Solar APP. but many mom and pop contractors dont want to use it. will they be forced to use solar App? or can they use the old system. | SB 379 requires the implementation of a system such as SolarAPP+ that can be used for permit processing but does not alter or restrict other forms of permit processing in addition to the online, automated solar permitting platform.
That is not possible to plan check automatically without revieweing exisitng conditions. | Thank you for the comment.
Is there a checklist jurisdictions can use which defines what "successful compliance" looks like | The CEC aims to provide helpful information and resources pertaining to compliance with SB 379. More information can be found on our webpage at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
How soon can we apply for CalAPP funding? | We are accepting applications now. Please visit our website for more information at https://www.energy.ca.gov/programs-and-topics/programs/california-automated-permit-processing-program-calapp
Will there be a path to report non-compliance of jurisdictions not complying with SB 379? | SB 379 does not address a reporting mechanism for non-compliance. As a state law, cities and counties that fail to comply may face legal risk, which you should discuss with your own attorneys.
I came late to this meeting. Can I get a recap somewhere? | Yes, the presentation and recording is available from the 'Docket Log' on our website at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
WILL there be another round of funding available next year that wold be used for cities that have to comply by 2024? | The CEC is not aware of potential new funding allocations for the CalAPP Program. Funding is available first-come, first-served until funds have been exhausted. Please stay up to date on program details through our webpage at https://www.energy.ca.gov/programs-and-topics/programs/california-automated-permit-processing-program-calapp
Symbium is an alternative - also free to use! | Thank you for the suggestion.
where do we find funding for application of realtime solar application? | Please check out our CalAPP webpage for funding information https://www.energy.ca.gov/programs-and-topics/programs/california-automated-permit-processing-program-calapp
What is "grant term" duration? | The grant term for CalAPP funding begins the day the application is executed by the applicant and CEC and funding will be held until 5/31/27, when funds must be disbursed. Funding can only be used for expenses occuring during this period.
If using the grant funding, are there different reporting guidelines vs the SB379 yearly reporting? | No, the CalAPP Grant funding program does not require differen reporting from SB 379. Reporting requirements identified in SB 379 apply to all non-exempt cities and counties regardless if they received funding through CalAPP.
Is there a link to the CalAPP application? | Application materials can be accessed at https://www.energy.ca.gov/solicitations/2022-06/gfo-21-402-california-automated-permit-processing-program
Will a compilation of questions and responses be sent out? | Yes, this document. Some items may be updated over time.
I apologize if this question has already been answered, but will those who registered for this workshop receive the slides in a follow-up email? | The presentation and recording is available from the 'Docket Log' on our website at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
The link for the listserver doesn’t work - the page is quickly refreshed to a different screen. Can you post a new link in the chat? | Users can subscribe to the CalAPP list topic directly from the right side of our webpage at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
Is this presentation available? | Yes, the presentation and recording is available from the 'Docket Log' on our website at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
Are you all going to post online the questions that weren’t answered and more technical and provide a FAQ sheet on those by any chance or no? It might be helpful if there are some common trends. | This document is intended to address questions from the workshop. Some items may be updated over time.
Is that email list server webpage address accurate? Unable to reach it. | Users can subscribe to the CalAPP list topic directly from the right side of our webpage at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
The sencond link does not work, it directs me to https://www.energy.ca.gov/subscriptions | Users can subscribe to the CalAPP list topic directly from the right side of our webpage at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
I am not finding the correct link on your website for the grant application? | Application materials can be accessed at https://www.energy.ca.gov/solicitations/2022-06/gfo-21-402-california-automated-permit-processing-program

## SB 379
Question | Response
where does the number 38.4 KW comes from? | SB 379 identifies 38.4 kW and is the maximum size that SolarAPP+ can handle.
Will jurisdictions be allowed to retain the previous permit process as optional for applicants that do not wish to use an App? | SB 379 does not contain any provisions restricting the use of existing permitting processes.
If Cities develop an app more and beyond Solar app+ would such developed app be considered in compliance with SB 379? | Yes, SB 379 specifies minimum capabilities but anything beyond this is compliant.
What population data is supposed to be used? The population in 2022? | The population data we refer to is provided by the Department of Finance. Latest estimtes can be found at https://dof.ca.gov/forecasting/demographics/estimates/
If Bill includes solar and Energy storage, is it solar + ESS <= 38 KW? or Solar <= 38KW ESS <= 38KW can you clarify? | SB 379 identifies 38.4 kW as the maximum size for a residential solar energy system but does not specify a maximum for a residential energy storage system. SolarAPP+ can handle storage sizes up to what is allowed in the residential code (based on where the battery is located).
Are jurisdictions allowed to use more than one solar permitting provider (in addition to SolarAPP+)? | SB 379 does not contain any provisions restricting the number of permitting providers.
Who will complete the reporting and pay for the cost of reporting? | SB 379 specifies that non-exempt cities and counties are required to report annually to the Energy Commission. The bill does not allocate funding specifically for reimbursing costs for reporting.
Is 38.4KW the combined system size for battery and PV? Or is 38.4KW the system size for PV Only? | SB 379 identifies 38.4 kW as the maximum size for a residential solar energy system but does not specify a maximum for a residential energy storage system. SolarAPP+ can handle storage sizes up to what is allowed in the residential code (based on where the battery is located).
Energy Storage have multiple ratings. Kilowatt-hour and kilowatt. Why bill chose kilowatt? | We do not know the intent of the authors in the writing of SB 379.
Can Exempt Counties still apply for adoption funding? | Yes, exempt cities and counties (as defined by SB 379) are still allowed to apply for funding through the CalAPP program. CalAPP does not restrict which cities and counties are allowed to apply. Funding is availalble on a first-come, first-served basis until funding is exhausted
What type of Solar PV projects will be subject to the bill. Roof Mounted Solar PVs, ballasted Solar PVs, ground mounted solar PVs, tilted Solar PVs, Tesla Roofs. | SB 379 identifies projects that are residential solar energy systems. As defined, this means means any configuration of solar energy devices that collects and distributes solar energy for the purpose of generating electricity and that has a single residential interconnection with the electric utility transmission or distribution network.
For PV with ESS, does the 38.4kW mean the size of the combined system for both PV and ESS or the size of the PV alone at 38.4kW and ESS with no limit. | SB 379 identifies 38.4 kW as the maximum size for a residential solar energy system but does not specify a maximum for a residential energy storage system. SolarAPP+ can handle storage sizes up to what is allowed in the residential code (based on where the battery is located).
are they any exceptions for AHJ that already with a 1-2 day turnaround times, and free solar residential permits? | SB 379 identifies minimum capabilities needed to comply, and does not identify any exceptions for scenarios that do not meet minimum capabilites. Exemptions exist for cities with population fewer than 5,000 and counties with population fewer 150,000.
when is the deadline for small ahj less than 50000 people in la county? | The compliance schedule for cities under population of 50,000 is by September 30, 2024.
Can you post the rules as a link for SB379? | https://leginfo.legislature.ca.gov/faces/billNavClient.xhtml?bill_id=202120220SB379
What about jurisdictons who require other departments approval other than Bulding? Like a Planning department. | Please work with your own attorneys to figure out how to meet SB 379's requirements given the needed approval processes. For example, since SB 379 involves residental solar, perhaps the Planning Department can provide blanket approval for certain types of residential solar projects - projects that meet certain criteria established by the Planning Department. If a city or county will be adopting SolarAPP+, perhaps discuss with its creators how this has been handled by other cities and counties who have already adopted it and have similar processes.
How can you approve in real time if the plans require review from external agencies such as local airports, etc. | Please see the answer to the previous question.
Can you better define what in real time means? we allow permits to be applied for on the weekend and after business hours. | SB 379 does not define "real time." Please check with your own attorneys about interpreting statutes. Sometimes when a term is not defined in statute, courts will apply its common, everyday meaning. In addition, please note that SB 379's language appears to state that SolarAPP+ already meets this "real time" requirement. Thus, feel free to reach out to SolarAPP+'s creators or otherwise research its capabilities in this regard. This might help understand what is meant by "real time."
How is “Real Time” defined? | Please see the answer to the previous question.
Will you please discuss what it means to approve permits 'in real time?' - how will plan review be performed for these solar permits? Will it be a robot or a person reviewing plans? | Please see the answer to the previous question.
From SB 379 -- “The platform verifies code compliance and issues permits in real time or allows the city, county, or city and county to issue permits in real time…” That says issue permits in real time. That automatically, not the next day. | Please see the answer to the previous question.
SB 379 indicates the plan review AND permit issuance to be issued in real time. You indicated this is a review platform and the permit can be issued by the jurisdiction within 24 hrs? Please clarify. | Please see the answer to the previous question.
SB379 states that: "This bill would require every city, county, or city and county to implement an online, automated permitting platform that verifies code compliance and issues permits in real time" I read it such that the permit also needs to be issues in real time (instantly). | Please see the answer to the previous question.
We need a specific list of things we need to comply with, is there such a list? | SB 379 requires the implementation of an online, automated permitting platform, such as SolarAPP+, that meets both of the following requirements: 1. The platform verifies code compliance and issues permits in real time or allows the city, county, or city and county to issue permits in real time to a licensed contractor for a residential solar energy system that is no larger than 38.4 kilowatts alternating current nameplate rating and a residential energy storage system paired with a residential solar energy system that is no larger than 38.4 kilowatts alternating current nameplate rating; 2. The platform issues permits or allows the city, county, or city and county to issue permits for residential solar energy systems and residential energy storage systems paired with residential solar energy systems that SolarAPP+ is capable of processing.
Does this Bill covers Apartments or just single family/ duplexes? | SB 379 does not restrict by residential housing type, however permitting capabilities are only required for those permits that SolarAPP+ is capable of processing. At this time, SolarAPP+ does not enable permitting for multifamily housing.
Can we clarify who is exempt from this? | Cities with population fewer than 5000 are exempt. Counties with fewer than 150,000 are exempt, which includes the population of all cities within that county.
Does the regulation require that ONLY contractors can submit permit applications? This seems to be the only option on SolarAPP+. | SB 379 does not specify who can submit permit applications.
Will fire departments be required to comply with SB 379 if/when they are reviewing solar+storage projects? | SB 379 requires the implementation of a system such as SolarAPP+ that can be used for permit processing but does not alter or restrict other forms of permit processing.
If our county population is less than 150,000 including our cities do we have to implement this online processing program | No. Exemptions apply to cities with population fewer than 5000, and counties with fewer than 150,000, which includes the population of all cities within that county. Therefore, you are exempt if your county population is less than 150,000.
If we issue residential solar permits over the counter without a software, would this comply? | SB 379 identifies minimum capabilities needed to comply, and does not identify any exceptions for scenarios that do not meet minimum capabilites. However, SB 379 does not restrict or alter existing permitting processes once the online, automated platform is implemented.
We already have a permitting program, does this need to be intrigated with it or is this a seperate program. | For any jurisdictions that already has a system in place, you will need to determine whether it meets the requirements defined in the text of SB 379. As written in the bill, you should have an online, automated permitting platform that verifies code compliance and allow the city or county to issue permits in real time. The bill references SolarAPP+ and identifies other requirements that use SolarAPP+ capabilities as a standard. If you believe your system meets all of the requirements in SB 379, you may proceed with submitting data annually as described in our proposed guidelines.
As solar app plus improves does that put whatever system the ahj may have adopted to keep up with solar app plus development | Permitting practices should generally be updated to stay current with any updates to California building code. Additionally, SB 379 appears suggests a need for periodic updates through the following provision identifying minimum capabilities needed for compliance with the bill: "The platform issues permits or allows the city, county, or city and county to issue permits for residential solar energy systems and residential energy storage systems paired with residential solar energy systems that SolarAPP+ is capable of processing." SB 379 defines SolarAPP+ as "the most recent version of a web-based portal, developed by the National Renewable Energy Laboratory, that automates plan review, produces code-compliant approvals, and issues permits for residential solar energy systems and residential energy storage systems paired with residential solar energy systems."
Are the capabilities of SolarApp+ understood as capabilities of SolarApp+ as of a specific date / or do cities have to keep updating their system to at least be as good or better than Solar App+ at any given point in time? | Please see the answer to the previous question.

## Reporting
Question | Response
Per Data collection slide bullet 5- is Solar Paired with Storage the ONLY requirement for SB-379? | No, the proposed reporting requirements for SB 379 include multiple fields of data as identified in the proposed Guidelines which are available on the Energy Commission's webpage for SB 379 at https://www.energy.ca.gov/programs-and-topics/programs/residential-solar-permit-reporting-sb-379
why does the reporting differentiate between permits issued auto vs not auto if ALL permits are required to be auto? | SB 379 requires the implementation of an online, automated permitting system such as SolarAPP+, but it is not required to capture all new permit requests (in some cases SolarAPP+ is not capable of processing all types of requests). Therefore there may be a difference between the number of permits issued using the newly implementated system and those issued otherwise.
Will we be required to report on permits for adding storage only to an existing solar system? | This is not currently proposed in our data collection requirements.
Can we automate annual reporting wihtout a need for a person login and enter data? | We will consider this input.
Do we need to report the same data on PV projects that did not use the automated plan review (SolarApp+ or similar)? Do we need to report the same data on PV projects that do not fall under this SB? | Yes, because SB 379 requires the implementation of an online, automated permitting system such as SolarAPP+, but it is not required to capture all new permit requests (in some cases SolarAPP+ is not capable of processing all types of requests). Therefore there may be a difference between the number of permits issued using the newly implementated system and those issued otherwise.
The data collection currently identifies solar permits and solar paired with storage. Will storage only permits need to be reported, or only in conjunction with solar? | Our current proposal does not request information on storage-only permit requests.
Can we anticipate more detailed reporting requirements (such as system size in KW)? | Current data submission proposals do not include detailed information such as system size in the proposed guidelines. The current proposals for reporting may or may not be revised before being adopted. Potential revisions would be based on public input and feedback received at the workshop or during the allowed public comment period.
Would CEC create a portal for submitting reporting of SB379 compliance? | Yes, we plan to create a portal for each reporting jurisdiction to submit data. Our intent is to make this simple and quick.
Do we need to report on Permits/projects to add to EXISTING PV systems? | Our proposed reporting requirements request information about permit requests for all solar PV projects. This may include residential solar PV that is added to an existing system.
Do we have to report the number of app. that won't go through Solar+ but through our another Building process? | Yes, because SB 379 requires the implementation of an online, automated permitting system such as SolarAPP+, but it is not required to capture all new permit requests (in some cases SolarAPP+ is not capable of processing all types of requests). Therefore there may be a difference between the number of permits issued using the newly implementated system and those issued otherwise.
Instead of having the jusrisdiction report the number of permits auto issued, can SOLARAPP+ provide this reporting information directly? | This is not currently proposed in our data collection requirements. However, this does not preclude the jurisdiction from working with SolarAPP+ to develop reporting strategies that meet your needs.
Will you provide a data dictionary or reporting guidelines for AHJs to create a repeatable reporting process | Following adoption of our guidelines that specify reporting requirements, the CEC will provide information with specified reporting submission details.
Can a report template be created? | Following adoption of guidelines that specificy reporting requirements, the CEC will provide information with specified reporting submission details.
Should we report total kW as well? | This is not currently proposed in our data collection requirements.
I agree with the other commenter that reporting should be automated through Solar App. Particularly since no funding is provided to the cities for completing reporting. If Solar App is complex enough to plan check solar, it should be able to collect the information that CEC needs. We do not have existing resources to complete more reporting. | We will consider this input. Our intent is to request information that is simple and quick to provide. Our current proposals do not preclude the jurisdiction from working with SolarAPP+ to develop reporting strategies that meet your needs.

## SolarAPP+
Question | Response
Solar App+ has two optons Instant in current system or Standalone. which procedue will be required? | SolarAPP+ has two versions, Integrated and Standalone, and each version is designed to work with jurisdictions with different existing permitting structures. Details on the differences between the Integrated and Standalone versions can be found here: https://help.solar-app.org/article/48-integration-model-vs-standalone-model
Does this include apartments? | Multifamily housing is not eligible for SolarAPP+. The types of homes eligible for SolarAPP+ are available here: https://help.solar-app.org/article/224-are-townhomes-accessory-structures-and-manufactured-homes-eligible-for-solarapp
Will this process apply to ground mounted solar, or roof mounted only. | Roof mounted only- for more details on systems eligible for SolarAPP+ see this article: https://help.solar-app.org/article/43-what-types-of-systems-are-eligible-for-solarapp-review
How are these solar and battery submittals plan checked | Yes, the software performs the plan check and produces an approval document that shows all of the compliance checks that the software performed in the automated plan check process. You can see examples of approval documents and related compliance checks: https://drive.google.com/drive/folders/16py2zaZDVskyi3jt3-uCsCPX-cjzcahf?usp=sharing.
Does the bill address snow load requirements/restrictions when special engineering may be required? | SolarAPP+ allows communities to customize their snow load and the system requires contractors to meet those local requirements. There are also limitations on metal and low-slope roofs in those locations where snow load exceeds 15 psf. You can find more details in this article: https://help.solar-app.org/article/60-is-solarapp-customizable and https://solarapp.nrel.gov/eligibility/PV.pdf.
Are inspectors required to plan check these in the field | SolarAPP+ performs the plan check, inspectors are not required to do so. With SolarAPP+ the most significant departure from traditional inspections is that inspectors do not verify information using a plan set or physical line diagram. SolarAPP+ produces a simple inspection checklist highlighting the elements that should be verified during inspection, accompanied by the SolarAPP+ long form, which captures all inputs and calculations done by the program. For more details on how SolarAPP+ inspections work, please review this article: https://help.solar-app.org/article/51-how-do-inspections-work-if-no-planset-is-submitted. There are also trainings for inspectors available here: https://cleanenergytraining.org/code-official-training#solarapp.
Solar App+ is not transparent at all to find out what they are requireing | The SolarAPP+ team is available to discuss the plan review requirements with interested communities. SolarAPP+ also provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
How do we mimic SOLAR APP | The SolarAPP+ software is patented. However, SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
Some small jurisdictions (Albany, pop. 18,000) have less-than-state-of-the-art permitting software. Ours lacks a outward/customer-facing interface altogether. (We take in and issue PV permits pretty efficiently via email.) Can SolarAPP+ be implemented INDEPENDENTLY of our permitting system? (It would have to be.) | SolarAPP+ has two versions, Integrated and Standalone, and each version is designed to work with jurisdictions with different existing permitting structures. In this case, the AHJ would be looking at the Standalone model. Details on the differences between the Integrated and Standalone versions can be found here: https://help.solar-app.org/article/48-integration-model-vs-standalone-model
SolarAPP+ does not permit ground mount at this time.
SolarAPP + does not currently cover ground mount systems or additions to an existing system
Does SolarApp+ review structural calculations for vertical gravity loads to a rooftop as required by the building code? | The contractor is required to follow SolarAPP+ structural requirements summarized here: https://solarapp.nrel.gov/eligibility/PV.pdf. PV systems must not exceed 4 psf, given the California 2022 code includes provisions that confirm that systems under that weight threshold would not add excess weight/load to the home.
Does SolarApp+ also review systems such as reverse tilt systems, or raised systems that require a level of engineering review? | Reverse tilt systems are not eligible for SolarAPP+
Would homeowners, designers, architects or engineers be allowed to submit online for solar permits or only licensed contractors? Thank you, | Only Licensed contractors at this time
Is there a specific list of capabilities of SolarApp+ that a jurdistiction can use to verify compliance in an alternate tool or platform? | The SolarAPP+ software is patented. However, SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
Detached one- and two-family dwellings and townhomes not more than three stories above grade plane in height with a separate means of egress. Each residence must have a unique utility production meter | This is correct
If the permits are issued automatically by the software without the cities' direct involvement, how do cities' plan check comments get addressed before permit approval? | SolarAPP+ performs the plan check for the AHJ. The system will not issue a permit if the project is not code compliant. Inspectors then verify that the system installed matches the inspection checklist, which is created only after the system's calculations verify that the entire project is code compliant. The inspector's job is to ensure that the information displayed in the checklist matches the install.
Is it actaully "plan checking" plans - or is it reviewing data entered into aplications fileds, and then really the code compliance plan check is acutally happneing in the field inspections? | SolarAPP+ automates the plan check. For example, we verifiy that the specific module and the racking equipment are listed as a system under UL 2703 .Inspectors verify that the system installed matches the inspection checklist, which is created only after the system's calculations verify that the entire project is code compliant. The inspector's job is to ensure that the information displayed in the checklist matches the installation in the field. SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
What if they are including a Panel Upgrade with the PV system? | Main Panel Upgrades (MPUs) are now compatible with SolarAPP+, and contractors may identify that they are performing a main panel upgrade or derate in the project application. For additional details visit: https://help.solar-app.org/article/55-does-solarapp-address-main-panel-upgrades-mpus
what is the cost for solar app plus, per year | SolarAPP+ is free to all jurisdictions (minus the employee time associated with onboarding and launching, although CalAPP grants can cover these costs). Contractors are charged a $25 adminstrative fee for each permit, in addition to any fees that the jurisdiction already requires.
Do you know if the solarapp verifies the existing structure where roof solar is going on is permitted? we run into a lot of unpermitted structures in the rural areas. | Contractors must agree to the eligibility requirements and install only on permitted structures. This must be confirmed at time of inspection.
Where a jurisdictions permit processing system has a different permit type for PV Solar installation vs ESS installation such that two separate permits would always be issued, would they still be considered "Paired"? | SolarAPP+ does not separate solar and storage permits. Rather, SolarAPP+ issues one permit for a solar and storage system.
Can Solarapp+ plan check, panel upgrades, adding sub panels, relocating circuits, locations of disconnects, required labels etc... | SolarAPP+ can accommodate main panel upgrades (MPUs), adding subpanels, and relocating circuits. SolarAPP+ also explains what labels must be on-site. Properly labeling and installation of these items must still be inspected (as is the case with all solar projects).
Are the plans checked with our jurisdictions criteria? In other words can we provide SolarApp+ with our city code requirements for plan review? | SolarAPP+ is customizable to a certain extent, allowing jurisdicitons to identify minimum criteria that must be met, such as snow load or ambient high and low temperatures. More details on SolarAPP+ customization can be found here: https://help.solar-app.org/article/60-is-solarapp-customizable. SolarAPP+ enforces the 2022 California code, any local amendments to that code relative to public health and safety must be discussed on a case-by-case basis.
Does Bill include Building Integrated PV(BIPV) solar projects for residential installations? | BIPV projects are not currently eligible for SolarAPP+ review
How does the software address roof mounting systems & structural attachments, etc.. There seems to be a need for regular plan check for this and other reasons in addition to the software - does SB 379 allow for this or is the permit mandated to be issued based on the software's plan check. | The contractor is required to follow SolarAPP+ structural requirements summarized here: https://solarapp.nrel.gov/eligibility/PV.pdf. Attachment spacing and installation quality must still be inspected at time of inspection.
If Solar App is saying it is compliant is Solar App signing the permit? | SolarAPP+ is performing the plan review, but all liability for any installation failures remains with the contractor. As is the case today with all solar projects.
How does the jurisdiction receive the fees for the permit? | The process for receiving permitting fees will depend on whether your jurisdiction selects the standalone or integrated SolarAPP+ model. In either case, SolarAPP+ does not affect the fees collected by the city or county, and AHJs may retain their existing permit fee structure. For more details on how you'll collect your fees, see this article: https://help.solar-app.org/article/164-how-does-solarapp-impact-our-existing-permit-fees
What kind of reporting the solar plus provide for field inspection? | SolarAPP+ produces an inspection checklist for the inspector to use out in the field. How the inspector accesses those documents depends on which adoption model you use. For more information on those two models see: https://help.solar-app.org/article/48-integration-model-vs-standalone-model. For example checklists see: SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing and inpsector training here: https://cleanenergytraining.org/code-official-training#solarapp.
What happens when revisions are required? When a permit is canceled and request for refund? | SolarAPP+ allows up to three project revisions free of charge, and contractors must pay $25 for the fourth revision and each revision thereafter. SolarAPP+ is able to process any revisions as long as the new project design adheres to the SolarAPP+ Eligibility Checklist. Further details on how SolarAPP+ revisions work can be found here: https://help.solar-app.org/article/205-what-revisions-can-solarapp. Regarding refunds; SolarAPP+ charges a $25 per approved plan or issued permit, and this SolarAPP+ cost is nonrefundable. If a contractor wishes to receive a refund from the AHJ for a cancelled permit, the contractor would work through the AHJ’s existing refund policy, as SolarAPP+ instantly delivers permit fees to the AHJ or otherwise does not collect those permitting fees. Further details on refunds can be found here: https://help.solar-app.org/article/173-how-are-fee-refunds-and-additional-applicable-fees-collected-before-the-permit-is-issued
Is online payment of complying solar/ess permits required to be implemented along with implementation of Solarapp+ | Yes, SolarAPP+ requires the delivery of an instant permit, which requires online fee payment. For more information on how this can be done with or without existing online fee payment capabilities see: https://help.solar-app.org/article/48-integration-model-vs-standalone-model.
it is presented as ALL solar must go through automated process, but then it seems like there are so many nuances | Not all projects can be approved in SolarAPP+ to see eligible systems check here: https://solarapp.nrel.gov/eligibility/PV.pdf
Will there be a separate SolarAPP+ workshop with a public opportunity for Q&A? | The Energy Commission does not have any additional planned workshops related to the adoption of guidelines pursuant to SB 379. Please visit https://solarapp.nrel.gov/jurisdictions/learn_more for information and resources related to SolarAPP+.
Does solar app provide bulk processing for production housing? | New construction is not eligible for SolarAPP+. To see eligible systems check here: https://solarapp.nrel.gov/eligibility/PV.pdf
Based on SolarApp+ sample approval printout, it seems to be just a installation checklist. Is there any single line being approved by the AHJ? Will there be any single line provided to the inspector? | SolarAPP+ does not provide a single line diagram. Rather the software develops a new inspection checklist that requires the inspector to verify all facets of an installation as they otherwise would have done with a diagram. For more information on this see here: https://help.solar-app.org/article/51-how-do-inspections-work-if-no-planset-is-submitted and here: https://cleanenergytraining.org/code-official-training#solarapp.
Each SolarAPP+-approved project comes with a site-specific inspection checklist. The plan check is completed upfront through the SolarAPP+
Does solar app apply the California adopted codes? | Yes, SolarAPP+ is built to accommodate the 2017 NEC, 2018 IBC/2018 IRC, and California Title 24, including the the 2022 CA Electric Code and the 2022 CA Residential and Building Codes. As additional code updates are made, such as the next iteration of the electrical code, these will also be incorporated as options for jurisdictions to select.
When solar is part of a larger construction project (like a new house or house remodel), does Solar App apply? Or is it only to be used for standalone solar projects? | SolarAPP+ eligiblity checklists can be found here: https://help.solar-app.org/article/43-what-types-of-systems-are-eligible-for-solarapp-review Some of the types of systems that SolarAPP+ is currently not able to be used for include: ground mount, building-integrated, energy storage, electrical service panel upgrades, new construction, and non-residential (I.E. multi-family, commercial, community, and utility-scale projects). As the software continues to develop more system types will be incorporated. Until such updates are made, contractors must work with local AHJs to submit and review these systems outside of the SolarAPP+ portal.
Can you please share NREL’s contact information so they can help with getting SolarAPP adopted? | We encourage you to reach out to the SolarAPP+ team for more information on how to get set up: Team <team@solar-app.org>. You can also find frequently asked questions here: https://help.solar-app.org/
Can you include contact information for NREL about how AHJs can learn more about SolarApp+ to begin the process? | We encourage you to reach out to the SolarAPP+ team for more information on how to get set up: Team <team@solar-app.org>. You can also find frequently asked questions here: https://help.solar-app.org/
Since verifing the PV system is being installed on a permitted structurally appopriate building, How does Solar App+ perform this review? | Contractors must agree to the eligibility requirements and install only on permitted structures. This must be confirmed at time of inspection.
How do we find SOLAR APP capabilities if SOLAR APP does not provide this information | The SolarAPP+ software is patented. However, SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
Does instant permit issuance also apply to holiday closures etc.? | Yes
Does instant permit issuance also apply to evenings, weekends, and holiday closures? | yes
You dont tell us how Solar APP confirms compliance? | SolarAPP+ automates the plan check. For example, we verifiy that the specific module and the racking equipment are listed as a system under UL 2703 .Inspectors verify that the system installed matches the inspection checklist, which is created only after the system's calculations verify that the entire project is code compliant. The inspector's job is to ensure that the information displayed in the checklist matches the installation in the field. SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
Not sure if my questions was clear. Large companies like to use a Solar APP. but many mom and pop contractors dont want to use it. will they be forced to use solar App? or can they use the old system. | SolarAPP+ is a voluntary product available for contractors to use. They can choose to submit the traditional way if they prefer.
How does Solar App plus review for compliance with local amendments to the codes that goven solar installation? | SolarAPP+ is customizable to a certain extent, allowing jurisdicitons to identify minimum criteria that must be met, such as snow load or ambient high and low temperatures. More details on SolarAPP+ customization can be found here: https://help.solar-app.org/article/60-is-solarapp-customizable. SolarAPP+ enforces the 2022 California code, any local amendments to that code relative to public health and safety must be discussed on a case-by-case basis.
Does Solar App+ track the data for us? | SolarAPP+ does provide a dashboard for communities to review all projects approved in the software. However, the community must retain all information on permits in their community. SolarAPP+ is not the long-term repository for permit information that responsibility remains with the community.
I think solar app + is 25$ to the applicant per project | This is correct
can you provide email address for Enrail please. | We encourage you to reach out to the SolarAPP+ team for more information on how to get set up: Team <team@solar-app.org>. You can also find frequently asked questions here: https://help.solar-app.org/
What is the NREL contact email? Noticing that many CEC responses reference this. | We encourage you to reach out to the SolarAPP+ team for more information on how to get set up: Team <team@solar-app.org>. You can also find frequently asked questions here: https://help.solar-app.org/
Here is the SolarAPP+ NREL website: https://solarapp.nrel.gov/
With use of solar app plus, AHJs will no longer collect PC fees, strictly permit fees based on KW as capped by AB - correct? | SolarAPP+ is voluntary for contractors to use. Local governments can decide whether plan check fees should be waived for these permits.
Since we are required to have solar ap + perform plan check depending on what is capable of. Can we get a clear definition of what solar ap + is capable of? | The SolarAPP+ software is patented. However, SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
What is the current cost to consumer/contractor for using SolarApp+ each time? Who controls these fees? Can these fees be increased in the future and who is responsible monitoring & controlling the increases? | The SolarAPP+ adminstrative fee is $25 and must be paid by the contractor for each project. Decisions to adjust these fees will be determined by the SolarAPP+ Foundation that is the long-term manager of the tool. For more information on the foundation see: https://help.solar-app.org/article/156-who-are-the-solarapp-foundations-board-of-directors
so is solar app free or we need to pay first and then get reimbursed from the funding? | The only direct costs of adopting SolarAPP+ are administrative (employee time, meeting attendance, etc.) These costs can be covered by a CalAPP grant, although grant funds cannot be applied retroactively, meaning that jurisdictions must apply and be approved for CalAPP funding prior to adopting SolarAPP+.
Also - please clarify - this is not actually "plan review" correct? the SolarAPP+ does not plan check, it can review data entered into fields? correct? | SolarAPP+ automates the plan check. For example, we verifiy that the specific module and the racking equipment are listed as a system under UL 2703 .Inspectors verify that the system installed matches the inspection checklist, which is created only after the system's calculations verify that the entire project is code compliant. The inspector's job is to ensure that the information displayed in the checklist matches the installation in the field. SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing
What happens if there the permit plan review needs to trigger building structural work? | These systems are not eligible for SolarAPP+, and the contractor would be kicked out of the system if a project requires structural updates.
Is this a stand alone permiting program? | SolarAPP+ has two versions, Integrated and Standalone, and each version is designed to work with jurisdictions with different existing permitting structures. Details on the differences between the Integrated and Standalone versions can be found here: https://help.solar-app.org/article/48-integration-model-vs-standalone-model
The documentation refers to SolarApp+ as an automated solar permitting platform, but they are just doing the plane check, right? | SolarAPP+ has two versions, Integrated and Standalone, and each version is designed to work with jurisdictions with different existing permitting structures. Details on the differences between the Integrated and Standalone versions can be found here: https://help.solar-app.org/article/48-integration-model-vs-standalone-model
The 4 types of eligible apps for Solar APP currently are New PV Retrofit, New Integrated PV, New PV Retrofit + ESS, and New Integrated PV + ESS
Will SolarAPP integrate with online permitting systems like Accela? | The integration model is for jurisdictions already using some type of online permitting portal such as Accela, Tyler Energov, eTRAKiT, or others. Instructions for integration with Accela are avialable here: https://help.solar-app.org/article/125-how-do-i-setup-solarapp-with-accela-permitting-software.
Does SolarAPP plus validates submitting contractor information through CSLB? | Currently SolarAPP+ users must provide their state contractor and local business license and/or other qualification requirements to obtain a permit. Licensees can be verified in one of two ways: 1- SolarAPP+ collects the license information, status, and related expiration date and sends information on the installer trying to register to the jurisdiction. The AHJ can then verify that this installer is properly licensed. That installer would then be approved on SolarAPP+. 2- Alternatively, SolarAPP+ can handle this verification process based on the hard copy of license files received from the installer's submission into the onboarding forms. Regardless of approach, SolarAPP+ requires that the installer upload documentation to verify their licenses.
Will there be a specific format the PV plans and application will have to be in for the on-line reviews? | Yes, contractors are required to answer a set of questions, and then an inspection checklist is provided to the inspector. SolarAPP+ automates the plan check. For example, we verifiy that the specific module and the racking equipment are listed as a system under UL 2703 .Inspectors verify that the system installed matches the inspection checklist, which is created only after the system's calculations verify that the entire project is code compliant. The inspector's job is to ensure that the information displayed in the checklist matches the installation in the field. SolarAPP+ provides example approval documents that show all the compliance checks and questions answered in the software: https://drive.google.com/drive/folders/1e9L3hvHY6kLC-VsuRaHcOUCtAHEX3ch2?usp=sharing

## Docketed Public Comments
Date Comment received | Stakeholder Name | Organization | Topic | Comment (may be shortended for clarity and conciseness) | CEC Response
2022-12-08 | Genevieve Meyer | Public | SolarAPP+ | Will SolarAPP+ be able to integrate with online permitting systems such as Accela? | Yes, SolarAPP+ offers an integration model already using some type of online permitting portal such as Accela, Tyler Energov, eTRAKiT, and others.
2022-12-08 | Boshi Fu | Public | Reporting | Can a reporting party be a party other than a city or county representative? | Annual reporting should be submitted by a representative of the reporting jurisdiction or someone authorized by the jurisdiction to report on their behalf.
1/9/2023 | CALSSA, Environment California, and SPUR | CALSSA, Environment California, and SPUR | Reporting | We support the Commission collecting the data in section 2 of the proposed guidelines. We suggest the Commission collect data on the total size of the PV systems in addition to number of such projects, as well as data on the total power and capacity of the energy storage systems in addition to number of such projects. Collecting data on system size in addition to number of systems will give insight into how automated permitting platforms are being used and impact on the market. For energy storage systems, collecting data on both the systems permitted with PV and permitted as add-ons to PV also would be beneficial. Lastly, we suggest the Commission develop a plan to publicly share the data from the jurisdictions once collected, which will enable the solar industry and other advocates to use the data to expand solar in California. | Thank you for your comment, we will take this into consideration.