Pursuant to CCR Section 1665 (a) (10), resource development projects (i.e., eligible purposes A, I, or L as specified in Section 1. C. of this solicitation) that will directly result in revenue or energy savings, should include a feasibility study with the following information:

1. A summary of conclusions.
2. A description of the geothermal project.
3. A discussion of the quality and availability of the geothermal resource, based on, but not limited to, technical evaluations such as water samplings, temperature and other logs, geophysical surveys, or flow tests.
4. A schematic drawing including, but not limited to, well locations, distribution piping, structures, equipment, and controls.
5. A table including, but not limited to a description of any new equipment, itemized capital costs in current dollars, annual operating costs for the new geothermal system, and annual energy savings in current dollars and energy units; and a cash flow analysis table including, but not limited to, year-by-year estimates in current dollars of the energy cost of any existing nongeothermal systems, the energy cost associated with the proposed geothermal system, operation and maintenance costs associated with the proposed geothermal system, net energy savings, debt service, and net cash flow.