**GFO-23-317**

**Energy Storage Innovations to Support Grid Reliability**

**Questions and Answers - Updated**

**August 15, 2024**

**Please Note:** Added language appears in **bold underlined** font. Deleted language appears in [strikethrough] and within square brackets.

The purpose of this addendum is to make the following revisions to the

Questions and Answers:

## **Questions and Answers**

1. **Page 13,** under “Technical Questions”

Q. 51 Updated:[~~The LCOS calculation should take into account the charging cost of the system as this is a cost required to operate over the system’s lifetime.~~] **The LCOS target of $0.05/kWh, or $50/MWh, does not include the electricity charging cost of the storage system.**  Applicants are allowed to report LCOS with and without a charging cost and should clearly label the values as such.

**Enrico Palo,**

**Commission Agreement Officer**