**REQUEST FOR QUALIFICATIONS**

**Delegate Chief Building Official Services for the Siting, Transmission and Environmental Protection (STEP) Division**

**and the WILLOW ROCK ENERGY CENTER (21-AFC-02)**

**Compliance Monitoring and Enforcement Unit**

RFQ-24-702
**Addendum 1**

www.energy.ca.gov/contracts/

State of California

California Energy Commission

**July** [~~June~~] 2025

**Table of Contents**

[I. INTRODUCTION 4](#_Toc201829772)

[Background Summary 4](#_Toc201829773)

[Purpose of this RFQ 6](#_Toc201829774)

[Key Activities and Dates 7](#_Toc201829775)

[Available Funding 7](#_Toc201829776)

[Eligible Firms 7](#_Toc201829777)

[Retainer Contract 8](#_Toc201829778)

[Questions 8](#_Toc201829779)

[Contact Information 8](#_Toc201829780)

[Responses to This RFQ 8](#_Toc201829781)

[Reference Documents 8](#_Toc201829782)

[II. SCOPE OF WORK 10](#_Toc201829783)

[About This Section 10](#_Toc201829784)

[No Work Guarantee 10](#_Toc201829785)

[Workshops & Hearings 10](#_Toc201829786)

[**DCBO Work Requirements** 10](#_Toc201829787)

[**DCBO Tasks and Work Performance** 11](#_Toc201829788)

[**DCBO Work Performed Prior to Issuance of Final Decision** 18](#_Toc201829789)

[III. SOQ Format, Required Documents and Delivery 19](#_Toc201829790)

[About This Section 19](#_Toc201829791)

[Pricing/Rates Information 19](#_Toc201829792)

[Required Format for an SOQ 19](#_Toc201829793)

[Preferred Method for Delivery 19](#_Toc201829794)

[Organize Your SOQ as Follows: 20](#_Toc201829795)

[IV. Evaluation PROCESS and Criteria 32](#_Toc201829796)

[Selection Process Steps 32](#_Toc201829797)

[Notice of Selection 34](#_Toc201829798)

[Negotiations 34](#_Toc201829799)

[Notice of Proposed Award 35](#_Toc201829800)

[Scoring Scale 35](#_Toc201829801)

[Evaluation of Statement of Qualifications – Criteria 37](#_Toc201829802)

[V. Business Participation Programs (Preferences/Incentives) 40](#_Toc201829803)

[About This Section 40](#_Toc201829804)

[Disabled Veteran Business Enterprise (DVBE) Participation Compliance Requirements 40](#_Toc201829805)

[DVBE Incentive 44](#_Toc201829806)

[VI. Administration 46](#_Toc201829807)

[RFQ Defined 46](#_Toc201829808)

[Definition of Key Words 46](#_Toc201829809)

[Cost of Developing SOQ 46](#_Toc201829810)

[Software Application Development 46](#_Toc201829811)

[Printing Services 47](#_Toc201829812)

[Confidential Information 47](#_Toc201829813)

[Darfur Contracting Act of 2008 47](#_Toc201829814)

[Executive Order N-6-22 – Russia Sanctions 48](#_Toc201829815)

[**Generative Artificial Intelligence** 48](#_Toc201829816)

[RFQ Cancellation and Amendments 49](#_Toc201829817)

[Errors 49](#_Toc201829818)

[Modifying or Withdrawal of SOQ 49](#_Toc201829819)

[Immaterial Defect 49](#_Toc201829820)

[Disposition of Firm’s Documents 49](#_Toc201829821)

[Firms’ Admonishment 50](#_Toc201829822)

[Agreement Requirements 50](#_Toc201829823)

[No Contract Until Signed & Approved 50](#_Toc201829824)

[Contract Amendment 50](#_Toc201829824)

[Conflict of Interest 50](#_Toc201829825)

**Attachments**

1. Contractor Status Form
2. Darfur Contracting
3. DVBE Std. 843 Form
4. Bidder Declaration Form GSPD05-105
5. Contractor Certification Clauses
6. Certification Regarding Conflicts of Interest Form
7. Project Team Minimum Requirements Form
8. Client References Form
9. DCBO Best Management Practices Guide
10. Project List with Project Owner and Power Plant Operator
11. Standard Agreement Example (informational, no form required in Statement of Qualifications)
12. GenAI Disclosure & Factsheet Form

# I. INTRODUCTION

##

## Background Summary

The Warren-Alquist Act (Public Resources Code sections 25000 et. seq.) grants the California Energy Commission (CEC) exclusive jurisdiction to regulate the construction, operation, modification and closure of thermal power plants 50 megawatts or greater. To begin the construction or modification process the project owner submits to the CEC either an application for certification (AFC) or a petition to amend (PTA). The CEC’s approval process culminates with the issuance of a final decision (Decision). The Decision utilizes new or amended conditions of certification (COCs) to ensure that the power plant will be constructed, operated, modified, or closed in accordance with all CEC requirements and all applicable laws, ordinances, regulations and standards (LORS). To aid with the construction or amendment process, the CEC’s Siting, Transmission, and Environmental Protection (STEP) Division assigns a Commission Agreement Manager (CAM) to assist CEC staff with monitoring all COC and LORS compliance, including the California Building Standards Code (CBSC).

Many code sections applicable to power plant construction or modification comprise the CBSC, including the California Building Code (CBC). The CBC authorizes and directs a chief building official (CBO) to enforce all CBSC provisions (CBC § 104.1). The CEC functions as the CBO for all jurisdictional power plants, and per the code the CBO can designate a delegate CBO (DCBO) to aid with CBO responsibilities. The DCBOs carry out the design review and construction inspections on behalf of the CEC. The DCBO performs this responsibility through engineering plan and technical specification review, analysis and calculation, on-site inspections for code and LORS compliance, and if applicable, providing a COC-required independent Safety Monitor. The DCBO also works with CEC staff to enforce local building codes, the facility design, geology and transmission system engineering COCs, the storm water pollution prevention plan (SWPPP), and the drainage, erosion, and sediment control plan (DESCP), as well as other applicable project LORS to ensure public health and life/safety.

The COCs are the compliance road map followed by a power plant project team; they define how a project is to proceed to completion and subsequently to begin or resume operation. Additionally, the power plant’s COCs define the various design and construction compliance tasks imposed on a project owner by the CEC. These tasks may involve the performance of work not typically required by other jurisdictional agencies for other construction projects. COCs vary from project to project; the DCBO must understand this and become familiar with the site specific COCs applicable to each project. Although the DCBO’s oversight is instrumental for COC and LORS compliance, the CEC always retains final authority to ensure the project is built accordingly, and the DCBO has no authority to alter or substitute any COCs.

It is the DCBO’s responsibility to ensure design document compliance is achieved by a thorough review of: engineered plans; project specifications; and the design document calculations provided by California-licensed plan review engineers. The DCBO’s lead plan reviewers must have verifiable knowledge and experience reviewing high voltage power generating facility construction documents in California.

Lastly, the owner’s resident engineer (RE) shall monitor the development, progress and quality of submittal for documentation produced by the engineers of record, to include those from engineering companies, suppliers/fabricators and construction companies. The RE shall communicate closely with the DCBO when setting priorities for DCBO document review service and DCBO acceptance of test procedures/protocols for construction purposes. The DCBO shall coordinate with the RE to help minimize project delays.

The DCBOs are also delegated the authority to conduct project site field inspections. In this capacity, the DCBOs will inspect, write corrections if applicable, and eventually approve and document all CBSC-required inspections. This is achieved by providing high quality, and certified lead building inspectors that have verifiable experience performing high voltage power generating facility inspections in California.

A project’s COCs will also require that qualified special inspectors be assigned to oversee work for which applicable LORS require special inspections. The DCBO reviews and approves the project’s special inspection program. This review will ensure that the CBSC’s special inspection requirements are met. The DCBO will review and approve any potential special inspector proposed and will oversee the special inspection program for the life of the resulting contract to ensure all requirements are met.

In addition to plan review and inspection services, the services of a safety monitor may be needed. The safety monitor will be selected by, and report directly to, the DCBO and will be responsible for verifying that the project’s safety supervisor, as required by other COCs, is implementing all Division of Occupational Safety and Health (DOSH), better known as Cal/OSHA, and CEC safety requirements. If the project requires a safety monitor, the DCBO shall provide a safety monitor that is certified from a recognized state, national or international organization as a Safety Professional. The safety monitor will be in addition to normal on-site inspection personnel.

CEC staff recognize that power plant construction or modification can be complex, due in part to the fast-track, design-build nature of such projects, and the potential for worksite hazards. This complexity also requires the DCBOs to use their independent judgment to ensure compliance with a vast array of COCs and LORS. Thus, qualified DCBO Firms require a team of uniquely experienced, licensed and certified, professionals with highly technical qualifications specific to high voltage electricity infrastructure. The terms “Firm”, “Contractor” or “DCBO” used in this Request for Qualification (RFQ) all refer to the company or entity submitting a Statement of Qualifications (SOQ).

The **WILLOW ROCK ENERGY STORAGE CENTER** is located at 8684 Sweetser Road in Rosamond, Kern County. In March 2024, the Applicant filed a Supplemental AFC for the project, changing the location to 88.6 acres of private land immediately north of Dawn Road and between State Route (SR) 14 and Sierra Highway within unincorporated Kern County, California, approximately 4 miles north of Rosamond, California. The new project site is on undeveloped land in an area zoned Limited Agriculture (A-1) District. The area surrounding the project boundary is largely undeveloped with very sparse residential development; the nearest residence is approximately 0.8 mile northwest of the northwest corner of the WRESC site.

WRESC would be a nominal 520-megawatt (MW) gross (500 MW net) and 4,160 megawatt-hour (MWh) gross (4,000 MWh net) facility using Hydrostor, Inc.’s proprietary, advanced compressed air energy storage (A-CAES) technology. The overall facility would consist of four nominal 130 MW (gross) power turbine trains, outputting a total of 500 MW net at the point of interconnection. Each train would contain an electric motor-driven air compressor drivetrain, heat exchangers, an air turbine generator, air exhaust stacks, and ancillary equipment. Each train would share a common set of thermal storage tanks (hot and cold water), as well as the air storage cavern. The WRESC would interconnect to Southern California Edison’s Whirlwind Substation located southwest of the WRESC at the intersection of 170th Street W and Rosamond Boulevard, via a new approximately 19-mile 230-kilovolt (kV) generation-tie (gen-tie) line.

Additional information regarding the specific power generation equipment and linear facilities required for the **WILLOW ROCK ENERGY STORAGE CENTER** can be found at the **WILLOW ROCK ENERGY STORAGE CENTER** website at <https://www.energy.ca.gov/powerplant/energy-storage-system/willow-rock-energy-storage-center>

## Purpose of this RFQ

The purpose of this RFQ is to initiate a competitive bid process to select a highly qualified DCBO for Willow Rock Energy Center. With the DCBO’s assistance, the Compliance Office can ensure that these projects are completed in accordance with all COCs.

The CEC is seeking one team of technical specialists led by a contractor. A single Firm, and not a group of representatives from different companies, must submit an SOQ as the prime Contractor. The prime contractor will be responsible for all contract administrative duties, analysis, project management, report preparation, quality assurance, graphics support services, direction of team members in all contract provisions, and participation in technical work assignments. The contractor and the team can be from the same pre-existing organization, such as a full-service consultant firm, or they can be from separate organizations (or self-employed) and form a partnership that can successfully work together for purposes of this RFQ.

## Key Activities and Dates

Key activities including dates and times for this RFQ are presented below. An addendum will be released if the dates change for the asterisked (\*) activities.

|  |  |
| --- | --- |
| ***Activities*** | ***Action Date*** |
| RFQ release | June 27, 2025 |
| Written Question Submittal Deadline by 5:00 p.m.\* | July 10, 2025 |
| Distribute Questions / Answers and Addenda (if any) | July 17, 2025 |
| **Deadline to submit SOQ by 11:59 p.m.\*** | **August 1, 2025**  |
| SOQ Discussions with Firms\* | Week of August 4-8, 2025 |
| Notice of Selection |  August 11, 2025  |
| Cost Negotiations |  August 12-18, 2025  |
| Notice of Proposed Award | Week of September 1, 2025  |
| CEC Business Meeting | October 8, 2025 |
| Contract Start Date | November 2025 |
| Contract End Date | November 2028 |

## Available Funding

The contract amount between the CEC and the selected DCBO Firm will be zero dollars. The DCBO Firm will be reimbursed through a separate agreement with the Project Owner. The CEC will be an expressly named third-party beneficiary to the agreement between the DCBO Firm and the Project Owner.

## Eligible Firms

This is an open solicitation for public and private entities. Each agreement resulting from this solicitation includes Terms and Conditions that set forth the Contractor’s rights and responsibilities. The University of California, California State University, or United States Department of Energy (DOE) National Laboratories must use either the standard or the pre-negotiated Terms and Conditions on the [Department of General Services Office of Legal Services website](http://www.dgs.ca.gov/OLS/Resources) at http://www.dgs.ca.gov/OLS/Resources. All other entities must agree to use the attached standard Terms and Conditions. The CEC will not award agreements to non-complying entities. The CEC reserves the right to modify the Terms and Conditions prior to executing agreements.

All corporations, limited liability companies (LLCs), limited partnerships (LPs), and limited liability partnerships (LLPs) that conduct intrastate business in California are required to be registered and in good standing with the California Secretary of State prior to its project being recommended for approval at a CEC business meeting. If not currently registered with the California Secretary of State, applicants are encouraged to contact the Secretary of State’s Office as soon as possible to avoid potential delays in beginning the proposed project(s) (should the application be successful).

For more information, contact the [California Secretary of State’s Office](http://www.sos.ca.gov/) at http://www.sos.ca.gov/. Sole proprietors using a fictitious business name must be registered with the appropriate county and provide evidence of registration to the CEC prior to their project being recommended for approval at a CEC business meeting.

## Retainer Contract

Any contract awarded as a result of this RFQ will be a no-fee "retainer" contract. The selected contractor will be assigned in any given year.

## Questions

During the RFQ process, questions of clarification about this RFQ must be directed to the Commission Agreement Officer (CAO) listed in the following Contact Information section. Potential Firms shall carefully examine the qualifications and specifications of this RFQ. You may ask questions at the Pre-Bid Conference, and you may submit written questions via electronic mail. **All questions must be received by 5:00 p.m. on the date indicated** in the Key Activities and Dates section.

The questions and answers will be posted on the [CEC's website](https://www.energy.ca.gov/funding-opportunities/solicitations) at https://www.energy.ca.gov/funding-opportunities/solicitations.

Any verbal communication with a CEC employee concerning this RFQ is not binding on the State and shall in no way alter a specification, term, or condition of the RFQ. Therefore, all communication should be directed in writing to the CAO listed below.

## Contact Information

Eilene Cary, Commission Agreement Officer

California Energy Commission

715 P Street, MS-18

Sacramento, California 95814

Email: Eilene.Cary@energy.ca.gov

## Responses to This RFQ

Responses to this solicitation shall be in the form of a Statement of Qualifications (SOQ) according to the format described in this RFQ. The SOQ shall detail the Firm’s qualifications to perform the tasks outlined in the Scope of Work.

## Reference Documents

Firms responding to this RFQ may want to familiarize themselves with the following documents:

Firms responding to this RFQ must familiarize themselves with the DCBO Best Management Practices Guide (“Guide”), which is included as Attachment 9 of this RFQ package. The Guide provides the CEC’s expectations in the performance of the resulting contract and will become part of the final contract. The Guide is solely applicable to the contract between the CEC and the selected Firm.

Upon receiving a work authorization, the DCBO should familiarize themselves with the final decision and amendments for their project specific assignments. These documents are available electronically in the docket log for each individual project listed [here](https://www.energy.ca.gov/proceedings/power-plant-listing).

Additionally, the DCBO Firm may want to familiarize themselves with the following publications available on-line and in the CEC Library:

[CEC Power Plant Siting Rules of Practice and Procedure](https://govt.westlaw.com/calregs/Browse/Home/California/CaliforniaCodeofRegulations?guid=I6BD74060D44E11DEA95CA4428EC25FA0&originationContext=documenttoc&transitionType=Default&contextData=%28sc.Default%29)

[Synopsis of the Power Plant Siting Process](https://www.energy.ca.gov/programs-and-topics/topics/power-plants/synopsis-power-plant-siting-process#:~:text=The%20licensing%20process%20begins%20when,to%20begin%20the%20certification%20process.)

# II. SCOPE OF WORK

## About This Section

In this section, the Energy Commission describes the tasks the Firm (referred to as “Contractor” in the Scope of Work) will be asked to perform under the direction of the Energy Commission’s Commission Agreement Manager (CAM). This section also describes the work assignment process, deliverables, and due dates.

## No Work Guarantee

The Energy Commission does not guarantee any minimum or maximum amount of work to the prime Contractor or any Subcontractor under the Agreement.

## Workshops & Hearings

All workshops and hearings are sponsored, organized, and facilitated by the Energy Commission. The Energy Commission is responsible for any costs associated with a workshop or hearing. Contractor will provide labor only.

**DCBO Work Requirements**

The CEC utilizes the California Code of Regulations, Title 24, Parts 1 through 12, herein referred to as the California Building Standards Code (CBSC) for jurisdictional power plants. The design and construction of all civil, structural, mechanical (except process piping), electrical, and fire prevention facilities must comply with the CBSC, so these codes apply to power plant construction, modification or closure. CEC DCBOs are required to have total familiarity with the codes. The CBSC includes the following code parts relevant to power generation facilities and their commonly referenced names:

* Part 1 - California Administrative Code
* Part 2 - California Building Code (Volumes 1 and 2)
* Part 3 - California Electrical Code
* Part 4 - California Mechanical Code
* Part 5 - California Plumbing Code
* Part 6 - California Energy Code
* Part 7 - Vacant (no longer in use)
* Part 8 - California Historical Building Code
* Part 9 - California Fire Code
* Part 10 - California Existing Building Code (formally - California Code for Building

Conservation)

* Part 11 - California Green Building Standards Code
* Part 12 - California Referenced Standards Code

Additional applicable engineering-related LORS include, but may not be limited to, the following:

* American National Standards Institute (ANSI)
* American Petroleum Institute (API)
* American Society of Civil Engineers (ASCE)
* American Society of Mechanical Engineers (ASME)
* American Society for Testing and Materials (ASTM)
* Institute of Electrical and Electronics Engineers (IEEE)
* National Fire Protection Association (NFPA)
* Underwriters Laboratories (UL)
* American Welding Society (AWS)
* National Electrical Safety Code
* California Professional Engineers Act (Business and Professions Code sections 6700-6799), California Professional Land Surveyors’ Act (Business and Professions Code sections 8700-8805) and California Contractors License Laws
* American Concrete Institute (ACI) Codes
* American Institute of Steel Construction (AISC) Codes
* American Society of Heating, Refrigerating, and Air Conditioning Engineers (ASHRAE)
* ASME/ANSI B31.1 Power Piping Code
* Cooling Tower Institute (CTI)
* Heat Exchange Institute (HEI)
* Occupational Safety and Health Administration (OSHA)

A properly designed, constructed or modified power plant will meet or exceed all applicable LORS. CEC DCBOs must have complete familiarity with all applicable LORS.

**DCBO Tasks and Work Performance**

This section contains a generalized version of the roles, responsibilities, and varied tasks expected of a DCBO Firm. Please note that although the DCBO functions as the CEC's delegate, the CEC has the final authority and responsibility to ensure that each power generating facility certified is built or modified in accordance with the CEC’s Decision and the applicable LORS.

As a CEC delegate, the DCBO must abide by any interpretation of the CBSC, and other applicable LORS, made by the CEC. In addition, all DCBO team members must be approved by CEC staff, including additional or replacement team members.

The DCBO will perform contract administration functions, complete a series of specific plan review, site-inspection, and construction-monitoring and reporting tasks, and provide technical/interpretive support services when necessary.

**Task 1 – Project Management (DCBO Infrastructure)**

The DCBO shall:

* Attend and participate in CEC team meetings as requested by the CAM.
* Work with the CAM to ensure all pre-construction submittals are complete before issuance of a Notice to Proceed;
* Develop and maintain a password-protected, project-specific website for the posting of the weekly reports and other project documents. The documents on the website will be posted in an MS Word- or Excel-compatible format, and applicable submittals will be converted to .pdf files for the periodic compliance reports (PCRs).
* Provide document security and backup methods to the CAM for review and approval to ensure that the electronic submittal process is secure and data can be re-established if it is lost or damaged.
* Develop and provide an initial hard copy, and an easily referenced and updateable on-line copy, of the “Project-Specific DCBO Project Guide”. The DCBO must update the Guide to include new or updated information that assists with the CEC’s compliance requirements. The project-specific DCBO Project Guide will include a:
	+ Table of Contents, pagination, an acronym list, and a list of references;
	+ Organizational Chart with photo identification and contact information for all staff and contractors responsible for code and regulatory compliance, including specializations and current trainings/certifications and project-specific team assignments;
	+ DCBO workflow chart (including a timeline provided by the Project Owner);
	+ A color-coded CBO/DCBO COCs verification spreadsheet (provided by owner) with submittal deadlines for preconstruction, construction, and commissioning stages;
	+ Detailed list of CBO/DCBO pre-construction documentation submittal requirements (provided by owner) including schedules, master lists, site plans, general submittals, and transmission system engineering conditions;
	+ Detailed list of DCBO quality control program elements to work in conjunction with the Project Owner’s quality controls for design and plan review;
	+ Summary overview of the CBSC Structural Engineering, Piping, Fabrication Inspection, and Special Inspection guidelines applicable to the project;
	+ Summary overview of the DCBO’s on-line document repository, including a file-naming protocol consistent with the CEC’s COC; and
	+ Summary overview of the DCBO’s Document Submittal and Tracking System (DSTS) used to track document submittals, revisions, and inspections; and to ensure design and plan consistency between field crews and engineering and project management staff (see Task 2 below).
	+ Maintain a site presence and an on-site field office (provided by the Project Owner) during all construction activities or as directed by the CAM;
	+ Issue as necessary correction notices and non-conformance reports to ensure COC and LORS compliance.
* Select a DCBO Lead Engineer, from one of the approved Lead Plan Review Engineers, as directed by the CAM, to oversee engineering construction compliance, as delineated by the Facility Design, Geology, and Transmission System Engineering COCs, as well as the SWPPP and the DESCP;
* Include all the components listed below in a weekly PCR with an easily-navigable format. Provide the PCRs to the CAM via email or web posting, and include:
	+ List of DCBO staff onsite and their duties;
	+ Executive summary of current construction activities, broken down by facility design engineering elements:
		- General (GEN);
		- Civil (CIVIL);
		- Structural (STRUC);
		- Mechanical (MECH);
		- Electrical (ELEC);
		- Safety; and
		- Environmental (as applicable)
	+ Project completion percentage, based on the amount of work completed to date for all systems before plant operation;
	+ Compliance issues with applicable LORS and all COCs;
	+ List of issued or potential non-conformance reports;
	+ List and status of submitted plans;
	+ Status of interconnections;
		- Natural Gas, if any
		- Backfeed, if any
		- Potable Water
		- Waste Water
		- Fire Water
	+ A 3 week look ahead schedule or scheduling forecast for construction progress;
	+ A site map (including a scale bar and directional key) and a minimum of 10 date-stamped project photographs identifying construction activities with a brief description broken down by facility design engineering elements;
	+ Estimate of construction staff/contractors onsite;
	+ List of field inspections performed this week (Inspection reports shall be posted for CAM review no longer than 3 days after inspection was done); and
	+ List of any job-related accidents whether recordable or not.
* Provide initial and periodic refresher training support to the project-specific team and the CAM on the DCBO’s Document Submittal and Tracking System (DSTS); and
* Maintain, via a document control manager (DCM), a log of all email correspondence pertinent to all document submittal, and inspection activity issues.

In addition to contract administration duties (Task 1), the DCBO will assist with code interpretation and enforcement, plan review, engineering and construction monitoring support, and potential plan amendment analyses to facilitate the successful and timely completion of the following tasks (Tasks 2‑7).

**Task 2 – Project Coordination and Communication Protocols**

Power plant development projects typically involve concurrent design and construction efforts. This “fast-track” approach requires well-organized processes in place to name and track all submittals in their various stages of development and review. Conversely, especially during the design phase, significant time may pass between subsequent submittals of the same package. To keep all parties on track, it is important that all DCBO comments are well documented, and that a standardized electronic file-naming protocol is used.

The DCBO shall:

* Develop a web-based electronic DSTS designed to minimize hard-copy transmittals, that includes but is not limited to the following:
	+ Username and password protection to restrict access to submittals
	+ Submittal associative links to review comments, document approvals, inspection requests, and construction approvals
	+ File names that include:
		- The COC section abbreviation and number (i.e. “STRUC-1”);
		- A short but recognizable description of the submittal type and document contents; and
		- The version or revision number, including the date received and the date returned or approved.
	+ A multi-level file structure that can organize the submittals by various document characteristics and allow the user to easily identify the status of the submittal through the approval process. For example, using a query function, the user should be able to identify and/or review:
		- The COC section requiring the submittal;
		- Chronological order and date of the submittal;
		- Approval status of the submittal, including partial approvals;
		- Time anticipated (due date) for completion of the DCBO’s review;
		- Document review comments;
		- Subsequent re-submittal of the corrected documents;
		- Approval signature by the DCBO Firm;
		- A separate file for the latest approved revision and another file for all the previous revisions (i.e. if the latest approved revision is number 5, then that revision should have its own file. Revisions 1-4 should be together in another file to be used if needed);
		- Construction inspection requests;
		- Notices of non-conformance;
		- Inspection comments, rejections, and approvals;
		- Special inspections; and
		- Safety Inspections.
	+ A query function to locate and determine the status of every submittal, drawing, inspection, report, or other document. The query function must have the capability to link with the submittal and to gather data relating to the various sections within the COC. For example, an authorized individual should be able to query a list of all STRUC-1 compliance submittals.
* Maintain a DSTS log that follows the file structure logic to track submittals from original receipt through final inspection. The submittal log should provide a means to identify:
	+ Which documents are contained within a submittal;
	+ Which documents have been approved;
	+ Which documents have been revised; and
	+ The current document revision number.
* Maintain an accessible historical DSTS document archive of all documents submitted to the DCBO for authorized individuals. Simply having the most current version of a document in the document tracking system does not provide an adequate record of the submittal history.
* Maintain the minimum types of project documents including: construction drawings; supporting calculations; construction specifications; inspections; special inspections; worker safety records; and when applicable, environmental monitoring records.
	+ Required documents submitted to the DCBO to be in an Adobe Acrobat® .pdf, secure, electronic file format, and if an Engineer of Record (EOR) is associated with the submittal, it must include a digital signature.

If approved by the CAM, minor variations to the document tracking structure described herein, and alternative methods of saving documents within a traditional, multi-level file structure may be acceptable, provided they function in a similar manner. Database and/or document tracking systems are acceptable, provided they are organized with a search engine that locates submittals and documents in the same logical fashion as would be done within a traditional data file-server structure.

As directed by the CAM, the DCBO shall attend project-specific coordination meetings and be prepared to provide information regarding the timing, schedule, and critical path issues for COC compliance and monitoring.

**Task 3 – Project Specific DCBO Pre-Construction Compliance Assistance**

There is often an extensive list of pre-construction submittals that must be approved before the CEC can issue a Notice to Proceed for the project. The Notice to Proceed allows site mobilization for construction to commence. Although the CEC retains the final authority over all matters relating to COC interpretation, the DCBO does provide certain preliminary document review and pre-construction COC compliance assistance.

The DCBO shall assist, as directed by the CAM, with preliminary document review and pre-construction COC compliance. The amount of time required for this type of work varies from project to project, however the DCBO should communicate this to the Project Owner during their contract negotiations.

**Task 4 – Project Specific DCBO Construction Plan Review**

The bulk of the work performed by the DCBO involves the review of construction drawings, calculations, and other documents supporting the project’s engineering activities. The DCBO should also anticipate document submittals concurrent with on-going construction.

Project Owners often submit multiple documents/drawings within a single submittal. The DCBO will review the submittal and approve individual documents within a submittal, if possible, to expedite the document review process. The documents/ drawings that require re-work will be allowed to be resubmitted alone as a revision to the original submittal.

The DCBO shall:

* Review, and when found to be in compliance with all applicable LORS, approve the selection of dynamic analysis and/or alternative methods of analysis for the design of those major structures designated in the project’s Facility Design COCs;
* Ensure that the results of all plan checks and construction inspections are available to the CAM via the DCBO website;
* Retain all approved plans, specifications, calculations, and marked-up “as-builts” for 90 days after the project’s construction completion date, after which the DCBO will deliver them to the Project Owner for long-term retention at the project site or other accessible location; and
* Provide electronic copies of the approved plans, specifications, calculations, marked-up “as-builts,” and other relevant submittals to the CAM, in the form of Adobe Acrobat® .pdf, secure, electronic files, within 90 days of the project’s construction completion date (see Task 7).

**Task 5 – DCBO Construction Compliance and Field Inspections**

The DCBO’s responsibilities may also include conducting field inspections and providing COC compliance oversight. In this role, the DCBO is responsible for the inspection of constructed facilities to ensure compliance with the approved construction drawings. The CBSC requires that all plans be reviewed and approved before construction. There are tasks not typically performed by building department inspectors that are a part of the CEC’s DCBO responsibilities. These include but are not limited to compliance items identified below and within the project specific COCs.

The DCBO shall:

* Review and approve any of a project’s proposed special inspection programs, approve the qualifications and experience of the proposed special inspectors; monitor the DCBO approved special inspectors work as needed in the field; and review the special inspectors’ daily reports to ensure all CBC requirements are met.
* Select a Certified Safety Monitor, financed by the Project Owner who reports directly to the DCBO and the CAM; the Certified Safety Monitor’s role will include, but not be limited to conducting on-site (including linear facilities) safety inspections to verify that the Construction Safety Supervisor implements all appropriate Cal/OSHA and CEC safety requirements.
	+ The Safety Monitor will conduct on-site safety inspections during construction at intervals necessary to fulfill those responsibilities.
	+ The Safety monitor will have the authority to issue a stop work order for unsafe conditions found on the work site. The stop work order will be in writing and given to the Construction Safety Supervisor with the necessary conditions to remedy the unsafe condition(s) before work can resume.
	+ The Safety Monitor will ensure that the corrective actions have been properly taken by the Construction Safety Supervisor before work can resume.
* Provide an inspection notification process that includes independent feedback to the project team and CAM when multiple or repeated inspection failures have occurred.

**Task 6 – Non-Compliance and Incident Reporting and Resolution**

The primary responsibility of the DCBO is to ensure compliance with local building codes; the CBSC; the Facility Design, Geology and Transmission System Engineering COCs; Workers Safety; Fire Protection; the SWPPP, the DESCP, and other applicable LORS. As per Task 1 above, if a non-conformance report is issued, it must be reported to the CAM (on a per incident basis or in the next PCR). The non-conformance report should only be issued after all other measures are exhausted (i.e. correction notices, discussion with CAM, etc.) to seek compliance.

The DCBO shall:

* Communicate any concerns regarding a Project Owner’s design and quality assurance/quality control (QA/QC) process and documentation to the CAM for issue resolution.
* Take any action allowed by the California Code of Regulations, CBSC, and LORS to ensure that the CEC’s interests are properly addressed and protected.
* Seek the cooperation and assistance of the CAM prior to initiating a stop-work order. For emergency situations, the DCBO may initiate a stop-work prior to notifying the CAM or the Safety and Reliability Branch Manager if the CAM is not available. For any action taken under emergency conditions, the CAM must be notified within 4 hours of the action.

**Task 7 –DCBO “As-Built” Document Package and Archiving**

The DCBO is responsible for the oversight/development of the as-built document package within 90 days of project/amendment construction completion. The as-built drawings originate from redlined construction drawings and these drawings are maintained by the project development team at the power plant site. The DCBO construction inspectors will ensure that the project development team captures field changes. The DCBO will receive the revised construction drawings from the project development team’s Engineer of Record and combine them with the project supporting documents to create the as-built document package. The submittal of the as-built document package to the CEC is for document archival purposes as required by the COCs.

The DCBO shall:

* Ensure that the project development team captures field changes for the as-built document package.
* Receive the project development team’s revised construction drawings from the EOR and combine them with the project supporting documents to create the as-built document package.
* Develop and submit as-built electronic file package consisting of construction drawings and supporting documents including, but not limited to, the following:
	+ Construction drawings;
	+ Supporting calculations;
	+ Construction specifications;
	+ Inspection records;
	+ Special inspection records; and
	+ Worker safety records, etc.
* Submit one copy to the CEC and one copy to the Project Owner of all volumes of the as built document package via email or USB memory stick, saved in Adobe Acrobat® .pdf file format, and organized by COC section:
	+ General - GEN;
	+ Civil – CIVIL;
	+ Structural – STRUC;
	+ Mechanical – MECH;
	+ Electrical – ELEC;
	+ Transmission Systems Engineering– TSE

The DCBO is responsible for verifying the completeness of this package, which should include any additional related facilities[[1]](#footnote-2) within the CEC’s jurisdiction that are not included in the six facility design elements above.

**DCBO Work Performed Prior to Issuance of Final Decision**

The CEC must ensure that the projects related to the RFQ are designed, constructed, and operated in conformity with their Final Decisions; the CBSC; the local building codes and all other applicable LORS.  If the Project Owner anticipates site mobilization immediately following issuance of the Final Decision, the Project Owner may be permitted to file compliance submittals prior to the issuance of the Final Decision.  Compliance verifications may be submitted in advance of the Final Decision, but the Project Owner submits the compliance verifications at its own risk.  Additionally, any work undertaken by DCBO prior to the issuance of the Final Decision shall be performed at the sole risk of DCBO.  Any compliance approvals by CEC staff prior to the issuance of the Final Decision are subject to change, and staff compliance approvals provided before the issuance of the Final Decision does not imply that the CEC will approve the project for actual construction and operation.

# III. SOQ Format, Required Documents and Delivery

## About This Section

This section contains the format requirements and instructions on how to submit an SOQ in response to this RFQ. The format is prescribed to assist the Firm in meeting State requirements and to enable the Energy Commission to evaluate each SOQ uniformly and fairly. Firms must follow all SOQ format instructions, answer all questions, and supply all requested data.

## Pricing/Rates Information

Do not submit any price quotes or bids in your SOQ since this will be negotiated with the top- rated Firm.

## Required Format for an SOQ

All SOQs submitted under this RFQ must be typed using a standard 11‑point font, singled-spaced and a blank line between paragraphs. Pages must be numbered and sections titled.

## Preferred Method for Delivery

Firms must submit the SOQ (Sections 1 and 2).

The method of delivery for this solicitation is the [CEC Grant Solicitation System](https://gss.energy.ca.gov/), located at https://gss.energy.ca.gov/. This online tool allows applicants to submit their electronic documents to the CEC prior to the date and time specified in this solicitation. Electronic files must be in MS Word and Excel Office Suite formats unless originally provided in the solicitation in another format. Attachments requiring signatures [~~(see Note about Signatures, Section I)~~] may be scanned and submitted in PDF format. **The system will not allow electronic documents to be submitted after the SOQ due date and time. To avoid file size limitations, please submit each document as a separate file and do not combine multiple documents.**

The deadline to submit SOQs through the CEC’s GSS is **11:59 p.m**. The GSS system automatically closes at 11:59 p.m. If the full submittal process has not been completed before 11:59 p.m., your SOQ will not be considered. NO EXCEPTIONS will be entertained.

The CEC strongly encourages Applicants to upload and submit all SOQs by 5:00 p.m. because CEC staff will not be available after 5:00 p.m. or on weekends to assist with the upload process. And please note that while we endeavor to assist all would-be Applicants, we can’t guarantee staff will be available for in-person consultation on the due date, so please plan accordin

gly.

Please give yourself ample time to complete all steps of the submission process: do not wait until right before the deadline to begin the process. Due to factors outside the CEC’s control and unrelated to the GSS system, upload times may be much longer than expected. For example, some past Applicants experienced unexpected issues on their end, causing long delays that prevented timely submission. They spent significant time and resources on applications the CEC will not consider. Please plan accordingly. For instructions on how to apply using the GSS system, please see the How to Apply document available on the CEC website at: [https://www.energy.ca.gov/media/1654](https://gcc02.safelinks.protection.outlook.com/?url=https%3A%2F%2Fwww.energy.ca.gov%2Fmedia%2F1654&data=05%7C01%7C%7C40ade96a8bfb41ce317608db692a8d0d%7Cac3a124413f44ef68d1bbaa27148194e%7C0%7C0%7C638219403729080954%7CUnknown%7CTWFpbGZsb3d8eyJWIjoiMC4wLjAwMDAiLCJQIjoiV2luMzIiLCJBTiI6Ik1haWwiLCJXVCI6Mn0%3D%7C3000%7C%7C%7C&sdata=DDMulTd%2BXx92x4z1VmvjpBo11LI3KdJGP3shnV4nbmI%3D&reserved=0).

First time users must register as a new user to access the system. Applicants will receive a confirmation email after all required documents have been successfully uploaded. A tutorial of the system is available on the [CEC website](https://www.energy.ca.gov/funding-opportunities/funding-resources) under General Funding Resources located at https://www.energy.ca.gov/funding-opportunities/funding-resources. You may contact the CAO identified in the Contact Information section of this solicitation for more assistance.

Due to COVID-19, hard copies, or submissions via email will not be accepted for this solicitation.

## Organize Your SOQ as Follows:

### SECTION 1, Administrative Response

|  |  |
| --- | --- |
| Cover Letter |  |
| Table of Contents |  |
| Contractor Status Form | *Attachment 1*  |
| Darfur Contracting Act Form | *Attachment 2*  |
| Disabled Veteran Business Enterprise (DVBE) Declarations Form (STD 843) | *Attachment 3*  |
| Bidder Declaration Form (GSPD-05-105) | *Attachment 4*  |
| Contractor Certification Clauses Form (CCC 1005) | *Attachment 5* |

### SECTION 2, Minimum Qualifications

|  |  |
| --- | --- |
| Certification Regarding Conflicts of Interest Form | *Attachment 6* |
| Project Team Minimum Requirements Form | *Attachment 7* |
| Generative Artificial Intelligence Disclosure Form  | *Attachment 12* |

### SECTION 3, Technical Responses / Background

|  |  |
| --- | --- |
| Project Team Management and Quality Control Experience |  |
| Project Team Organizational Structure & Cost Minimization |  |
| Project Team Relevant Experience and Qualifications |  |
| Approach to Tasks in Scope of Work |  |
| Analytical Tools |  |
| Client References Form | *Attachment 8* |

1. **Minimum Qualifications**

In order for a Firm’s SOQ to be accepted and scored on the technical substance, the Firm must meet the Project Team Minimum Requirements. The CEC will determine if the Firm meets the minimum requirements. If not, the Firm shall be eliminated, and the SOQ will not be evaluated and scored. The minimum qualifications include:

1. **Conflict of Interest (Attachment 6)**

The Firm must meet the conflict-of-interest minimum requirement described in this section. The Firm must certify in Attachment 6 that it has not worked on a power plant application (including amendments) for any project listed on the Project List with Project Owner and Power Plant Operator (Attachment 10) and that the Firm has not received income from a project owner listed on Attachment 10 in the past twelve months, except for income received from a project owner pursuant to a memorandum of understanding or a contract between the CEC and the Firm for work as the CEC’s DCBO.

“Application” means an application for certification for an energy facility or an application for a small power plant exemption. Application also means a petition to amend an existing license already issued by the CEC.

“Project owner” means the entity submitting an application for certification for an energy facility. Project owner also means the project developer or operator filing a petition to amend an existing license. Project owner includes the business entity responsible for filing the application for certification or petition to amend, all of its parent companies and subsidiaries, and investors of the business entity with fifty percent or more ownership interest.

List the projects from Attachment 10 for which the Firm has worked on the power plant Application.

List the project owners from Attachment 10 from which the Firm has received income in the past twelve months, except for income received from a project owner pursuant to a MOU or a contract between the CEC and the Firm for work as the CEC’s DCBO.

1. **Project Team Minimum Requirements Form (Attachment 7)**

For each expertise/position listed in Table 1, the Firm must submit the name of the team member, a short description of the person’s qualifications, experience, and education/license/certification, and a copy of those licenses and certifications.

The Firm must have at least one team member for each of the delegated positions with at least the minimum qualifications, experience, and education as identified in Table 1. The firm must identify at least one name for each position in Attachment 7. If the Firm fails to satisfy all of the project team minimum requirements at the time of SOQ submission the Firm shall be eliminated and the SOQ will not be evaluated and scored. The successful Firm must continue to satisfy all of the project team minimum requirements throughout the term of the contract resulting from this RFQ. One person may fulfill multiple positions as long as that person meets the minimum requirements for each position.

**Table 1: Project Team Minimum Requirements**

| **Delegated Position** | **Qualifications** | **Experience** | **Education/ License/ Certification Requirements** |
| --- | --- | --- | --- |
| Chief Building Official (CBO) | Verifiable experience as a Chief Building Official on complex industrial\* facilities and high-voltage power generating facilities in California | Minimum: 2 years as a CBO on a power generating facility | Minimum: combination building inspector from a recognized state, national or international organization |
| Deputy Chief Building Official | Verifiable experience as a Deputy Chief Building Official on complex industrial\* facilities (preferably with high-voltage power generating facilities) in California  | Minimum: 2 years as a Deputy CBO for complex industrial facilities (preferably high voltage power generating facilities)  | Minimum: Building inspector, but desired combination inspector, from a recognized state, national or international organization |
| Fire Marshall | Certified California fire plan reviewer and certified California fire inspector with verifiable experience as a Fire Marshall on complex industrial\* facilities and high-voltage power generating facilities in California | Minimum: 2 years reviewing fire plans for a high voltage power generating facility | Minimum: Fire Marshal and fire plans reviewer from a recognized state, national or international organization |

|  |  |  |  |
| --- | --- | --- | --- |
| Lead Structural Plan Review Engineer | California licensed structural engineer or California licensed civil engineer with verifiable knowledge and experience in structural engineering, and is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities and power generating facilities structures and equipment supports in California  | Minimum: 2 years, reviewing plans for a high voltage power generating facility | Engineering degree that is licensed and in good standing with the California Department of Consumer Affairs, Board for Professional Engineers, Land Surveyors and Geologists for the discipline to be reviewed |
| Lead Electrical Plan Review Engineer | California licensed electrical engineer with verifiable knowledge and experience in electrical engineering, and is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities and power generating facilities’ electrical systems that include low, medium and high voltages | Minimum: 2 years reviewing plans for a high voltage power generating facility | Engineering degree that is licensed and in good standing with the California Department of Consumer Affairs, Board for Professional Engineers, Land Surveyors and Geologists for the discipline to be reviewed |
| Lead Mechanical Plan Review Engineer | California licensed mechanical engineer with verifiable knowledge and experience in mechanical engineering, and is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities and high-voltage power generating facilities mechanical systems that include but are not limited to: chemical conveying systems; potable water; fire protection; pressure vessels; steam piping; high pressure non-condensable gas lines; and high pressure geothermal brine lines | Minimum: 2 years reviewing plans for a high voltage power generating facility | Engineering degree that is licensed and in good standing with the California Department of Consumer Affairs, Board for Professional Engineers, Land Surveyors and Geologists for the discipline to be reviewed |
| Lead Civil Plan Review Engineer | California licensed civil engineer with verifiable knowledge and experience in civil engineering, and is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities and high-voltage power generating facilities that include but are not limited to: foundation investigations; geotechnical/soils reports; site preparation; excavation; compaction; secondary containment; foundations; erosion and sedimentation control structures; drainage facilities; underground utilities; culverts; site access roads and sanitary sewer systems | Minimum: 2 years reviewing civil plans for complex industrial facilities (preferably high voltage power generating facilities) | Engineering degree that is licensed and in good standing with the California Department of Consumer Affairs, Board for Professional Engineers, Land Surveyors and Geologists for the discipline to be reviewed |
| Lead Building (Life/Safety) Plan Reviewer | Certified commercial building plan reviewer with verifiable knowledge and experience reviewing plans for life/safety compliance on complex industrial\* facilities (preferably with high-voltage power facilities) in California. Experience should include but not be limited to reviewing: Occupancy classification; type of construction; allowable square footage; fire separations; elevators; ADA; building egress; and Green Building, including planning and design, energy efficiency, water efficiency, resource efficiency and environmental quality | Minimum: 2 years Reviewing Life/Safety Plans for Complex industrial\* facilities (preferably high voltage power generating facilities) | Certification from a recognized state, national or international organization as a commercial plan reviewer |
| Mechanical Plan Review Engineer | Mechanical engineer with verifiable experience and knowledge, that with supervision from the lead mechanical plan review engineer, is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities (preferably with high-voltage power generating facilities) mechanical systems that include but are not limited to; chemical conveying systems; potable water; fire protection; pressure vessels; steam piping; high pressure non-condensable gas lines; and high pressure geothermal brine lines | 1 Year Reviewing Plans for complex industrial\* facilities (preferably high voltage power generating facilities) | Engineering Degree |
| Electrical Plan Review Engineer | Electrical engineer with verifiable experience and knowledge, that with supervision from the lead electrical engineer is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities and power generating facilities electrical systems that include low, medium and high voltages | 1 Year Reviewing Plans for complex industrial\* facilities (preferably high voltage power generating facilities) | Engineering Degree |
| Structural Plan Review Engineer | Structural engineer or civil engineer with verifiable experience and knowledge, that with supervision from the lead structural plan review engineer is fully competent and proficient in reviewing construction documents (plans, calculations and specifications) of complex industrial\* facilities and power generating facilities, structures and equipment supports in California | 1 Year Reviewing Plans for complex industrial\* facilities (preferably high voltage power generating facilities) | Engineering Degree |
| Lead Onsite Inspector | Certification from a recognized state, national or international organization as a combination building inspector with verifiable experience as a lead inspector on high voltage power generating and complex industrial\* facilities in California | Minimum 2 years as a lead inspector on high-voltage power generating facilities in California | Certification from a recognized state, national or international organization as a building (life/safety), electrical, mechanical and plumbing inspector |
| Onsite Inspector | Certification from a recognized state, national or international organization as a combination building inspector with verifiable knowledge and experience as an inspector on complex industrial\* facilities (preferably high voltage power generating facilities) in California | 1 year as an inspector on complex industrial\* (preferably high voltage power generating) facilities in California | Certification from a recognized state, national or international organization as a building (life/safety), electrical, mechanical and plumbing inspector |
| Worker Safety Monitor | Verifiable experience as a safety representative on complex industrial\* (preferably high voltage power generating) facilities | 2 years as a safety professional on complex industrial\* (preferably high voltage power generating) facilities | Certification from a recognized state, national or international organization as a safety professional |
| DocumentControl | Verifiable experience to include but not be limited to: collecting, maintaining and distribution of all documents necessary for successful project delivery; management, tracking and distribution of engineering documents; tracking of review deadlines; distribution of tasks including inspection requests, engineering document review requests and other miscellaneous project requirement due dates; compilation of project documents; and review and editing of inspection reports, engineering letters, etc. | Minimum 1 year |  |
| ProjectAssistant | Verifiable experience to include but not be limited to: assisting field and office staff with the creation of project deliverables; coordinate office and field supply requirements for specific assignments; perform clerical duties to generate and revise documents as necessary; performing technical writing duties as assigned; and website maintenance (upload/download documentation) as necessary. Should be proficient in the following: Microsoft Word, Excel, PowerPoint; presentation development; technical writing; editing; process implementation; and must have excellent communication skills with attention to detail | Minimum 1 year |  |

\*Complex industrial experience is defined as having systems similar to a high-voltage power generating facility that include but are not limited to: high pressure gas system; high pressure steam, chemical carrying pipeline systems, etc.

1. **Project Team Management and Quality Control Experience**
* Describe how the Firm would initiate, schedule, and manage the project team for a complex construction project, including a narrative of the team’s communication protocol among the Firm’s team members (including subcontractors), the project owner’s team members, and the CAM.
* Describe the Firm’s approach to the contract management and administration of this agreement. Identify the contract management team members.
* Describe the Firm’s code interpretation and conflict resolution processes with contractors, local jurisdictions, and the public.
* Describe the Firm’s approach to provide quality assurance for each team member’s performance, and to identify and resolve performance problems effectively.
* Describe the Firm’s approach to minimize turnover and provide a stable professional team for the duration of the agreement, including the ability to effectively and efficiently add and train new team members as needed.
1. **Project Team Organizational Structure & Cost Minimization**
* Describe the composition and organizational structure of the Firm, including providing an organizational chart of the entire team. In addition, provide the following:
	+ Identify all responsible engineering team members and supervisorial/senior monitoring team members, with photo identification (See Task 1);
	+ Identify senior team members familiar with the facility types specific to the CEC’s jurisdiction; and
	+ Provide the number of employees in the Firm and the number of years the Firm has been in business.
* Describe the composition and organizational structure of each subcontractor, including providing an organizational chart for each subcontractor. In addition, provide the following:
	+ The number of employees;
	+ The number of years in business; and
	+ Key team members.
* Identify the primary contact person for the Firm and each subcontractor. The primary contact person for the Firm must attend the discussion session described in Section IV. Additionally, at least one individual representing the team’s expertise in each of the technical areas of your SOQ is encouraged to attend the discussion session.
* Identify the locations of the Firm’s and each subcontractor’s headquarters and/or satellite office(s).
* Provide a short description of each subcontractor and key members of the team. Describe the relationship between the Firm and the subcontractors on your team. Indicate any history of a working relationship between the team members noting any significant success stories.
* Describe the Firm’s ability to pay subcontractors on a timely basis.
1. **Project Team Relevant Experience and Qualifications**
* Identify and list all of the Firm’s staff and subcontractors (all team members) who will be committed to the tasks. Describe their roles and familiarity with the technical areas pertinent to the tasks identified in the Scope of Work. Include job classifications, relevant experience, education level, and academic degrees (as applicable).
* Identify which, if any, of the Firm’s project team is a subcontractor and what their tasks will be.
* Provide a brief description of the Firm’s familiarity with the CEC’s AFC/PTA processes and COCs, in conjunction with the scope of the DCBO’s duties and responsibilities.
* Identify the percentage of time each team member will be available throughout the contract term.
* Highlight any awards, specialized facility compliance experience, or current certifications of the project team that are applicable to the tasks in the Scope of Work.
* Provide a description of the project team’s experience evaluating code compliance for projects with a significantly large and varied array of conditions for approval.
* Provide a description of the project team’s experience on past power plant projects under the CEC’s jurisdiction.
* Identify the project team’s qualified experts in plan review and in construction inspection and monitoring.
* Include a current set of qualifications for all project team members expected to conduct plan review services.
* Provide a current resume for all team members which lists:
	+ Include relevant documentation, qualifications, and technical certifications.
	+ Include all third-party plan review service providers, and the relevant documentation, qualifications, and technical certifications for the subcontractors.
	+ Provide a list of projects completed in the last five years by the project team that demonstrate familiarity with these elements of energy facility compliance plans.
	+ CEC projects that contain conditions of certification (including facility design, hazardous materials, worker safety, fire protection, soil and water, and transmission safety engineering).
	+ Construction and operational safety and health programs;
	+ Injury and illness prevention programs; and
	+ Emergency action and fire prevention plans.
* Provide a list of projects completed by the project team in the last five years that demonstrate engineering plan-review experience with the following:
	+ Facility design review (i.e., civil and structural, electrical, and mechanical engineering).
	+ Pipeline safety.
	+ Storm water management.
	+ Transmission system engineering.
	+ Geology and seismic safety experience; and
	+ Geothermal or solar technology experience (as applicable).
* Identify any work done in the last five years with any thermal power plant developer or owners that have projects in California.
	+ Include relevant documentation, qualifications, and technical certifications; and
	+ Include all third-party plan review service providers, and the relevant documentation, qualifications, and technical certifications for the subcontractors.
1. **Approach to Tasks in Scope of Work**

Describe the Firm’s general and specific proposed approaches to providing the following services listed in the Scope of Work, highlighting outstanding features, qualifications, and experience of each team member.

* Task 1 – Project Management (DCBO Infrastructure)
* Task 2 – Project Coordination and Communication Protocols
* Task 3 – Project Specific DCBO Pre-Construction Compliance Assistance
* Task 4 – Project Specific DCBO Construction Plan Review
* Task 5 – DCBO Construction Compliance and Field Inspections
* Task 6 – Non-compliance and Incident Reporting and Resolution
* Task 7 – “As-Built” Document Package and Archiving
1. **Analytical Tools**
* Describe any technical capabilities that would facilitate communication with the CEC. Please note the team members must provide their own computers and software and these costs are not reimbursable under the Agreement.
* Describe what types of computers and/or analytical tools will be used to accomplish the tasks listed in the Scope of Work.
* List the names and editions of all software to be used in accomplishing the tasks listed in the Scope of Work.
1. **Client References**

The Firm and each Subcontractor shall complete a Client Reference Form. Three client references are required for the Firm and three Client references are required for each Subcontractor.

1. **Example of Prior Work**

The Firm and each Subcontractor shall provide one example of each type of a work product listed below that is representative of the services it will provide under the Agreement.

If more than one Subcontractor will be providing technical support in a technical expertise area, each Subcontractor shall submit one example product that demonstrates experience in potential work assignments described in this RFQ for the technical expertise area.

# IV. Evaluation PROCESS and Criteria

## Selection Process Steps

The Energy Commission will organize a committee whose members have expertise in evaluation of architectural and engineering services. The Evaluation Committee will evaluate the SOQs as follows:

### Administrative and Completeness Screening Criteria (Mandatory)

Each SOQ will be screened for compliance with the Administrative Screening Criteria below. The Energy Commission will evaluate each SOQ to determine its responsiveness to these requirements. SOQs that fail or do not fully comply with any of the Administrative and Completeness Screening Criteria shall be disqualified and eliminated from further evaluation [~~(see Note about Signatures, Section I)~~].

* SOQ must be received by the exact time and date set for receipt of SOQs.
* SOQ must be responsive to the California Disabled Veteran Business Enterprise (DVBE) participation requirements.
* Firm cannot be currently suspended for violating DVBE law. SOQ cannot include a subcontractor currently suspended for violating DVBE law. Military & Veterans Code Section 999.9(g)
* SOQ must include a properly executed Contractor Certification Clauses.
* SOQ must include a properly executed Darfur Contracting Act Form.
* [~~SOQ must include a properly executed Iran Contracting Act Form.~~]
* [~~SOQ must include a properly executed Civil Rights Laws Certification Form.~~]
* SOQ must include a properly executed GenAI Disclosure & Factsheet Form
* SOQ must not contain false or intentionally misleading statements or references that do not support an attribute or condition contended by the Firm.
* SOQ must not be intended to erroneously and fallaciously mislead the State in its evaluation of the SOQ and the attribute, condition, or capability is a requirement of this RFQ.
* SOQ must not have a conflict of interest as stated in this RFQ.
* SOQ must not contain confidential information or contain any portion marked confidential.
* Firm must agree to the terms and conditions as attached to the solicitation. Firm must sign the Contractor Status Form indicating acceptance with the terms and conditions. Firm must not state anywhere in the SOQ that acceptance is based on modifications to those terms and conditions or separate terms and conditions.

### Grounds to Reject an SOQ

In addition to the Administrative Screening Criteria identified above, the Energy Commission reserves the right to reject an SOQ if:

* The SOQ is unsigned [~~(see Note about Signatures, Section I).~~]
* The SOQ is not prepared in the format described.
* The Firm has submitted multiple SOQs.
* The SOQ does not literally comply or contains caveats that conflict with the RFQ and the variation or deviation is not material, or it is otherwise non-responsive.
* The Firm has previously completed a PIER agreement, received the PIER Royalty Review letter, which the Energy Commission annually sends out to remind past recipients of their obligations to pay royalties, and has not responded to the letter or is otherwise not in compliance with repaying royalties.
* The SOQ proposal includes use of Generative Artificial Intelligence that presents an unacceptable level of risk to the State, as determined by the Energy Commission.

Minimum Qualifications

**The Evaluation Committee will determine if the Firm meets the minimum qualifications. If not, the Firm shall be eliminated and the SOQ will not be evaluated and scored.**

### Evaluation of Qualifications

The Evaluation Committee will review and score all remaining SOQs based on the Evaluation Criteria in this RFQ. The preliminary technical score for each SOQ will be the average of the combined scores of all Evaluation Committee members.

Ranking an SOQ

After each SOQ is scored, it will be placed on a list, in rank order, with the highest scoring SOQ placed first and the remainder in descending order based on score.

### Notice of Firms Selected for Discussions

### Approximately five business days before the time scheduled for discussions, the CEC will notify Firms if they will be invited to participate in the discussions.

### Discussions

The Evaluation Committee shall conduct discussions during the Evaluation Process with no less than three (3) Firms, unless fewer than three (3) Firms apply, regarding qualifications and methods for furnishing the required services. Firms invited to participate in the Discussion will be scored by the Evaluation Committee on their response. The Evaluation Committee may use patterned questions and/or questions specific to an SOQ to conduct these discussions. The Evaluation Committee may provide the Firms with a copy of the questions and/or issues to be addressed and a format for structured discussions.

Firms should anticipate discussions to occur through virtual meetings via MS Teams. The project lead must participate and at least one (1) person from each technical area is encouraged participate in the discussion.

Upon completion of the discussions, the Evaluation Committee may adjust the preliminary scores and re-rank the Firms. From the Firms with which discussions are held, the Evaluation Committee shall select no less than three (3), unless fewer than three (3) Firms apply, in order of preference, based upon the established criteria, who are deemed to be the most highly qualified to provide the required services.

## Notice of Selection

Subsequent to the SOQ evaluations and the discussions with Firms, the Energy Commission will post a “Notice of Selection” of the top-scoring Firm on the Energy Commission’s website at [CEC Website](http://www.energy.ca.gov/).

## Negotiations

Pursuant to Title 20, California Code of Regulations (CCR), section 2565 and Public Contract Code (PCC) 6106, within 14 days after posting the Notice of Selection, the Energy Commission will begin negotiations with the top ranked Firm for an acceptable fee (hourly rates and markup on direct costs, if any).

The top ranked Firm will be required to submit:

1) Proposed percentage that the Firm will markup on any direct costs incurred, if any. Direct cost items, such as equipment purchase or rental, copying, etc. must be charged to the Energy Commission at the same actual cost that the Firm is charged by outside vendors or subcontractors, or the same cost the Firm charges other customers. The Energy Commission will negotiate with the Firm on any markup that the Firm proposes to charge, if any, on top of the actual cost of the item.

2) A list of rates for people listed in the SOQ, after written notification of selection. The Energy Commission may consider negotiating rates for a person that the Firm did not include in the SOQ. However, because the additional person might affect the Firm’s score or take additional time that the Energy Commission does not have or does not want to spend, the Energy Commission reserves the right to do any of the following, along with any other existing rights:

* Assess how the new person might affect the Firm’s score, including possibly rescoring its SOQ
* Refuse to add the new person
* Add the new person.

If the Energy Commission determines that it will not accept a new person or hourly rate that the Firm proposes for a particular person, the Energy Commission will stop rate negotiations for that person, and proceed with negotiations for the remainder of the people. Firms are cautioned that they should include all team members in their SOQ.  The Energy Commission does not want to be in the position of assessing additional persons during rate negotiations.

If negotiations with the top ranked Firm fail, the Energy Commission will enter into negotiations with the next highest scoring Firm, and so on.

## Notice of Proposed Award

Subsequent to the negotiations, the CEC will post a “Notice of Proposed Award” on the [CEC website](https://www.energy.ca.gov/funding-opportunities/solicitations) at https://www.energy.ca.gov/funding-opportunities/solicitations.

California Energy Commission

Contracts, Grants, and Loans Office, MS-18

715 P Street

Sacramento, CA 95814

The Evaluation Committee may reject Firms and SOQs if they are not considered to be in the best interest of the CEC.

## Scoring Scale

Using this Scoring Scale, the Evaluation Committee will give a score for each criterion described in the Evaluation Criteria Worksheet.

|  |  |  |
| --- | --- | --- |
| ***% of Possible Points*** | ***Interpretation*** | ***Explanation for Percentage Points***  |
| 0% | Not Responsive | Response does not include or fails to address the requirements being scored. The omission(s), flaw(s), or defect(s) are significant and unacceptable. |
| 10-30% | Minimally Responsive | Response minimally addresses the requirements being scored. The omission(s), flaw(s), or defect(s) are significant and unacceptable. |
| 40-60% | Inadequate | Response addresses the requirements being scored, but there are one or more omissions, flaws, or defects or the requirements are addressed in such a limited way that it results in a low degree of confidence in the proposed solution. |
| 70% | Adequate | Response adequately addresses the requirements being scored. Any omission(s), flaw(s), or defect(s) are inconsequential and acceptable. |
| 80% | Good | Response fully addresses the requirements being scored with a good degree of confidence in the Firm’s response or proposed solution. No identified omission(s), flaw(s), or defect(s). Any identified weaknesses are minimal, inconsequential, and acceptable. |
| 90% | Excellent | Response fully addresses the requirements being scored with a high degree of confidence in the Firm’s response or proposed solution. Firm offers one or more enhancing features, methods or approaches exceeding basic expectations. |
| 100% | Exceptional | All requirements are addressed with the highest degree of confidence in the Firm’s response or proposed solution. The response exceeds the requirements in providing multiple enhancing features, a creative approach, or an exceptional solution. |

## Evaluation of Statement of Qualifications – Criteria

|  |  |
| --- | --- |
| Evaluation of Statement of Qualifications - Criteria  | Points Possible |
| WRITTEN EVALUATION CRITERIA |   |
| 1. Project Team Management and Quality Control Experience
 |   |
| 1. Ability of the Firm to initiate, schedule, and manage the project team for a complex construction project, and effectiveness of communication protocol among the Firm’s team members (including subcontractors), the Project Owner’s team members, and the CAM.
 | 75 |
| 1. Ability of the Firm to perform its prime contract management and administration duties.
 | 20 |
| 1. Effectiveness of the Firm’s code interpretation and conflict resolution processes.
 | 60 |
| 1. Ability of the Firm to provide quality assurance for each team member’s performance, and to identify and resolve performance problems effectively.
 | 80 |
| 1. Ability of the Firm to minimize turnover and effectively and efficiently recruit and train new team members as needed.
 | 20 |
| 1. Project Team Organizational Structure
 |   |
| 1. Effectiveness of project team organization.
 | 25 |
| 1. Depth of knowledge of senior team members with the facility types specific to CEC jurisdiction.
 | 80 |
| * 1. Ability of the Firm to create and maintain a positive working relationship with subcontractors.
 | 20 |
| * 1. Ability of the Firm to pay subcontractors on a timely basis.
 | 20 |
| 1. Project Team Relevant Experience and Qualifications
 |   |
| 1. Depth of experience of team members, including awards, specialized experience, current certifications, and overall team qualifications.
 | 50 |
| 1. Team members’ familiarity with CEC’s AFC/PTA processes and COCs.
 | 20 |
| 1. Depth of team members’ code compliance experience for projects with a significantly large and a varied array of conditions for approval.
2. Expertise in plan review and construction inspection and monitoring.
3. Experience on past power plant projects under the CEC’s jurisdiction.
 | 100 |
| 1. Knowledge of the following elements of energy facility compliance plans:
2. CEC COCs (including Facility Design, Hazardous Materials, Worker Safety, Fire Protection, Soil and Water, and Transmission Safety Engineering);
3. Construction and operational safety and health programs;
4. Injury and illness prevention programs; and
5. Emergency action and fire prevention plans.
 | 30 |
| 1. Demonstrates engineering plan-review experience with the following:
2. Facility design review (i.e., civil and structural, electrical, and mechanical engineering);
3. Pipeline safety;
4. Storm water management;
5. Transmission system engineering;
6. Geology and seismic safety experience; and
7. Geothermal or solar technology experience (as applicable).
 | 100 |
| 1. Approach to Tasks in Scope of Work

Describes the Firm’s general and specific proposed approaches to providing the services listed in the Scope of Work, highlighting outstanding features, qualifications, and experience of the team. |   |
| 1. Task 1 – Project Management (DCBO Infrastructure)
 | 25 |
| 1. Task 2 – Project Coordination and Communication Protocols
 | 25 |
| 1. Task 3 – Pre-Construction Compliance Assistance
 | 20 |
| 1. Task 4 – Construction Plan Review
 | 25 |
| 1. Task 5 –Construction Compliance and Field Inspections
 | 25 |
| 1. Task 6 – Non-Compliance and Incident Reporting and Resolution
 | 25 |
| 1. Task 7 – “As Built” Document Package and Archiving
 | 25 |
| V) Analytical Tools |   |
| 1. Ability of the Firm to use computers and/or analytical tools to accomplish the tasks listed in the Scope of Work and what types of computers and/or analytical tools will be used.
2. Technical capabilities of Firm that would facilitate communication with the CEC.
 | 20 |
| VI) Client References |   |
| 1. Quality of the Client References for the Firm and each sub-contractor.
 | 10 |
| **Written Evaluation Maximum Points Possible** | **900** |
| *Discussion Evaluation Criteria* | *Points Possible* |
| Discussion |   |
| 1. Quality of presentation.
 | 25 |
| 1. Clean and concise responses to questions.
 | 25 |
| 1. Demonstrated knowledge of the subject/issues.
 | 25 |
| 1. Demonstrated ability to anticipate and resolve problems.
 | 25 |
| Discussion Evaluation Maximum Points Possible | 100 |
| **Maximum Points (Written SOQ and Discussion)** | **1000** |
| *Written SOQ Evaluation Minimum Passing Score (75%)* | *750* |

# V. Business Participation Programs (Preferences/Incentives)

## About This Section

A Firm may qualify for preferences/incentives as described below. Each Firm passing Stage One screening will receive the applicable preference/incentive.

This section describes the following business participation programs:

* Disabled Veteran Business Enterprise Participation Compliance Requirements
* Disabled Veteran Business Enterprise Incentive

## Disabled Veteran Business Enterprise (DVBE) Participation Compliance Requirements

***DVBE Participation Required***

This RFQ is subject to a mandatory certified DVBE participation of at least three percent (3%).

***Firm or Subcontractor Suspension***

The Energy Commission shall reject an SOQ and shall not enter into a Contract if a Firm or Subcontractor used by Firm is currently suspended for violating DVBE law.

***Two Methods to Meet DVBE Participation Requirement***

1. If Firm is a DVBE, then the Firm has satisfied the participation requirements if it commits to performing at least 3% of the contract with the Firm, or in combination with other DVBE(s).
2. If Firm is not a DVBE, the Firm can satisfy the requirement by committing to use certified DVBE subcontractors for at least 3% of the contract. The DVBE percentage is determined by percentage of work that the Firm anticipates will be assigned to the DVBE subcontractor during the course of the contract.

***Required Forms***

**Firm must complete Attachments 1, 3 and 4 to document DVBE participation. If the Firm does not include these forms, the SOQ is considered non-responsive and shall be rejected.**

* Contractor Status Form (Attachment 1).

Under the paragraph entitled: “Disabled Veteran Business Enterprise Participation Acknowledgement”, make sure to check the “yes” “DVBE Participation” box.

* DVBE Declarations Std. Form 843 (Attachment 3)
* Bidder Declaration Form GSPD-05-105 (Attachment 4)

The “Corresponding % of bid price” column under Section 2 of the Bidder Declaration Form (Attachment 4) will be used to determine DVBE percentage. The percentages listed here must reflect the percentage of work that the Firm anticipates each Subcontractor will complete. If the Firm lists a DVBE sub on Attachment 4, and fails to list a percentage or indicates a percentage less than the 3% requirement in the “Corresponding % of bid price” column, the SOQ will be rejected as non-responsive to DVBE compliance requirements.

***DVBE Definition***

For DVBE certification purposes, per Military & Veterans Code section 999(b)(6), a "disabled veteran" is:

* A veteran of the U.S. military, naval, or air service of the United States, including but not limited to, the Philippine Commonwealth Army, the Regular Scouts (“Old Scouts”), and the Special Philippine Scouts (“New Scouts”);
* The veteran must have a service-connected disability of at least 10% or more; and
* The veteran must be domiciled in California.

***DVBE Certification and Eligibility***

* To be certified as a DVBE, your firm must meet the following requirements in Military & Veterans Code section 999(b)(7):

(i) It is a sole proprietorship at least 51 percent owned by one or more disabled veterans or, in the case of a publicly owned business, at least 51 percent of its stock is unconditionally owned by one or more disabled veterans; a subsidiary that is wholly owned by a parent corporation, but only if at least 51 percent of the voting stock of the parent corporation is unconditionally owned by one or more disabled veterans; or a joint venture in which at least 51 percent of the joint venture’s management, control, and earnings are held by one or more disabled veterans.

(ii) The management and control of the daily business operations are by one or more disabled veterans. The disabled veterans who exercise management and control are not required to be the same disabled veterans as the owners of the business.

(iii) It is a sole proprietorship, corporation, or partnership with its home office located in the United States, which is not a branch or subsidiary of a foreign corporation, foreign firm, or other foreign-based business.

* DVBE limited liability companies must be wholly owned by one or more disabled veterans. Public Contract Code section 10115.9.
* Each DVBE firm listed on the DVBE Declarations Std. form 843 (Attachment 3) and on the Bidder Declaration form GSPD-05-105 (Attachment 4) must be formally certified as a DVBE by the Office of Small Business and DVBE Services (OSDS). The DVBE program is not a self-certification program. Firm must have submitted application to OSDS for DVBE certification by the SOQ due date to be counted in meeting participation requirements.

***Printing / Copying Services Not Eligible***

DVBE subcontractors cannot provide printing/copying services.  For more information, see section VI Administration, which states that printing services are not allowed.

***To Find Certified DVBEs***

Access the list of all certified DVBEs by using the Department of General Services, Procurement Division (DGS-PD), online certified firm database at [The State of California Certifications Webpage](https://www.caleprocure.ca.gov/pages/PublicSearch/supplier-search.aspx). Search by “Keywords” or “United Nations Standard Products and Services Codes” (UNSPSC) that apply to the elements of work you want to subcontract to a DVBE. Check for subcontractor ads that may be placed on the California State Contracts Register (CSCR) for this solicitation prior to the closing date. You may access the CSCR at [California State Contracts Register Webpage](https://www.caleprocure.ca.gov/pages/Events-BS3/event-search.aspx). For questions regarding the online certified firm database and the CSCR, please call the OSDS at (916) 375-4940 or send an email to: OSDCHelp@dgs.ca.gov.

***Commercially Useful Function***

DVBEs must perform a commercially useful function relevant to this solicitation, in order to satisfy the DVBE program requirements. California Code of Regulations, Title 2, Section 1896.71 provides:

“(a) A DVBE contractor, subcontractor or supplier of goods and/or services that contributes to the fulfillment of the contract requirements, shall perform a Commercially Useful Function (CUF) for each contract.

(b) A DVBE contractor, subcontractor, or a supplier of goods and/or of services is deemed to perform a CUF if the business does all of the following:

(1) Is responsible for the execution of a distinct element of work of the contract (including the supplying of services and goods);

(2) Carries out its obligation by actually performing, managing, or supervising the work involved;

(3) Performs work that is normal for its business services and functions;

(4) Is responsible, with respect to products, inventories, materials, and supplies required for the contract, for negotiating price, determining quality and quantity, ordering, installing, if applicable, and making payment;

(5) Is not further subcontracting a portion of the work that is greater than that expected to be subcontracted by normal industry practices.

(c) A contractor, subcontractor or supplier will not be considered to perform a commercially useful function if its role is limited to that of an extra participant in the transaction, contract or project through which funds are passed in order to obtain the appearance of DVBE participation.

(d) Contracting/procurement officials of the awarding department must:

(1) Evaluate if a DVBE awarded a contract meets the CUF requirement as defined in subdivision (b), and

(2) During the duration of the contract, monitor for CUF compliance (See State Contracting Manual Volume 1 Chapter 8 and Volumes 2 and 3, Chapter 3).

(e) If a CUF evaluation identifies potential program violations, awarding departments shall investigate and report findings to OSDS, referring to §§ 1896.88, 1896.91 and the State Contracting Manual.”

***Compliance with Law; Information Verified***

Firm shall comply with all rules, regulations, ordinances, and statutes that apply to the DVBE program as defined in Military & Veterans Code sections 999 and 999.5(d). Information submitted by the Firm to comply with this solicitation’s DVBE requirements will be verified. If evidence of an alleged violation is found during the verification process, the State shall initiate an investigation, in accordance with the requirements of Public Contract Code Section 10115, et seq., and Military & Veterans Code Section 999 et seq., and follow the investigatory procedures required by California Code of Regulations Title 2, Section 1896.90 et. seq. Contractors found to be in violation of certain provisions may be subject to loss of certification, penalties, sanctions, civil actions and/or contract termination.

***DVBE Report***

Upon completion of the contract for which a commitment to achieve DVBE participation was made, the Contractor that entered into a subcontract with a DVBE must certify in a report to the Energy Commission: 1) the total amount the prime Contractor received under the contract; 2) the name and address of the DVBE(s) that participated in the performance of the contract and the contract number; 3) the amount and percentage of work the Contractor committed to provide to one or more DVBEs under the requirements of the Contract and the amount each DVBE received from the Contractor.; 4) that all payments under the contract have been made to the DVBE(s) (Energy Commission may require proof that payment was made); and 5) the actual percentage of DVBE participation that was achieved. If the Energy Commission does not receive the report, the Commission shall provide notice to the Contractor and if still not received, shall withhold $10,000 (or full payment if less than $10,000) from Contractor’s final payment. (For more details about the $10,000 withholding, see specific Agreement language in the Sample Agreement Example, Exhibit D, paragraph 4.) A person or entity that knowingly provides false information shall be subject to a civil penalty for each violation. Military & Veterans Code Section 999.5(d).

***The Office of Small Business and DVBE Services (OSDS)***

OSDS offers program information and may be reached at:

Department of General Services

Office of Small Business and DVBE Services

707 3rd Street, 1st Floor, Room 400

West Sacramento, CA 95605

[DGS Website](https://www.dgs.ca.gov/PD/Resources/Page-Content/Procurement-Division-Resources-List-Folder/How-to-do-business-with-the-state-of-California)

Phone: (916) 375-4940

E-mail: OSDSHelp@dgs.ca.gov

***DVBE Law***

* Public Contract Code Section 10115 et seq.
* Military & Veterans Code Section 999 et. seq.
* California Code of Regulations Title 2, Section 1896.60 et. seq.

## DVBE Incentive

The information below explains how the incentive is applied and how much of an incentive will be given.

**How the Incentive is Applied:**

The DVBE incentive is applied during the evaluation process and only to responsive SOQs from responsible Firms. The incentive will vary in conjunction with the percentage of DVBE participation.

The Incentive is applied by adding the incentive to the SOQ for Firms that include more than the minimum required 3.00% DVBE participation. In other words, if a Firm includes 3.01% DVBE participation or greater, it will receive the DVBE incentive. If you include 3% DVBE participation, you will not receive the incentive. You will only receive the incentive, if you include 3.01% or greater DVBE participation.

**How Incentive Amount is Calculated:**

Solicitations based on **High Point** will calculate the incentive as described below: Incentive points are included in the sum of non-cost points. The percentage is based on the total possible available points. Incentive points cannot be used to achieve any applicable minimum point requirements.

|  |  |
| --- | --- |
| DVBEParticipation Level | DVBE IncentivePoints |
| 3.01% - 3.99% | 1 |
| 4.00% - 4.99% | 2 |
| 5.00% - 5.99% | 3 |
| 6.00% - 6.99% | 4 |
| 7.00% or over | 5 |

***Required Forms***:

* Contractor Status Form (Attachment 1).

Under the paragraph entitled: “Disabled Veteran Business Enterprise Participation Acknowledgement”, make sure to check the “yes” “DVBE Incentive Participation” box.

* DVBE Declarations Std. Form 843 (Attachment 3)
* Bidder Declaration Form GSPD-05-105 (Attachment 4)

### DVBE Incentive Law

* Military & Veterans Code Section 999.5(a)
* California Code of Regulations Title 2, Section 1896.99.100 et.seq.

# VI. Administration

## RFQ Defined

The competitive method used for this procurement of services is an RFQ. An SOQ submitted in response will be scored and ranked based on the criteria in this RFQ. Every SOQ must establish in writing the Firm’s ability to perform the RFQ’s tasks. The Energy Commission shall conduct discussions and then select the most qualified Firm. The Energy Commission will negotiate an Agreement with the selected Firm for compensation that the Energy Commission determines to be fair and reasonable.

## Definition of Key Words

Important definitions for this RFQ are presented below:

**WORD/TERM DEFINITION**

State - State of California

DGS - Department of General Services

CEC - California Energy Commission

RFQ - Request for Qualifications, this entire document

SOQ - Statement of Qualifications, formal written response to this document from Firm

Firm - Respondent to this RFQ

CAM - Commission Agreement Manager

CAO - Commission Agreement Officer

DVBE - Disabled Veteran Business Enterprises

COC- Conditions of Certification

## Cost of Developing SOQ

The Firm is responsible for the cost of developing an SOQ and this cost cannot be charged to the State. The Firm is also responsible for any travel costs associated with participating in this RFQ.

## Software Application Development

If this scope of work includes any software application development, including but not limited to databases, websites, models, or modeling tools, the Firm shall utilize the following standard Application Architecture components in compatible versions:

* Microsoft ASP.NET framework version 4.6 or above
* Microsoft ASP.NET MVC 5.0 or above
* Microsoft ASP.Net Core 6.0 or above
* Microsoft Entity Framework 6.0 or above
* Microsoft Internet Information Services IIS 10.0 or above
* Microsoft SQL Server 2016 or above
* Microsoft SQL Reporting Services 2016 or above
* Visual Studio.NET 2019 or above
* Python, C# Programming Language with layered architectures (Presentation, Business logic, Data Access).
* MSSQL (Structured Query Language).
* Bootstrap 5.0 or above
* XML and JSON.
* Telerik, Redgate, and Postman
* AWS, Snowflake and Salesforce

Any exceptions to the Electronic File Format requirements above must be approved in writing by the Energy Commission Information Technology Services Branch.

## Printing Services

Per Management Memo 07-06, State Agencies must procure printing services through the Office of State Publishing (OSP). Firms shall not include printing services in their SOQs.

## Confidential Information

The Energy Commission will not accept or retain any SOQs that contain confidential information or have any portion marked confidential.

If CEC will allow confidential information as part of the bid, need to delete the “Confidential Information Paragraph” above.

## Darfur Contracting Act of 2008

Effective January 1, 2009, all solicitations must address the requirements of the Darfur Contracting Act of 2008 (Act). (Public Contract Code sections 10475, *et* *seq*.; Stats. 2008, Ch. 272). The Act was passed by the California Legislature and signed into law by the Governor to preclude State agencies generally from contracting with “scrutinized” companies that do business in the African nation of Sudan (of which the Darfur region is a part), for the reasons described in Public Contract Code section 10475.

A scrutinized company is a company doing business in Sudan as defined in Public Contract Code section 10476. Scrutinized companies are ineligible to, and cannot, bid on or submit an SOQ for a contract with a State agency for goods or services. (Public Contract Code section 10477(a)).

Therefore, Public Contract Code section 10478 (a) requires a company that currently has (or within the previous three years has had) business activities or other operations outside of the United States to certify that it is not a “scrutinized” company when it submits a bid or SOQ to a State agency. **(See # 1 on Attachment 2)**

A scrutinized company may still, however, submit a bid or SOQ for a contract with a State agency for goods or services if the company first obtains permission from the Department of General Services (DGS) according to the criteria set forth in Public Contract Code section 10477(b). **(See # 2 on Attachment 2)**

## Executive Order N-6-22 – Russia Sanctions

On March 4, 2022, Governor Gavin Newsom issued Executive Order N-6-22 (the EO) regarding Economic Sanctions against Russia and Russian entities and individuals. “Economic Sanctions” refers to sanctions imposed by the U.S. government in response to Russia’s actions in Ukraine, as well as any sanctions imposed under state law. By submitting a bid or proposal, Contractor represents that it is not a target of Economic Sanctions. Should the State determine Contractor is a target of Economic Sanctions or is conducting prohibited transactions with sanctioned individuals or entities, that shall be grounds for rejection of the Contractor’s bid/proposal any time prior to contract execution, or, if determined after contract execution, shall be grounds for termination by the State.

**Generative Artificial Intelligence**

The State of California seeks to realize the potential benefits of Generative Artificial Intelligence (GenAI), through the development and deployment of GenAI tools, while balancing the risks of these new technologies. **Bidders must notify the Energy Commission in writing if the services under the Agreement will include, or make available, any GenAI technology, including GenAI from third parties or subcontractors**.

Bidder shall complete Attachment 12, GenAI Disclosure & Factsheet Form.

* If you **will not** be using or offering GenAI technology, model or service in the work under the Agreement, then check the “No” box and sign the form.
* If you **will** be using or offering GenAI technology, model or service in the work under the Agreement, then check the “Yes” box, complete the remainder of the questions, and sign the form.

Failure to submit the GenAI Disclosure & Factsheet Form shall result in rejection of the Proposal.

Failure to disclose GenAI to the Energy Commission shall result in rejection of the Proposal.

The Energy Commission reserves the right to do all of the following:

* Reject Proposals that present an unacceptable level of risk to the State.
* Void any resulting Agreement that does not comply with these provisions.
* Seek any and all relief the Energy Commission may be entitled to as a result of such non-disclosure.
* Incorporate GenAI special provisions into the final Agreement.

For purposes of these requirements, GenAI is defined as: “The class of AI models that emulate the structure and characteristics of input data in order to generate derived synthetic content. This can include images, videos, audio, text, and other digital content.”

## RFQ Cancellation and Amendments

If it is in the State’s best interests, the Energy Commission reserves the right to do any of the following:

* Cancel this RFQ,
* Amend this RFQ as needed, or
* Reject any or all SOQs received in response to this RFQ

If the RFQ is amended, the Energy Commission will send an addendum to all parties who requested the RFQ and will also post it on the Energy Commission’s website ([CEC Website](http://www.energy.ca.gov/)) and Department of General Services’ website ([DGS Website](https://www.caleprocure.ca.gov/pages/index.aspx)).

## Errors

If a Firm discovers any ambiguity, conflict, discrepancy, omission, or other error in the RFQ, the Firm shall immediately notify the Energy Commission of such error in writing and request modification or clarification of the document. Modifications or clarifications resulting from this notice will be posted on the Energy Commission’s website without divulging the source of the request for clarification. The Energy Commission shall not be responsible for failure to correct errors.

## Modifying or Withdrawal of SOQ

A Firm may, by letter to the Contact Person at the Energy Commission, withdraw or modify a submitted SOQ before the deadline to submit an SOQ. An SOQ cannot be modified after that date and time, but an SOQ may still be withdrawn. An SOQ cannot be “timed” to expire on a specific date. For example, a statement such as the following is non-responsive to the RFQ: “This SOQ is valid for 60 days.”

## Immaterial Defect

The Energy Commission may waive any immaterial defect or deviation contained in a Firm’s SOQ. The Energy Commission’s waiver shall in no way modify the SOQ or excuse the successful Firm from full compliance.

## Disposition of Firm’s Documents

On the submission date, all SOQs and related material submitted in response to this RFQ become the property of the State. After the Notice of Proposed Award is posted, all SOQs and related materials become public records. In addition, all evaluation and scoring sheets become public records after the Notice of Proposed Award is posted.

## Firms’ Admonishment

This RFQ contains the instructions governing the requirements for an SOQ to be submitted by interested Firms, the format in which the information is to be submitted, the material to be included, the requirements that must be met to be eligible for consideration, and Firm responsibilities. Firms must take the responsibility to carefully read the entire RFQ, ask appropriate questions in a timely manner, submit all required responses in a complete manner by the required date and time, make sure that all procedures and requirements of the RFQ are followed and appropriately addressed, and carefully reread the entire RFQ before submitting an SOQ.

## Agreement Requirements

The content of this RFQ shall be incorporated by reference into the final contract. See the Agreement terms and conditions included in this RFQ.

## No Contract Until Signed & Approved

No agreement between the Energy Commission and the successful Firm is in effect until the contract is signed by the Contractor, approved at an Energy Commission Business Meeting, and signed by the Energy Commission Contracts Office Manager.

### Contract Amendment

The contract executed as a result of this RFQ will be able to be amended by mutual consent of the Energy Commission and the Contractor. The contract may require amendment as a result of project review, changes and additions, changes in project scope, or availability of funding.

## Conflict of Interest

Any Energy Commission employee who participates in the selection process and any Firm seeking a contract under this RFQ are prohibited from offering, soliciting, or accepting gifts, services, goods, loans, rebates or payments of any kind (such as kickbacks) to or from one another. Except as provided by the terms of the contract, this prohibition extends both to any Energy Commission employee who manages a contract awarded under this RFQ or reviews or approves contractor work products under the contract, and to the Contractor.

1. Cal. Code Regs. tit. 20, §1201(q) [↑](#footnote-ref-2)