## VCHP Certification List
Ducted Variable Capacity Heat Pump System Certification List
The following Ducted Variable Capacity Heat Pump Systems have been certified to the Energy Commission and have demonstrated compliance with the eligibility requirements for a system outlined in Appendix B of the Variable Capacity Heat Pump Compliance Option Staff Report.
Outdoor Unit Manufacturer Name | Outdoor Unit Brand Name | Outdoor Unit Model Number | Indoor Unit Manufacturer Name | Indoor Unit Brand Name | Indoor Unit Model Number | Does Indoor Unit + Outdoor Unit Combination Operate the Fan Continuously by Default? (yes or no) | URL Link to Manufacturer's Published Technical Documentation for this Model
CARRIER | CARRIER | 38MAQB09R--3 | CARRIER | CARRIER | 40MBDQ09---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MAQB12R--3 | CARRIER | CARRIER | 40MBDQ12---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ18B--3 | CARRIER | CARRIER | 40MBDQ09---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ18B--3 | CARRIER | CARRIER | 40MBDQ12---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ24C--3 | CARRIER | CARRIER | 40MBDQ09---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ24C--3 | CARRIER | CARRIER | 40MBDQ12---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ30D--3 | CARRIER | CARRIER | 40MBDQ09---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ30D--3 | CARRIER | CARRIER | 40MBDQ12---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ36D--3 | CARRIER | CARRIER | 40MBDQ09---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ36D--3 | CARRIER | CARRIER | 40MBDQ12---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ48E--3 | CARRIER | CARRIER | 40MBDQ09---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
CARRIER | CARRIER | 38MGRQ48E--3 | CARRIER | CARRIER | 40MBDQ12---3 | No | https://www.shareddocs.com/hvac/docs/10 09/Public/0D/40MBDQ-04PD.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VML007---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VML009---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VML012---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VML015---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VML018---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VML024---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMM007A-- 3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/06/40VMM-3ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMM009A-- 3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/06/40VMM-3ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMR007---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMR009---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMR012---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMR015---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB036HD S3-1 | Carrier | Carrier | 40VMR018---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VML007---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VML009---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VML012---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VML015---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VML018---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VML024---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMM007A-- 3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/06/40VMM-3ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMM009A-- 3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/06/40VMM-3ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMR007---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMR009---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMR012---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMR015---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB048HD S3-1 | Carrier | Carrier | 40VMR018---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VML007---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VML009---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VML012---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VML015---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VML018---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VML024---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/0B/40VML-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMM007A-- 3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/06/40VMM-3ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMM009A-- 3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/06/40VMM-3ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMR007---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMR009---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMR012---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMR015---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Carrier | Carrier | 38VMB060HD S3-1 | Carrier | Carrier | 40VMR018---3 | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/05/40VMR-2ED.pdf
Daikin | Daikin | RXS09LVJU | Daikin | Daikin | FDXS09LVJU | Yes | EM-FD(T)XS_LVJU RXS_LVJU.pdf (daikincity.com)
Daikin | Daikin | RXS12LVJU | Daikin | Daikin | FDXS12LVJU | Yes | EM-FD(T)XS_LVJU RXS_LVJU.pdf (daikincity.com)
Daikin | Daikin | 2MXL18QMVJU* | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 2MXL18QMVJU* | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 2MXL18QMVJU* | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 3MXL24RMVJU* | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 3MXL24RMVJU* | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 3MXL24RMVJU* | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 3MXL24RMVJU* | Daikin | Daikin | CDXS18LVJU | Yes | EDUS121720A (daikincity.com)
Daikin | Daikin | 4MXL36TVJU | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121819 (daikincity.com)
Daikin | Daikin | 4MXL36TVJU | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121819 (daikincity.com)
Daikin | Daikin | 4MXL36TVJU | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121819 (daikincity.com)
Daikin | Daikin | 4MXL36TVJU | Daikin | Daikin | CDXS18LVJU | Yes | EDUS121819 (daikincity.com)
Daikin | Daikin | 4MXL36TVJU | Daikin | Daikin | CDXS24LVJU | Yes | EDUS121819 (daikincity.com)
Daikin | Daikin | 2MXS18NMVJU* | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 2MXS18NMVJU* | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 2MXS18NMVJU* | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 3MXS24NMVJU* | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 3MXS24NMVJU* | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 3MXS24NMVJU* | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 3MXS24NMVJU* | Daikin | Daikin | CDXS18LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 4MXS36NMVJU* | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 4MXS36NMVJU* | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 4MXS36NMVJU* | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 4MXS36NMVJU* | Daikin | Daikin | CDXS18LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 4MXS36NMVJU* | Daikin | Daikin | CDXS24LVJU | Yes | EDUS121719A (daikincity.com)
Daikin | Daikin | 5MXS48TVJU | Daikin | Daikin | FDXS09LVJU | Yes | EDUS121818 (daikincity.com)
Daikin | Daikin | 5MXS48TVJU | Daikin | Daikin | FDXS12LVJU | Yes | EDUS121818 (daikincity.com)
Daikin | Daikin | 5MXS48TVJU | Daikin | Daikin | CDXS15LVJU | Yes | EDUS121818 (daikincity.com)
Daikin | Daikin | 5MXS48TVJU | Daikin | Daikin | CDXS18LVJU | Yes | EDUS121818 (daikincity.com)
Daikin | Daikin | 5MXS48TVJU | Daikin | Daikin | CDXS24LVJU | Yes | EDUS121818 (daikincity.com)
LG | LG | LMU180HHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU180HHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU180HHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU18CHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU18CHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU18CHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU240HHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU240HHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU240HHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU24CHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU24CHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU24CHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU300HHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU300HHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU300HHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU30CHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU30CHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU30CHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU360HHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU360HHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU360HHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU36CHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU36CHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU36CHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU420HHV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU420HHV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU420HHV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU480HV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU480HV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU480HV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU540HV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU540HV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU540HV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU600HV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU600HV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LMU600HV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LUU097HV | LG | LG | LDN097HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LUU097HV | LG | LG | LDN127HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
LG | LG | LUU187HV | LG | LG | LDN187HV4 | No | https://files.lghvac.com/resources//EM_SZ_Ducted.pdf
Samsung | Samsung | AC018KXADCH | Samsung | Samsung | AC018KNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC_KNLDCH_Slim_Duct_CAC/Technical+Data+Book/[TDB]+SINGLE+Slim+Duct+for+USA+(INV,+R410A,+60Hz,+HP).Ver.1.6.pdf
Samsung | Samsung | AJ020TXJ2CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ020TXJ2CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ020TXS3CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ020TXS3CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ024TXJ3CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ024TXJ3CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ024TXS4CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ024TXS4CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ030TXS4CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ030TXS4CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ036TXJ4CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ036TXJ4CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ036TXS4CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ036TXS4CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ048TXJ5CH | Samsung | Samsung | AJ012TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AJ048TXJ5CH | Samsung | Samsung | AJ018TNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/FJM/Technical+Data+Book_FJM/[TDB]+Free+Joint+Multi+for+America_Ver1.1_04292020.pdf
Samsung | Samsung | AM036_X_DC_ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM036_X_DC_ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM036_X_DC_ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM036_X_DC_ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM036_X_DC_ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM038_X_DC_ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM038_X_DC_ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM038_X_DC_ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM038_X_DC_ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM038_X_DC_ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM048_X_DC_ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM048_X_DC_ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM048_X_DC_ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM048_X_DC_ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM048_X_DC_ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM053_X_DC_ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM053_X_DC_ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM053_X_DC_ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM053_X_DC_ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM053_X_DC_ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM055_X_DC_ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM055_X_DC_ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM055_X_DC_ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM055_X_DC_ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM055_X_DC_ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM060_X_DC_ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM060_X_DC_ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM060_X_DC_ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM060_X_DC_ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM060_X_DC_ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM072_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM072_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM072_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM072_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM072_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM096_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM096_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM096_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM096_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM096_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM120_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM120_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM120_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM120_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM120_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM144_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM144_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM144_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM144_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM144_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM168_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM168_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM168_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM168_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM168_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM192_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM192_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM192_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM192_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM192_X_ __ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM216_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM216_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM216_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM216_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM216_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM240_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM240_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM240_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM240_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM240_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM264_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM264_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM264_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM264_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM264_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM288_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM288_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM288_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM288_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM288_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM312_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM312_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM312_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM312_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM312_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM336_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM336_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM336_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM336_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM336_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM360_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM360_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM360_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM360_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM360_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM384_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM384_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM384_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM384_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM384_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM408_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM408_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM408_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM408_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM408_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM432_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM432_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM432_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM432_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM432_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM456_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM456_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM456_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM456_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM456_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM480_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM480_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM480_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM480_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM480_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM504_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM504_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM504_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM504_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM504_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM528_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM528_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM528_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM528_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM528_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM552_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM552_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM552_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM552_X_ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM552_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM576_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM576_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM576_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM576_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM576_X_ _ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM600_X_ _ _ | Samsung | Samsung | AM012FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM600_X_ _ _ | Samsung | Samsung | AM018FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM600_X_ _ _ | Samsung | Samsung | AM024FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM600_X_ _ _ | Samsung | Samsung | AM048FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AM600_X_ _ _ _ | Samsung | Samsung | AM036FNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/DVM/DVM+S/Technical+Data+Books/Indoor+Units/[TDB]+AM0+FNLDCHAA_Slim+Duct_V1.2_122019.pdf
Samsung | Samsung | AC009BXADCH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ020BXJ2CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ024BXJ3CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ036BXJ4CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ048BXJ5CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ020BXS3CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ024BXS4CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ030BXS4CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ036BXS4CH | Samsung | Samsung | AC009BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AC009BXADCH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ020BXJ2CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ024BXJ3CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ036BXJ4CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ048BXJ5CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ020BXS3CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ024BXS4CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ030BXS4CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ036BXS4CH | Samsung | Samsung | AC012BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AC009BXADCH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ020BXJ2CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ024BXJ3CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ036BXJ4CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ048BXJ5CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ020BXS3CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ024BXS4CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ030BXS4CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Samsung | Samsung | AJ036BXS4CH | Samsung | Samsung | AC018BNLDCH | Yes | https://s3.amazonaws.com/samsung-files/Tech_Files/CAC/AC0_BNLDCHAA_Slim+Duct/TDB/%5bTDB%5d+2021+CAC+Slim+Duct_AC0+BNLDCHAA_+ver.1.1.220107.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0367HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0074SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0367HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0094SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0367HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0124SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0367HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0154SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0367HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0184SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0487HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0074SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0487HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0094SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0487HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0124SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0487HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0154SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0487HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0184SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0607HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0074SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0607HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0094SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0607HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0124SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0607HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0154SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf
Toshiba Carrier | Toshiba Carrier | MCY- MAP0607HS- UL | Toshiba Carrier | Toshiba Carrier | MMD- AP0184SPH2UL | Yes | https://www.shareddocs.com/hvac/docs/1001/Public/04/E15-3I1.pdf