# Questions and Answers

GFO-24-610

Medium- and Heavy-Duty Zero-Emission Vehicle Port Infrastructure

December 26, 2025

This Questions and Answers document supersedes the version published on November 18, 2025. All information contained herein reflects the most current guidance and should be referenced in place of any prior versions.

This Q&A includes questions received after November 18, 2025. Relevant questions from the previous Questions and Answers (posted November 18, 2025) are included in this document. Questions that are no longer relevant have been removed to avoid confusion. Added language appears in bold underline, and deleted language appears in [strikethrough] and within square brackets.

The following answers are based on California Energy Commission (CEC) staff’s interpretation of the questions received. It is the Applicant’s responsibility to review the purpose of the solicitation and to determine whether or not their proposed project is eligible for funding by reviewing the Eligibility Requirements within the solicitation. The CEC cannot give advice as to whether or not a particular project is eligible for funding, because not all proposal details are here known.

Unless indicated otherwise, all section numbers identified are from the solicitation manual (for example, “Section II.B” refers to Section II.B of the solicitation manual) of Addendum 6.

Q1:	Considering that the application manual states, “multiple project locations are allowed within a single application; however, all locations must serve the same port” and at least 30 medium- and heavy-duty (MDHD) fuel cell electric vehicles (FCEVs) are required per every two hydrogen fueling positions, could the two hydrogen fueling positions be in two different locations with 15 MDHD FCEVs serving each position (splitting the 30 MDHD FCEVs into two different locations)?

A1:	Yes. At least 30 MDHD FCEVs are required per every two hydrogen fueling positions and may be split across multiple locations. Refer to Section II.B.3 Infrastructure Deployment Requirements.

Q2:	The application manual states that if an Applicant is proposing a Shared Access infrastructure project, the Applicant must demonstrate that at least two fleets are being supported by the project; does this mean the required number of MDHD FCEVs increases by double, at least 60 MDHD FCEVs per every two hydrogen fueling positions, OR would it be at least 2 fleets committed in the project with at least 30 MDHD FCEVs per every two hydrogen fueling positions?

A2:	For Shared Access projects, Section II.B.4., Vehicle Deployment Requirements, requires (1) that the application demonstrate at least two fleets are supported by the proposed infrastructure and (2) that the cumulative vehicles supported meet the minimum commitment numbers listed in the manual. For Shared Access hydrogen infrastructure projects, that minimum is at least 30 MDHD FCEVs for every two hydrogen fueling positions proposed for CEC funding. The requirement scales with the number of fueling positions, not with the number of fleets. In other words, having two fleets does not double the vehicle requirement; the two (or more) fleets together must meet the at least 30 MDHD FCEVs deployed per every two hydrogen fueling positions (and proportionally more MDHD FCEVs if additional fueling positions are proposed).

Q3:	For Public Access infrastructure projects, there is no requirement to meet for the vehicle deployment; however, the number we propose could determine the score on the degree. What is the ideal number that is considered a maximum vehicle deployment for a high score?

A3:	The solicitation does not set an “ideal” or maximum number of vehicles for Public Access projects. Public Access infrastructure projects proposed for CEC funding are not required to meet the vehicle deployment commitment outlined in the manual; however, proposals will be scored on the degree to which the proposed project maximizes zero-emission vehicle deployment and market growth. All applications, regardless of access-type, must demonstrate how the proposed project will maximize zero-emission vehicle deployment, including descriptions of fleet commitments and strategies the Applicant will take to maximize market growth. Refer to Section II.B.4., Vehicle Deployment Requirements. The CEC Evaluation Committee will assess this under the evaluation criteria, Section IV.E., Scoring Criteria, including the degree to which the infrastructure to be deployed is appropriate for the proposed project’s expected vehicle population and whether the overall proposed project plan supports successful deployment of zero-emission MDHD vehicles.

Q4:	How does this solicitation assess the charging port capacity? In the instance where a 360 kW Power Cabinet supports three charging ports, charging capacity varies based on how many port are active simultaneously, 360 kW if only one port is active, 180 kW two ports are simultaneously active and 90 kW when three ports are simultaneously active. Is the maximum, average, minimum, or other factor considered for the amount of eligible funding available?

A4. 	Please see Addendum 6, which no longer sets a maximum award amount per charging port. Projects will be evaluated on the degree to which the proposed infrastructure demonstrates a highly cost-effective use of CEC funds, with a low cost per charging port or refueling position relative to the power level or refueling capacity. Projects will be evaluated on both the dollar-per-port or refueling position and the dollar-per kW or kg.

Please see Section I.E. How Award is Determined and Section I.G. Minimum Infrastructure Requirements and Maximum Award Amounts.

Q5:	As written, this solicitation appears to encourage eliminating a charging port if the minimum simultaneous delivery is used as an applicant could receive $225,000 for a three port configuration ($75,000 * 3) and $500,000 ($250,000 * 2) for a two port configuration with the same power cabinet. Is the goal of the CEC to have higher power ratings for all applications as opposed to more charging ports? This seems like an odd incentive as it is cheaper to have a two port configuration than a three port configuration, but it is rewarded with more eligible dollars.

A5:	The CEC does not have a preference for higher power ratings over the number of charging ports. Applicants are encouraged to focus on the infrastructure needs for planned ZEVs and choose the infrastructure type(s) accordingly. Please see Addendum 6, which no longer sets a maximum award amount per charging port.

PRIOR Questions & Answers from Addendum 3

Q6:	We are considering applying to GFO-24-610 to support the installation of innovative electric, zero-emission mobile cargo handling equipment at a small California port located in an Assembly Bill (AB) 617 community. The equipment is a shiploader that would be used for moving cargo that is essential to clean energy and manufacturing supply chains. Would a project focused on zero-emission cargo handling equipment be considered an eligible project under this solicitation?

A6:	If the mobile shiploader supports port operations, the electric charging or hydrogen refueling infrastructure necessary to fuel the shiploader may be an eligible project if all GFO requirements are met, including but not limited to, the purchase, installation, and deployment of the required minimum number of charger ports or hydrogen fueling positions.

Q7:	Would the CEC consider projects that meet the intended utility capacity requirements of the minimum charger counts, but deploy fewer, higher-powered chargers? There is a concern that the minimum required charger counts will restrict site designs and preclude sites that can achieve the total throughput and site capacity of a 40x200 kW charger site (8MW) but may not have physical space for 40 individual chargers. This would also likely restrict applicants from developing MegaWatt Charging System (MCS)-capable charging infrastructure in or around Ports through this funding opportunity.

A7:	No, the minimum deployment requirement for charging ports or hydrogen fueling positions for the applicable Applicant Group must be met. Refer to Section I.G. and Section II.B. Chargers proposed to be installed at either a Small Port or a Large Port may be multi-port chargers.

Q8: 	Can you please confirm if Distributed Energy Resource (DER) technologies listed under Section E. Eligible Project Costs are only eligible to use as match share, or if they would be reimbursable by the CEC under this GFO?

A8:	Commercially available energy storage and renewable DERs, such as photovoltaic solar panels separately metered for electric charging, are eligible for CEC reimbursement. Eligible reimbursable costs for commercially available energy storage and renewable DERs may not exceed 50 percent of CEC grant funds per port/refueling position. For example, if proposing four 750 kW charging ports at $500,000 each, reimbursable costs for energy storage and renewable DERs may not exceed $1 million (50% of $500,000 times four). Refer to Section II.E. Eligible Project Costs.

Q9:	Would the CEC allow for an Applicant to use this funding to expand an existing site’s current EV charging infrastructure (if they met all other GFO requirements)?

A9:	Yes, funding can support the new installation of in-ground fueling infrastructure for battery electric or hydrogen fuel cell electric medium- and heavy-duty vehicles and/or port equipment and/or off-road equipment. All eligible expenditures must be expended within the approved term of the grant agreement. CEC reimbursable funding and match share funding cannot be used towards EV charging infrastructure purchased prior to an executed grant agreement.

Q10:	If a fleet is making a portion of its property available for public charging, can a certain number of hours per day, e.g., overnight hours, provide for limited access for the host fleet, while the remainder of the day is open to all fleet users? If so, is there a minimum number of  hours required for public access and certain hours of day that must be publicly accessible?

A10:	Yes, a fleet can designate limited public access hours. There is no minimum number of hours required for public access, unless the infrastructure project is supporting the fleets of California public entities such as cities, counties, and other local government entities. Applicants proposing infrastructure supporting these types of fleets must propose infrastructure with at least 25 percent of the charging ports/hydrogen fueling positions available as Public Access during normal operating hours. The remaining infrastructure may be Public, Shared, or Private Access. Refer to Section II.B.2 Eligible Project Accessibility Requirements.

Q11:	Can the grant's scope of work include electrified at-berth ships as zero-emission vehicles and ensure that cold-ironing counts as charging infrastructure?

For background, a battery railcar has been developed that has a 17.2 MWH capacity and can discharge AC or DC. When moved together in a unit train, it can deliver 1.72 GWH of stored energy to a specific Port.

A11:	Electrified at-berth ships may be eligible as a project as long as the proposed application is for new charging infrastructure and if the installation meets the minimum charging requirements in the GFO, along with all other requirements in the GFO. Refer to Section I.G. Maximum Award Amounts and Minimum Infrastructure Requirements and Section II.B., Project Requirements.

Q12:	Can a hydrogen dispenser project operating mobile hydrogen refuelers serving four different port terminal locations qualify as serving four different positions?

A12:	No. In the example provided, one mobile hydrogen refueler would count as one fueling position, as it may only refuel one vehicle/vessel at a time. Note, that mobile refueling is eligible for match share only.

Q13:	Can proposed projects include existing medium- and heavy-duty (MDHD) vehicles, or must all vehicles be newly procured?

A13:	If proposing a Private Access or Shared Access infrastructure project, the fleet that is being supported must commit to supporting: at least two MDHD EVs per Level 2 charging port proposed for CEC funding; at least three MDHD EVs per DC fast charging port proposed for CEC funding; at least 30 MDHD FCEVs per every two hydrogen fueling positions proposed for CEC funding; or at least one specialty vehicle, off-road equipment/vehicle, or non-road vehicle per EV charging port or hydrogen fueling position proposed for CEC funding.

The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure. New vehicles procured as part of a resulting grant agreement may be eligible for match funding. Existing vehicles are not eligible for reimbursement or match funding. Refer to Section II.B.4. Vehicle Deployment Requirements.

Q14:	Are investor-owned utilities (IOUs) allowed to participate as project partners, even if they are not the lead applicant?

A14:	Yes, IOUs may participate as project partners; however, IOUs will not be eligible for CEC reimbursement. IOUs may contribute match share funding.

Q15:	Can hydrogen compression/distribution sites in addition to hydrogen dispensing positions qualify in the total hydrogen dispenser positions?

A15:	No. Only dispenser positions count toward the minimum deployment requirement.

Q16:	If a project proposes 40 charging positions for some port cargo handling equipment, can it also include charging infrastructure for a marine vessel that serves the port? Would the marine vessel and its charging equipment be eligible for direct CEC funding and/or as match? Specifically, does “port equipment” include harbor craft such as ferries?

A16:	A proposed project may include charging or hydrogen refueling infrastructure to support a marine vessel or harbor craft. The proposed project must meet the minimum charger port or hydrogen fueling position deployment requirements outlined in Section I.G. Please refer to Addendum 6 for new minimum infrastructure requirements. Zero-emission vehicles (purchased, rented, or leased) and vehicle-related expenses (e.g., vehicle parts, labor for vehicle repairs, etc.) are not eligible as CEC reimbursable expenses, but may be included in the Applicant’s Match Share. Refer to Section II.E., Eligible Project Costs.

Q17:	If a proposed project includes multiple types of charging, can a combination of on-water MDHD vehicle hydrogen refuelers/charging along with shoreside or terminal charging infrastructure be combined to meet the positions threshold?

A17:	No. On-water MDHD vehicle hydrogen refuelers / electric chargers are not permitted. Funding will support new installation of in-ground fueling infrastructure, as stated in Section I.A and Section II.E.

Q18:	If port-serving trucks travel inland to pick up or deliver cargo, would inland sites be eligible for infrastructure deployment as long as they directly support port operations?

A18:	Yes. As referenced in Section II.B.5, Project Location, the proposed project must be located on the port or at a location that directly serves the port. If not located at a port, the project narrative should describe how the location directly supports the port operations.

Q19:	Is the charger minimum requirement a firm threshold, or is there any flexibility for vessel chargers? The set number of chargers provision is not aligned with the inclusion of "marine" in the off-road category.

A19:	The charger minimum requirement is a firm threshold. Vessel chargers are allowed to count toward the minimum infrastructure deployment requirement; however, all charging ports or refueling positions must be of the same infrastructure type (electric charging or hydrogen refueling) to be eligible for CEC reimbursement. Mixed infrastructure types are allowed, however the secondary infrastructure type would be used as match and would not be subject to the minimum charging port or hydrogen fueling position deployment requirements.

Q20:	What assumptions does the solicitation make regarding access to the ZEV fueling infrastructure? Should the deployed infrastructure be publicly accessible, limited to behind the fence or in-port use by port operators only, or is another access model acceptable?

A20:	Each of the models described in the question are eligible under this GFO. If the infrastructure is located entirely on port property and used solely by port operators, it may be restricted to private access. However, if the deployed infrastructure is located off-port property and the Applicant supports port-related operations, the minimum required deployed charging ports or hydrogen fueling positions may be either, private, shared, or publicly accessible. Applicants proposing Private Access infrastructure must meet the requirements listed in Section II.B.2. Eligible Project Accessibility Requirements and additional requirements listed in Section II.B.3. Infrastructure Deployment Requirements.

Q21:	Are hydrogen fueling projects for hydrogen switcher locomotives considered an eligible project under this solicitation?

A21:	Yes, if the hydrogen switcher locomotives are supporting port operations, the hydrogen refueling infrastructure necessary to fuel the locomotives would be an eligible project cost as long as the minimum number of new hydrogen fueling positions are met in the proposed project. That said, the fuel for the hydrogen locomotive is not an eligible CEC reimbursable or match share cost.

Q22:	The solicitation refers to "refueling positions" rather than "refueling stations." Does this mean that one refueling station with multiple dispensers, for example, two, would count as multiple refueling positions?

A22:	Yes. A single station with multiple hydrogen dispensers can count as multiple fueling positions. Refer to Section II.B.3. If applying as a Small Port or Large Port Applicant, a minimum of 2 heavy-duty hydrogen dispensing positions for refueling must be included in the proposed project. Note that if more than one heavy-duty hydrogen dispensing position is situated within the same physical footprint or fueling area, at least two dispensing positions capable of simultaneous refueling must be included, and at least one of these positions must be capable of dispensing at 700-bar pressure.

Q23:	Is there a requirement that the infrastructure and equipment funded through this solicitation must be human operated?

A23:	No. The infrastructure and equipment do not need to be human operated to qualify for funding, though they must be commercially available technologies.

Q24:	How should Applicants address site control for land that they do not own at ports? Does the application require that a specific site (i.e., space or footprint) already be secured, or a designated common area footprint that is already reserved for the proposed project?

A24:	Applicants must document site control in the Project Narrative. Site control includes, but is not limited to leases, ownership, or access rights. If Applicants do not have secured site host agreements in place, they must describe in the Project Narrative how they plan to obtain a site host agreement or lease, and provide an estimated timeline for securing the site including how this process can be expedited. Additionally, Applicants must submit a letter of commitment from the current owner of the site of the proposed station location, or if the proposed site is operated by another entity other than the site owner, applications must also include a letter of commitment from the current operator of the site. Note that if a Port is the Prime Applicant and the project is located on-port, the application may include multiple sites within the port boundaries (e.g., across terminals). In this instance, Port Applicants must submit letters of commitment from the site operator of each proposed station location.

Additionally, if the current lease agreement for an eligible project site is valid for less than the required six years, the Applicant must commit to operating that station until the current lease ends and make a good faith effort to extend the lease to continue operation for the full six years. Refer to Section III.D.2.a., Project Readiness/Implementation and Section III.D.8., Letters of Commitment.

Q25:	Is there a minimum local storage requirement for hydrogen stations?

A25:	No. There is no storage requirement for hydrogen stations.

Q26:	If a hydrogen refueling station supports port operations, but is located outside of port boundaries, is there any distance requirement between port and refueling station?

A26:	No, there is not a set distance requirement in the solicitation. However, the location must directly serve the port/port operations. Section II.A.1. states that “Non-port applicants will be required to either provide a letter of support from a port or otherwise describe in the project narrative how the project will support a port or ports.” Additionally, Section II.B.5., Project Location, states that the project must be located at a location that directly serves the port. If not located at a port, the Project Narrative should describe how the location directly supports the port operations.

Q27:	Are hybrid solutions that include both hydrogen refueling and battery-electric charging capabilities, using green hydrogen as the fuel source for both, permissible, provided that all other solicitation requirements are met?

A27:	Yes. The application must identify which infrastructure type is the principal and that infrastructure type will be eligible for CEC funding. The secondary infrastructure type is allowed, but must be match share only. The secondary infrastructure type proposed would not be required to install the minimum infrastructure requirements in the solicitation.

Q28:	Would installation of non-combined charging system (CCS) connectors, such as wireless inductive charging be considered an eligible project?

A28:	Yes, wireless inductive charging is an eligible project.

Q29:	Are there minimum specifications or preferred standards for charging systems (e.g., plug type, interoperability, software communication standards)?

A29:	Yes. Refer to Section II.B.7. for California EVSE Commercial Device requirements.

Q30:	For hydrogen refueling infrastructure, is there a requirement to support hydrogen powered watercraft? Given the port focused nature of the solicitation, is the ability to refuel waterborne vessels expected or required?

A30:	Charging or refueling of watercraft is not a requirement of this solicitation. However, Applicants may include infrastructure to support watercraft, provided all solicitation requirements are met.

Eligible Reimbursable and Match Share Costs

Q31: 	Can "Eligible Project Costs" such as grid infrastructure (e.g., transformers, electrical panels, conduit, wiring, meters, installation costs, stub-outs, demand management equipment, planning and engineering design, commissioning, utility service upgrades) standalone in support of EV chargers or EVSE for existing planned charger projects?

A31:	No. To be eligible for funding, applications must include charger deployment that meets the minimum requirements outlined in Section I.G. While some grid infrastructure costs are eligible costs, they cannot be funded as standalone projects. Refer to Section II.E., Eligible Project Costs.

Q32:	Can IOUs provide cost share?

A32:	Yes.

Q33:	Is a security fence allowable to protect vehicles and drivers if it can be opened by the general public through an on-site manager?

A33:	Yes. However, a fence is not an eligible CEC reimbursable expense.

Q34:	Can a loan satisfy the cash match requirement?

A34:	Yes.

Q35:	Can the funds from this solicitation be used to support projects that are partially grant-funded and already underway? Additionally, how do the match fund requirements apply in such cases?

A35:	Billable design and/or construction work and/or equipment procurement that is already in progress or completed prior to grant execution is ineligible for match or reimbursable funding. However, work that is expected to occur within the term of a grant agreement may be eligible for CEC funding or match share. The proposed project must meet the minimum charging port or hydrogen fueling position deployment requirements for work that occurs after the grant agreement is executed. This means that the minimum charging ports or hydrogen fueling positions must be constructed and installed during the term of the agreement. Match share expenditures are allowable under a CEC agreement only if they are incurred after execution of an awarded agreement. Refer to Section II.E., Eligible Project Costs, and Section II.F., Match Funding Requirements.

Q36:	The solicitation indicates that onsite hydrogen generation is only eligible as a match cost. Is hydrogen conditioning equipment, such as compressors, purifiers, or liquefiers, directly connected to generation equipment eligible for reimbursement as a direct expense?

A36:	No. Renewable hydrogen production equipment is eligible as a match cost, which means the associated conditioning equipment that is integrated with or dependent on the generation equipment is also only eligible as match. Only equipment and infrastructure directly supporting eligible dispensing operations are eligible for CEC reimbursement. Refer to Section II.E., Eligible Project Costs.

Q37:	Are profit margins allowed in direct expenses?

A37:	Profit is not allowable for the Prime Applicant. However, subrecipients are allowed to include up to a maximum total of 10% profit, fees or mark-ups on their own actual allowable expenses less any expenses budgeted to sub-subrecipients (i.e., profit, fees and markups are not allowed on lower tier subrecipient expenses). Refer to Section III.D.5., Budget Forms (Attachment 5).

Miscellaneous

Q38:	In the context of entities serving or supporting a port, how does the CEC define “serving or supporting” a port?

A38:	For the purposes of this solicitation, “serving or supporting a port” may include, but is not limited to: MDHD fleets transporting goods to or from a port to warehouses, distribution centers, railways or other logistics hubs; MDHD fleets and Cargo Handling Equipment operating within a port, including ship-to-shore transfers and intra-terminal movement of goods; offshore support vessels (e.g., tugboats) that assist in the safe and efficient docking, departure, or movement of cargo and container vessels. If Applicants are not located at a port, the project narrative should describe how port operations are supported.

Q39:	What is the CEC’s definition of “seaport”?

A39:	For the purposes of this solicitation, “seaport” refers to the 12 ports listed in the California Legislative Analyst’s Office Overview of California Ports (August 17, 2023) available at https://lao.ca.gov/handouts/resources/2023/Ports-Overview-081723.pdf.

The 12 eligible seaports are:

- Port of Long Beach

- Port of Los Angeles

- Port of Richmond

- Port of Oakland

- Port of Stockton

- Port of San Francisco

- Port of Redwood City

- Port of Hueneme

- Port of San Diego

- Port of West Sacramento

- Humbold Bay Harbor District

- Port of Benicia

Q40:	What is the CEC’s definition of “land port of entry”? For example, are border crossings the only eligible facilities, or could this include other types of inland freight hubs or intermodal transfer points? Are truck freight depots eligible?

A40:	For the purposes of this solicitation, “land ports of entry” refer to the designated border crossings identified by the U.S. Department of Transportation’s Bureau of Transportation Statistics available at https://data.bts.gov/stories/s/myhq-rm6q.

Eligible land ports of entry include:

- San Ysidro

- Otay Mesa

- Tecate

- Calexico West

- Calexico East

- Andrade

Inland freight hubs, intermodal transfer points, truck freight depots, etc. are also eligible. Non-port applicants will be required to provide a letter of support from a port or otherwise describe in the project narrative how the project will support the port.

Q41:	What is the CEC’s definition of “make-ready equipment”?

A41:	For the purposes of this solicitation, “make-ready equipment” includes installation of wiring, conduit, etc. for a charging or refueling site without installing the actual charging system or dispensing platform.

Q42:	Is there a minimum required timeframe for operational data reporting under this solicitation?

A42:	Yes. Awarded projects must conduct 12 months of demonstration and data collection on the deploying charging or hydrogen refueling infrastructure within the term of the agreement. In addition, recipients of awarded projects shall comply with the reliability performance standards, recordkeeping, reporting, and maintenance requirements for EV chargers installed, as outlined in the Scope of Work template (Attachment 2). While the data is collected daily, it must be reported to the CEC on a quarterly basis. Refer to Section II.B.4., Data Collection.

Q43:	Is there a deadline by which time CEQA must be completed?

A43:	The CEQA worksheet must be completed and submitted with the application packet. Projects recommended for funding must complete the CEQA process within 6 months of the release date of the NOPA. The CEC reserves the right to cancel proposed awards that do not meet this CEQA compliance deadline and recommend funding for the next, highest-scoring passing proposal submitted under this solicitation consistent with the evaluation process discussed in Section I.E. How Award is Determined, in Addendum 6. Refer to Section III.D.10., CEQA Worksheet (Attachment 10).

Q44:	Is there an encumbrance deadline associated with the funding offered in this solicitation?

A44:	Yes. This solicitation is supported by multiple funding sources, each with its own encumbrance deadline.

Q45:	Does the Executive Summary have a page limit?

A45:	The Executive Summary has a two-page limit. Refer to Section III.C. of the solicitation manual.

Q46:	The Scope of Work template (Attachment 2) requires contractors to “submit an AB 841 Certification that certifies the project has complied with all AB 841 (2020) requirements specified in the Agreement Terms and Conditions or describes why the AB 841 requirements do not apply to the project.” Will the CEC provide this certification template? If not, where can this be accessed for review in advance?

A46:	Yes, the CEC will provide this template or guidance once the agreement has been executed. Additional information related to AB 841 requirements can be found in Section II.B.5.

Q47:	Is a hydrogen “position” the same as a “fueling hose”? Is it possible for a hydrogen dispenser to have two positions?

A47:	“Position,” “hose,” and “nozzle,” all refer to a singular pathway to refuel one MDHD vehicle at a time. A hydrogen dispenser may have one or more positions, hoses, or nozzles.

Q48:	The solicitation requires that hardware must conform to International Organization for Standardization (ISO) 15118-3 and be capable of implementing ISO 15118-2 & ISO 15118-20 with conformance testing following ISO 151184/ 5 respectively. Will certification be required to demonstrate this?

A48:	At the time of this writing, a certification test tool is not yet available. The charger manufacturer must self-attest that the charger conforms to ISO 15118-3 and is capable of implementing ISO 15118-2 and ISO 15118-20.

Q49:	The solicitation requires that chargers must accept open standard price or load control signals (via Open Charge Point Protocol (OCPP) 2.0.1 or other network communication) and automatically adjust load. Who will be setting price and load-control from OCPP in this case?

A49:	The charger must be capable of receiving prices and other grid signals to inform automated load adjustment and management when appropriate. The charging station operator may utilize OCPP or similar protocols for such communication.

Q50:	The solicitation requires that the charging port must conform to OCPP 2.0.1 or later, and the charging port’s networking software must connect to a central management system using OCPP 2.0.1 for the purposes of charger management and data reporting, including for reliability data reporting requirements. Our preferred charging equipment is certified for OCPP 2.0.1 but utilizes internal software for its charging network. Does this requirement mean that we would need to hire a third party charging station management system?

A50:	OCPP must be used to communicate with the charger for reliability related messages. Other communications (proprietary or otherwise) may be used in parallel with OCPP, but the reliability related messages must be communicated as specified in OCPP 2.0.1 to be able to compare performance of all funding Recipients in a standard way.

Q51:	Regarding Section II.C. of the Application Manual, “Minimum Technical Requirements for Open Retail Electric Vehicle Charging Stations,” what is the CEC’s definition of open retail? For non-publicly accessible charging stations, i.e., projects that are behind-the-fence, within a port complex, and solely for private fleet use, is it required that Applicants certify that their selected electric vehicle supply equipment (EVSE) meet each of the Minimum Technical Requirements listed in Section II.C? Are applicants required to submit the Open Retail Station Checklist (Attachment 20) for non-public charging stations?

Are charging stations required to meet and adhere to each of the Minimum Technical Requirements for Open Retail Electric Vehicle Charging Stations at the time of proposal submission? Or may applicants certify that their charging stations meet these requirements at a later date such as the date of station energization or prior to submitting an invoice for CEC reimbursement?

A51:	Sections II.C. Minimum Technical Requirements for Electric Vehicle Charging Stations and II.D. Minimum Technical Requirements for Hydrogen Refueling Stations apply to all stations: Private, Shared, and Public Access. To be considered completed, infrastructure funded under this solicitation shall, at a minimum, meet and adhere to each of the listed Minimum Technical Requirements during station operation. Infrastructure is not required to meet and adhere to each of the Minimum Technical Requirements at proposal submission, but rather once the project is energized and operational.

Q52:	Regarding Section II.B.7. of the Application Manual “Compliance with California EVSE Commercial Device Requirements

“Commercial” is defined as applying to “operations in which the amount dispensed affects customer charges or compensation.” Are the requirements listed in Section II.B.7. applicable to charging stations that are behind-the-fence, within a port complex, and for private-use only? For example, projects where a port terminal operator owns and operates the EV chargers for their fleet alone and is therefore not subject to a Charging-as-a-Service (or similar Charge Point Operator-based) billing model? If this is required for private-use charging stations, when are Applicants required to certify that their selected EVSE meets the criteria?

A52:	“Compliance with California EVSE Commercial Device Requirements” would not apply to private fleets operating private equipment.

Q53:	Please define what is meant by or what the boundaries are for ‘in-ground infrastructure for battery electric or hydrogen fuel cell MDHD vehicles and/or port equipment and/or off-road equipment (e.g. gantries, cargo handling equipment, etc.).” Are fueling stations that are containerized but stationary (vs. mobile) considered “inground”?

A53:	Fueling stations that are containerized but stationary would be eligible for CEC reimbursement or match.

Q54:	Are Applicants allowed to distribute fleet RFID cards to contracted customers while keeping the station open to the public, where use of access cards or personal identification (PIN) codes is optional and not required to dispense fuel?

A54:	Yes.

Q55:	The Application Manual references “off-road” vehicles and equipment but does not provide a full definition, instead including examples followed by “etc.” Can the CEC clarify what qualifies as “off-road” for the purposes of this solicitation, and confirm whether harbor craft vessels are considered off-road equipment?

A55:	For the purposes of this solicitation, off-road applications include vehicles or equipment that do not perform their primary operations on a road or highway. “Off-road” may include, but is not limited to, cargo-handling equipment, yard tractors, as well as marine or rail.

Q56:	There's a green hydrogen requirement mentioned, however fuel procurement is considered an operating expense instead of a capital expenditure. Is it possible to use the CEC funds to install hydrogen stations and then select whatever hydrogen is available?

A56:	As stated in Section II.B.8, hydrogen refueling station(s) funded under this solicitation shall dispense renewable hydrogen to comply with the requirements specified in the CARB LCFS regulation found at https://ww2.arb.ca.gov/sites/default/files/2020-07/2020_lcfs_fro_oal-approved_unofficial_06302020.pdf and shall report quarterly on hydrogen dispensed once the station becomes operational.

Q57:	Currently, many Cargo Handling Equipment (CHE) at the Ports of Los Angeles and Long Beach get refueled with diesel during the downtime from 3 AM to 7 AM, therefore, I see a challenge to be compliant with uptime requirement. If the infrastructure performs refueling within the downtime more than threshold, is it allowed?

A57:	For hydrogen refueling station projects, “uptime” is defined as (total hours the station is available over the quarter / the total possible hours of operation over the quarter) X 100. Applicants shall commit to achieving 95% uptime at each eligible hydrogen refueling station included in their application if awarded under this solicitation. For EV charging infrastructure projects, the charging port uptime for each charging port installed in the project must be at least 97% of each year for six years after the beginning of operation. See the Scope of Work template (Attachment 2) for more details on operations and reliability requirements.

Q58:	Does 100% of dispensed hydrogen need to be renewable?

A58:	No. At this time, 40% or greater of dispensed hydrogen must be renewable. However, please review the requirements specified in the CARB LCFS regulation, found at https://ww2.arb.ca.gov/sites/default/files/2020-07/2020_lcfs_fro_oal-approved_unofficial_06302020.pdf. Once the hydrogen station becomes operational, project Recipients shall report on hydrogen dispensed on a quarterly basis using the Renewable Hydrogen Report (Attachment 19). Refer to Section II.B.6.

Q59:	Is the 150kW per nozzle during simultaneous charging a hard requirement?

A59:	If the electric vehicle charging station will be Private or Shared Access and not 100 percent Public Access, each charging port must be capable of at least Level 2 charging. If the electric vehicle charging station will be 100 percent Public Access, each charging station port must be capable of providing at least 200 kW. If using automated load management (ALM), which is not a requirement for this solicitation, each port would need to be capable of simultaneously delivering at least 150 kW when all ports are in use.

Q60:	Is there a requirement for electric vehicle charging projects to have at least 50% of locations benefit disadvantaged communities, similar to the requirement for hydrogen refueling stations? If not, can you please explain the difference?

A60:	Yes. At least 50% of the funding must directly benefit or serve residents of low-income communities and disadvantaged communities with the map provided at Priority Populations — California Climate Investments https://www.caclimateinvestments.ca.gov/priority-populations. Refer to Section II.B.3.

Q61:	Do EVSE projects also have uptime requirements?

A61:	Yes. EVSE projects require 97% uptime for each installed charging port. Refer to the Scope of Work template (Attachment 2). The Recipient shall ensure that the charging port uptime for each charging port installed in the project is at least 97 percent of each year for six years after the beginning of operation.

Q62:	Can we stack this funding with CARB fund?

A62:	Yes. Please refer to the CARB funding program for additional requirements of the specific funding being stacked. Project costs reimbursed under one award cannot also be reimbursed by the other award.

Q63:	Regarding the 150 kW requirement per charging port, could you please clarify between charger and dispensers (“nozzle”). For example, if a single charger with two dispensers or “nozzles” has a total capacity of 200 kW but has smart charging capabilities to supply 150 kW to one dispenser at a time, but when two vehicles are plugged in simultaneously, the power per dispenser might drop below 150 kW per dispenser (e.g., 100 kW per port) during part of the charging cycle. Would this type of equipment be allowed under this solicitation?

A63:	For simultaneous charging, Section II.B.3. Infrastructure Deployment Requirements states that if the electric vehicle charging station will be 100 percent Public Access, each charging station port must be capable of providing at least 200 kW (and if Automated Load Management (ALM) is being utilized, each charging station port must be capable of simultaneously providing at least 150 kW when all ports are in use). If the electric vehicle charging station will be Private or Shared Access and not 100 percent Public Access, each charging station port must be capable of providing at least Level 2 charging.

Q64:	The Manual states Applicant is to “…submit a separate Past Performance Reference Form for each CEC agreement…” and yet the actual Attachment 12 instructions do not contain the word “each.” Can an Applicant target the most recent five CEC references that are similar in scope, size, and topic to GFO-24-610?

A64:	The Attachment 12 form is a template form used across CEC grant solicitations, which is why the word “each” is not included in the instructions on the form. As instructed in Section III.D.12, “Applicants must complete and submit a separate Past Performance Reference Form for each CEC agreement (e.g., contract, grant or loan) received by the Applicant in the last 10 years, including ongoing agreements, and the 5 most recent agreements with other public agencies within the past 10 years.” Applicants may not selectively choose which agreements to report, whether CEC agreements or agreements with other public agencies, and should submit a separate Past Performance Reference Form for each agreement.

NEW Questions & Answers

Q65:	Our infrastructure project might take longer to complete than the time it takes for vehicles or off-road equipment to be delivered. If the solicitation requires us to place a purchase order within three months of executing the grant agreement, how can we prevent vehicles from arriving before the charging or hydrogen infrastructure is ready and sitting idle? Can we place purchase orders after the three months?

A65:	While the CEC reserves the right to cancel a grant agreement award if the Applicant cannot place a purchase order within three months, the application will be scored on the degree to which the proposed project is ready for implementation and capable of maximizing zero-emission vehicle deployment. This includes demonstrating how the project will expedite infrastructure installation, ensure timely vehicle utilization, and address potential timing challenges through coordination with utilities and planning agencies. If placing a purchase order within three months of agreement execution is not feasible, the Applicant should provide a clear, detailed timeline and plan for vehicle acquisition, including strategies to minimize delays and align delivery with infrastructure readiness. Applicants whose infrastructure will provide Public Access are not required to meet the three-month purchase order requirement.

Q66:	The solicitation requires that vehicles be delivered by the time the infrastructure becomes energized and operational. However, ports and their partners have limited control over vehicle and off-road equipment delivery timelines, as most acquisitions are through the EPA Clean Ports Program. Given that this program’s requirements are expected to strain supply and manufacturing capacity, how should Applicants address this requirement in their proposal?

A66:	Applicants must demonstrate that vehicles will be deployed and actively utilizing the funded infrastructure for at least 12 months before grant agreement end date. While the solicitation requires vehicles to be delivered by the time the infrastructure becomes energized and operational, the CEC recognizes that delivery timelines may be influenced by external factors such as the EPA Clean Ports Program and associated supply chain constraints. Project timelines should account for potential delays and include at least 12 months of data collection following commissioning to demonstrate successful utilization of the infrastructure. The application will be scored on the degree to which the estimated timeline for acquisition of new MDHD ZEVs and the purchase and installation of supporting infrastructure can be expedited. It will also be scored on the degree to which the tasks in the Scope of Work and the dates in the project schedule are complete, sequential, and will lead to successful and scheduled completion of the project.

Q67:	The solicitation manual states that Applicants may begin the project only after full execution of the agreement. Can these requirements be changed to allow projects to begin after the Notice of Proposed Awards (NOPA) is released to allow for earlier procurement of equipment and materials?

A67:	Under the Greenhouse Gas Reduction Fund (GGRF) which funds this grant solicitation, any work or procurement that occurs prior to full execution of the grant agreement is not eligible for reimbursement or match funding. This means that costs incurred before the agreement is executed cannot be counted toward the required match share or reimbursed by the CEC. However, this does not prohibit Applicants from beginning work at their own risk before the agreement is executed. To remain eligible, the project must meet the minimum deployment requirements for charging ports or hydrogen fueling positions during the term of the executed agreement. In other words, the construction and installation of the minimum required infrastructure must occur after the agreement is executed. The minimum match share required is 25%, and there is no cash match requirement.