January 27, 2026

GFO-24-610

Medium- and Heavy-Duty Zero-Emission Vehicle Port Infrastructure

Addendum 9

The purpose of this addendum is to notify potential applicants of changes that have been made to GFO-24-610.

The addendum includes revisions to the Solicitation Manual and Questions and Answers. Added language appears in bold underline, and deleted language appears in [strikethrough] and within square brackets.

The addendum also includes an updated question-and-answer set posted on the CEC’s solicitation information website at www.energy.ca.gov/funding-opportunities/solicitations.

## Solicitation Manual

## Section II.B.2 Eligible Project Accessibility Requirements

For the purposes of this solicitation, project accessibility types are as follows:

- Public Access – Open to the general public without restriction.

  - Examples include truck stops and locations along major freight corridors or a mix of overnight and opportunity (en-route, fast charging/fast filling). Public Access may allow reservation systems so that operators are confident that a charging port or hydrogen nozzle will be available when they arrive.

- Shared Access – Available to more than one fleet, but not open to the general public.

- Private Access – Available to one dedicated fleet. Infrastructure is not shared with another fleet and not open to the public.

Applicants may propose Private Access infrastructure as an eligible project so long as the infrastructure meets the additional requirements listed below in II.B.3.

Projects will be evaluated on the degree to which the proposed infrastructure is accessible to the public.

For infrastructure projects supporting the fleets of California public entities such as cities, counties, and other local government entities, applicants must propose infrastructure with at least 25% of the charging ports/hydrogen fueling positions available as Public Access during normal operating hours. The remaining 75% of infrastructure may be Public, Shared, or Private Access.

Public Access requirements apply to all public entity Applicants.

Applicants proposing a project that will support a public entity must adhere to all requirements established for public entities.

## Section II.B.4 Vehicle Deployment Requirements

If proposing a Private Access [or Shared Access] infrastructure project, the fleet that is being supported must commit to supporting:

  - At least [two] one MDHD EV[s] per [Level 2] charging port proposed for CEC funding. Applicants that can demonstrate vehicles above a 1-to-1 ratio will score higher.

  - [At least three MDHD EVs per DC fast charging port proposed for CEC funding;]

  - At least 30 MDHD FCEVs per every two hydrogen fueling positions proposed for CEC funding; or

  - At least one specialty vehicle, off-road equipment/vehicle, or non-road vehicle per EV charging port or hydrogen fueling position proposed for CEC funding.

These vehicle-to-infrastructure ratios are used solely to assess eligibility and infrastructure justification. They are not duty-cycle or in-use operational requirements.

The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure. New vehicles procured as part of a resulting grant agreement may be eligible for match funding. Existing vehicles are not eligible for reimbursement or match funding.

If proposing a Shared Access infrastructure project, the application must demonstrate that at least two fleets are being supported by the proposed infrastructure. [and the cumulative vehicles supported meet the minimum commitment numbers listed above. The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure.]

Shared and Public Access infrastructure projects are not required to meet the vehicle deployment requirements; however, applications will be scored on the degree to which proposed projects maximize vehicle deployment and market growth.

If a project is a combination of Public/Shared and [Shared/]Private Access infrastructure, then the portion of the infrastructure with [Shared/]Private Access must meet the vehicle deployment [and/or number of fleets supported] requirements.

To ensure that the infrastructure funded under this solicitation will be utilized, Applicants of all Private [or Shared a]Access infrastructure projects must submit a Letter(s) of Intent to Place a Purchase Order (Attachment 21) per fleet with their application, with the exception of applicants using existing vehicles. The letter(s) must specify the type(s) and number(s) of ZEVs to be procured and justify the need for the proposed infrastructure.

If an Applicant cannot place a purchase order within three (3) months of agreement execution, the CEC reserves the right, in addition to any other rights it has, to cancel the award and offer funding to the next highest scored eligible Applicant in the same Funding Category on the NOPA list. While the purchase order must be placed within three months of agreement execution, there is not a firm requirement by when the vehicles must be delivered. Infrastructure lead times or vehicle production lead times may vary and the fleet operator may need to ensure alignment of those. However, the vehicle orders must take place and vehicles must be delivered by the time the infrastructure becomes energized and operational. Costs for vehicles are not reimbursable; however, they may be used towards match.

Applicants who already own ZEVs or have recently placed a purchase order for ZEVs that will use the proposed infrastructure must submit a letter stating the type(s) and number(s) of ZEVs and explaining the need for the new infrastructure instead of a Letter of Intent to Place a Purchase Order (Attachment 21). The proposed number of charging ports or refueling positions must be reasonably aligned with the applicant’s existing or incoming ZEV fleet size.

All applications, regardless of access-type, must demonstrate how the proposed project will maximize zero-emission vehicle deployment, including descriptions of fleet commitments and strategies the Applicant will take to maximize market growth.

If the proposed project is Private or Shared Access, applications must also provide the following information regarding the fleet(s) being supported by the proposed infrastructure in the Project Narrative (Attachment 1):

  - Quantity and type of all vehicles in the current fleet (including vehicle size/class, fuel type, and quantity).

  - Operations and average daily vehicle-miles-traveled (VMT) for each vehicle, or operations and average daily engine hours for specialty, off-road, or non-road applications.

  - Quantity and timeline of how many of the fleet’s vehicles will be converted to zero-emission.

  - Number of miles that will be converted from fossil-fuel-VMT to zero-emission-VMT, or number of engine hours and fuel volume to be replaced by zero-emission alternatives for specialty, off-road, or non-road applications.

Please see Section IV.E., Evaluation Criteria for further detail. Applicants will be evaluated on the degree to which fleets maximize their vehicle deployment and zero-emission-VMT.

Please note that applicants proposing Private Access infrastructure projects may propose installing additional infrastructure with match funding. [For example, for a Private Access site, if a fleet cannot support two vehicles with one Level 2 charger, the fleet may use its own funds to procure and install additional Level 2 chargers to meet their needs. The additional chargers may be considered eligible match funding.]

For Example:

A Private Access fleet determines that it needs 20 charging ports to meet its operational needs.

Under the solicitation requirements, each charging port must be able to support one ZEV. Therefore, the fleet must demonstrate:

20 charging ports x 1 ZEV per port = 20 ZEVs required.

The applicant currently owns 10 ZEVs and plans to order 5 additional ZEVs within three months of agreement execution, for a total of 15 ZEVs. They do not intend to place any further vehicle orders for the next three years.

Because the fleet has 15 ZEVs, which is fewer than the required 20 ZEVs, it is not eligible for CEC funding for all 20 charging ports.

15 ZEVs / 1 ZEV per charging port = 15 charging ports

Applicants cannot request a fraction of a charging port, so the fleet is eligible for CEC funding for up to 15 charging ports.

To still meet its operational need for 20 charging ports, the fleet may install the remaining 5 charging ports using its own funds. These additional charging ports may be counted as eligible match funding.

## Section II.C.1 Minimum Technical Requirements for Electric Vehicle Charging Stations

- The Energy Infrastructure Incentives for Zero-Emission Commercial Vehicles (EnergIIZE) program is an incentive program funded by the CEC and administered by CALSTART. The charging station equipment funded under this solicitation must conform to the applicable safety and technical standards listed in the solicitation. As long as the charger meets the same standards that listed equipment is required to meet, and that compliance can be verified, an Applicant may purchase equipment not formally included on the EnergIIZE Equipment Catalog list [with equipment detailed in the EnergIIZE [Eligible Electric Technology] Catalog] which can be found at [https://www.energiize.org/infrastructure?section=infrastructure.more-details.technology] https://energiize.org/equipment-catalog/.

## Section II.C.4 Minimum Technical Requirements for Electric Vehicle Charging Stations

4.	[The charging port must be Energy Star certified and listed on the Energy Star Product Finder Page. They do not have to be certified at the time of submitting the proposal but must be certified prior to submitting an invoice that seeks repayment for the chargers. Chargers over 350 kW are not required to be Energy Star certified.]

## Section III.D.2.a.i. Project Readiness/Implementation

- Demonstrate how the proposed project will maximize zero-emission vehicle deployment per charging port/refueling position. Demonstrate how the project will reach broader markets, including whether the project will support shared fleets or infrastructure serving multiple fleet operators. Describe fleet commitments, if applicable, or what strategies the Applicant will take to maximize market growth.

## Section IV.E.1. Project Readiness/Implementation

- Project Readiness/Implementation Applications will be evaluated on the degree to which: - The proposed project maximizes vehicle deployment per charging port/refueling position. - Site control is secured, viable back-up sites are identified, and a sufficient plan for managing site or site host changes is provided. - The proposed project has achieved compliance under CEQA. - Required permitting for the proposed project has been completed. - Coordination with the respective utility provider for utility connection demonstrates accelerated timeline to energize the sites. - The equipment to be deployed meets the Charger Port/Hydrogen Refueling Dispenser Minimums and accelerates project timelines. - The infrastructure to be deployed is appropriate for the project’s vehicle population and leads to successful deployment of zero-emission MDHD vehicles. - A clear and realistic timeline is provided for the acquisition or retrofitting of MDHD ZEVs. Strategies to expedite the vehicle acquisition or retrofitting process are identified. - A clear and feasible timeline is provided for obtaining chargers and/or hydrogen refueling dispensers, and/or other necessary equipment. Strategies are identified to expedite the procurement and installation process. - A clear and realistic timeline is provided for the installation and commissioning of chargers and/or hydrogen refueling dispensers. - Equipment manufacturers, connector/refueling standards, fuel delivery methods (for hydrogen projects), security measures, and safety standards are appropriate for the proposed project and lead to successful deployment of zero-emission MDHD vehicles. - The project will effectively deploy renewable DERs and/or renewable energy generation equipment to accelerate timelines. A clear plan is provided for the use, management, and long-term commitment to zero-emission and/or renewable fuel equipment beyond project completion. - If solar or storage equipment is included in the project, proposed project describes how the equipment to be deployed will lower the cost of electricity for charging or hydrogen fuel for customers. - The tasks in the Scope of Work contribute to the successful and timely completion of the proposed project. - Planned community outreach is appropriate and comprehensive and contributes to the overall success of the proposed project. - Major risks and barriers to successful project completion are identified and mitigated. - The retail price of fuel and/or the cost of charging will be minimized. NOTE: Project Readiness must obtain a minimum passing score of 21 points (70% percent) within this evaluation criterion to be eligible for funding.

Questions and Answers

Q4:	How does this solicitation assess the charging port capacity? In the instance where a 360 kW Power Cabinet supports three charging ports, charging capacity varies based on how many port are active simultaneously, 360 kW if only one port is active, 180 kW two ports are simultaneously active and 90 kW when three ports are simultaneously active. Is the maximum, average, minimum, or other factor considered for the amount of eligible funding available?

A4. 	Please see Addendum [6]9, which no longer sets a maximum award amount per charging port. Projects will be evaluated on the degree to which the proposed infrastructure demonstrates a highly cost-effective use of CEC funds, with a low cost per charging port or refueling position relative to the power level or refueling capacity. Projects will be evaluated on both the dollar-per-port or refueling position and the dollar-per kW or kg.

Please see Section I.E. How Award is Determined and Section I.G. Minimum Infrastructure Requirements and Maximum Award Amounts.

Q5:	As written, this solicitation appears to encourage eliminating a charging port if the minimum simultaneous delivery is used as an applicant could receive $225,000 for a three port configuration ($75,000 * 3) and $500,000 ($250,000 * 2) for a two port configuration with the same power cabinet. Is the goal of the CEC to have higher power ratings for all applications as opposed to more charging ports? This seems like an odd incentive as it is cheaper to have a two port configuration than a three port configuration, but it is rewarded with more eligible dollars.

A5:	The CEC does not have a preference for higher power ratings over the number of charging ports. Applicants are encouraged to focus on the infrastructure needs for planned ZEVs and choose the infrastructure type(s) accordingly. Please see Addendum [6]9, which no longer sets a maximum award amount per charging port.

Q13:	Can proposed projects include existing medium- and heavy-duty (MDHD) vehicles, or must all vehicles be newly procured?

A13:	If proposing a Private Access [or Shared Access] infrastructure project, the fleet that is being supported must commit to supporting: at least [two] one MDHD EV[s] per [Level 2] charging port proposed. Applicants that can demonstrate vehicles above a 1-to-1 ratio will score higher. [for CEC funding; at least three MDHD EVs per DC fast charging port proposed for CEC funding]; at least 30 MDHD FCEVs per every two hydrogen fueling positions proposed for CEC funding; or at least one specialty vehicle, off-road equipment/vehicle, or non-road vehicle per EV charging port or hydrogen fueling position proposed for CEC funding.

The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure. New vehicles procured as part of a resulting grant agreement may be eligible for match funding. Existing vehicles are not eligible for reimbursement or match funding. Refer to Section II.B.4. Vehicle Deployment Requirements.

Q16:	If a project proposes 40 charging positions for some port cargo handling equipment, can it also include charging infrastructure for a marine vessel that serves the port? Would the marine vessel and its charging equipment be eligible for direct CEC funding and/or as match? Specifically, does “port equipment” include harbor craft such as ferries?

A16:	A proposed project may include charging or hydrogen refueling infrastructure to support a marine vessel or harbor craft. The proposed project must meet the minimum charger port or hydrogen fueling position deployment requirements outlined in Section I.G. Please refer to Addendum [6]9 for new minimum infrastructure requirements. Zero-emission vehicles (purchased, rented, or leased) and vehicle-related expenses (e.g., vehicle parts, labor for vehicle repairs, etc.) are not eligible as CEC reimbursable expenses, but may be included in the Applicant’s Match Share. Refer to Section II.E., Eligible Project Costs.

Q43:	Is there a deadline by which time CEQA must be completed?

A43:	The CEQA worksheet must be completed and submitted with the application packet. Projects recommended for funding must complete the CEQA process within 6 months of the release date of the NOPA. The CEC reserves the right to cancel proposed awards that do not meet this CEQA compliance deadline and recommend funding for the next, highest-scoring passing proposal submitted under this solicitation consistent with the evaluation process discussed in Section I.E. How Award is Determined, in Addendum [6]9. Refer to Section III.D.10., CEQA Worksheet (Attachment 10).

Q65:	Our infrastructure project might take longer to complete than the time it takes for vehicles or off-road equipment to be delivered. If the solicitation requires us to place a purchase order within three months of executing the grant agreement, how can we prevent vehicles from arriving before the charging or hydrogen infrastructure is ready and sitting idle? Can we place purchase orders after the three months?

A65:	While the CEC reserves the right to cancel a grant agreement award if the Applicant cannot place a purchase order within three months, the application will be scored on the degree to which the proposed project is ready for implementation and capable of maximizing zero-emission vehicle deployment. This includes demonstrating how the project will expedite infrastructure installation, ensure timely vehicle utilization, and address potential timing challenges through coordination with utilities and planning agencies. If placing a purchase order within three months of agreement execution is not feasible, the Applicant should provide a clear, detailed timeline and plan for vehicle acquisition, including strategies to minimize delays and align delivery with infrastructure readiness. Applicants whose infrastructure will provide Shared and Public Access are not required to meet the three-month purchase order requirement; however, applications will be scored on the degree to which proposed projects maximize vehicle deployment and market growth.

Q68: 	I see in the latest manual that Energy Star Certification is still required. There seems to be a lot of uncertainty around this program’s continuance under the current administration. How will this be handled for the GFO-24-610 as there are many EV chargers in the CEC approved catalog that are not Energy Star certified and may not be able to obtain the certification?

A68: 	Per Addendum 9, the requirement for Energy Star certification and listing on the Energy Star Product Finder Page has been removed. Please see Section II.C.4.

Natalie Johnson

Commission Agreement Officer