January 28, 2026

GFO-24-611

Implementation of Medium- and Heavy-Duty

Zero-Emission Vehicle Infrastructure Blueprints 2.0

Addendum 08

The purpose of this addendum is to notify potential applicants of changes that have been made to GFO-24-611.

The addendum includes revisions to the Solicitation Manual and Questions and Answers. Added language appears in bold underline, and deleted language appears in [strikethrough] and within square brackets.

The addendum also includes an updated question-and-answer set posted on the CEC’s solicitation information website at www.energy.ca.gov/funding-opportunities/solicitations.

## Solicitation Manual

- Section II.B.4. Vehicle Deployment Requirements

If proposing a Private Access [or Shared Access] infrastructure project (excluding the public entities covered by the exceptions listed in Section II.B.2.), the fleet that is being provided with charging or fueling must commit to:

- At least [two] one MDHD EV[s] per [Level 2] charging port proposed for CEC funding. Applicants that can demonstrate vehicles above a 1-to-1 ratio will score higher. [;]

- [At least three MDHD EVs per DC fast charging port proposed for CEC funding;]

- At least 15 MDHD FCEVs per every one hydrogen fueling position proposed for CEC funding; or

- At least one specialty vehicle, off-road equipment/vehicle, or non-road vehicle per EV charging port or hydrogen refueling position proposed for CEC funding.

These vehicle-to-infrastructure ratios are used solely to assess eligibility and infrastructure justification. They are not duty-cycle or in-use operational requirements.

The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure. New vehicles procured as part of a resulting grant agreement may be eligible for match funding. Existing vehicles are not eligible for reimbursement or match funding.

If proposing a Shared Access infrastructure project, the application must demonstrate that at least two fleets are being supported by the proposed infrastructure. [and the cumulative vehicles supported meet the minimum commitment numbers listed above. The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure.]

Shared and Public Access infrastructure projects are not required to meet the vehicle deployment requirements; however, applications will be scored on the degree to which proposed projects maximize vehicle deployment and market growth. 

If a project is a combination of Public/Shared and [Shared/]Private Access infrastructure, then the portion of the infrastructure with [Shared/]Private Access must meet the vehicle deployment [and/or number of fleets supported] requirements (excluding the public entities covered by the exceptions listed in Section II.B.2).

To ensure that the infrastructure funded under this solicitation will be utilized, Applicants of all Private [or Shared] Access infrastructure projects must submit a Letter(s) of Intent to Place a Purchase Order (Attachment 20) per fleet with their application, with the exception of applicants using existing vehicles. The letter(s) must specify the type(s) and number(s) of ZEVs to be procured and justify the need for the proposed infrastructure.

If an Applicant cannot place a purchase order within three (3) months of agreement execution, the CEC reserves the right, in addition to any other rights it has, to cancel the award and offer funding to the next highest scored eligible Applicant on the NOPA list. While the purchase order must be placed within three months of agreement execution, there is not a firm requirement by when the vehicles must be delivered. Infrastructure lead times or vehicle production lead times may vary and the fleet operator may need to ensure alignment of those. However, the vehicle orders must take place and vehicles must be delivered by the time the infrastructure becomes energized and operational. Costs for vehicles are not reimbursable; however, they may be used towards match.

Applicants who already own ZEVs or have recently placed a purchase order for ZEVs that will use the proposed infrastructure must submit a letter stating the type(s) and number(s) of ZEVs and explaining the need for the new infrastructure instead of a Letter of Intent to Place a Purchase Order (Attachment 20). The proposed number of charging ports or refueling positions must be reasonably aligned with the applicant’s existing or incoming ZEV fleet size.

All applications, regardless of access-type, must demonstrate how the proposed project will maximize zero-emission vehicle deployment, including descriptions of fleet commitments and strategies the Applicant will take to maximize market growth.

If the proposed project is Private or Shared Access, applications must also provide the following information regarding the fleet(s) being supported by the proposed infrastructure in the Application Narrative (Attachment 1):

- Quantity and type of all vehicles in the current fleet (including vehicle size/class, fuel type, and quantity).

- Operations and average daily vehicle-miles-traveled (VMT) for each vehicle, or operations and average daily engine hours for specialty, off-road, or non-road applications.

- Quantity and timeline of how many of the fleet’s vehicles will be converted to zero-emission.

- Number of miles that will be converted from fossil-fuel-VMT to zero-emission-VMT, or number of engine hours and fuel volume to be replaced by zero-emission alternatives for specialty, off-road, or non-road applications.

Please see Section IV.E., Evaluation Criteria for further detail. Applicants will be evaluated on the degree to which fleets maximize their vehicle deployment and zero-emission-VMT.

Please note that applicants proposing Private Access infrastructure projects (who are also required to meet the Private Access Vehicle Deployment Requirements) may propose installing additional infrastructure with match funding. [For example, for a Private Access site, if a fleet cannot support two vehicles with one Level 2 charger, the fleet may use its own funds to procure and install additional Level 2 chargers to meet their needs. The additional chargers may be considered eligible match funding.]

For Example:

A Private Access fleet determines that it needs 20 charging ports to meet its operational needs.

Under the solicitation requirements, each charging port must be able to support one ZEV. Therefore, the fleet must demonstrate:

20 charging ports x 1 ZEV per port = 20 ZEVs required.

The applicant currently owns 10 ZEVs and plans to order 5 additional ZEVs within three months of agreement execution, for a total of 15 ZEVs. They do not intend to place any further vehicle orders for the next three years.

Because the fleet has 15 ZEVs, which is fewer than the required 20 ZEVs, it is not eligible for CEC funding for all 20 charging ports.

15 ZEVs / 1 ZEV per charging port = 15 charging ports

Applicants cannot request a fraction of a port, so the fleet is eligible for CEC funding for up to 15 charging ports.

To still meet its operational need for 20 charging ports, the fleet may install the remaining 5 charging ports using its own funds. These additional charging ports may be counted as eligible match funding.

- Section II.C.1 and 4. Minimum Technical Requirements for Electric Vehicle Charging Stations

This section applies to all stations: Private, Shared, and Public Access.

To be considered completed, electric vehicle charging stations funded under this solicitation shall, at a minimum, meet and adhere to each of the following Minimum Technical Requirements for Electric Vehicle Charging Stations during station operation.

The Recipient shall submit to the CEC a completed, signed, and dated Station Checklist (Attachment 14) for each station as it becomes operational. Should the charging station come out of compliance with the Checklist, the Recipient shall submit to the CEC a new completed, signed, and dated Station Checklist.

All of the following Minimum Technical Requirements for Electric Vehicle Charging Stations shall be met at the exact station address approved by the CEC.

- The Energy Infrastructure Incentives for Zero-Emission Commercial Vehicles (EnergIIZE) program is an incentive program funded by the CEC and administered by CALSTART. The charging station equipment funded under this solicitation must conform to the applicable safety and technical standards listed in the solicitation. As long as the charger meets the same standards that listed equipment is required to meet, and that compliance can be verified, an Applicant may purchase equipment not formally included on the EnergIIZE Equipment Catalog list [with equipment detailed in the EnergIIZE Eligible Electric Technology Catalog] which can be found at https://energiize.org/equipment-catalog/ [https://www.energiize.org/infrastructure?section=infrastructure.more-details.technology]. Each charging station port must be capable of providing at least Level 2 charging].

- Each charging station port must be capable of providing at least Level 2 charging.

- For Public Access charging stations:

  - Each charging station port must be capable of providing at least 200 kW. If Automated Load Management (ALM) is being utilized, each charging station port must be capable of simultaneously providing at least 150 kW when all ports are in use.

  - Each charging port must support output voltages between 250 volts DC and 920 volts DC.

  - Each charging port must have at least one permanently attached SAE J1772 CCS or SAE J3271 MCS connector. Additional connector types are allowed if the previous requirement is met.

      - All charging ports must be capable of 375 Amps.

  - The charging stations are strongly encouraged to have 480 V 3-phase power available and adequate transformer capacity to serve the DCFCs.

  - All station conduit runs installed must be sized to provide at least 350 kW.

- [The charging port must be Energy Star certified and listed on the Energy Star Product Finder Page. They do not have to be certified at the time of submitting the proposal but must be certified prior to submitting an invoice that seeks repayment for the chargers. Chargers over 350 kW are not required to be Energy Star certified.]

- Section III. D. 2. b. Project Readiness

    - Demonstrate how the proposed project will maximize zero-emission vehicle deployment per charging port/refueling position. Demonstrate how the project will reach broader markets, including whether the project will support shared fleets or infrastructure serving multiple fleet operators. Describe fleet commitments, if applicable, or what strategies the Applicant will take to maximize market growth.

- Section IV.E. Evaluation Criteria

| Criterion | Possible Points |
| --- | --- |
| - Team Experience and Qualifications Applications will be evaluated on the degree to which: - The project team’s qualifications (including relevant expertise, experience, and skill sets) are suitable to the tasks described in the proposed Scope of Work. - The project team has members with at least three (3) years of experience designing, planning, constructing, testing, operating, or maintaining electric vehicle or hydrogen refueling stations, and qualifications, skills, abilities, and relevant technical and business experience align with the needs and successful completion of the proposed project. - The project team has verifiable experience working with AHJ and utility personnel to overcome permitting and planning barriers. - The project team has sufficient personnel and organizational capacity to complete the project given its other project commitments. - The Applicant and project team have demonstrated exceptional administrative and technical performance under existing or prior funding agreements (CEC and/or other public agencies), if the Applicant or project team worked on such projects, including: - Adherence to schedules and due dates. - Effective and timely issue resolution. - Quality of deliverables. - Objectives of past projects have been attained. - Honest, timely, and professional communication with staff from the funding entity. - Effective coordination with project partners, subrecipients, vendors, and other stakeholders. - Timely and accurate invoicing. | 10 |
| - Project Readiness Applications will be evaluated on the degree to which: - The proposed project maximizes vehicle deployment per charging port or refueling position. - Required permitting for the proposed project has been completed. - The proposed project has achieved compliance under the CEQA. - Site control is secured, viable back-up sites are identified, and a sufficient plan for managing site or site host changes is provided. - Coordination with the respective utility provider for utility connection demonstrates accelerated timeline to energize the sites. - The equipment to be deployed meets the Charger Port/Hydrogen Refueling Dispenser Minimums and accelerates project timelines. - The timeline for charger or hydrogen refueling dispenser installation and commissioning is expedited. - A clear and realistic timeline is provided for the acquisition of MDHD ZEVs. Strategies to expedite the vehicle acquisition process are identified. - The project will effectively deploy renewable DERs and/or renewable energy generation equipment to accelerate timelines. A clear plan is provided for the use, management, and long-term commitment to zero-emission and/or renewable fuel equipment beyond project completion. - If solar or storage equipment is included in the project, the equipment to be deployed will lower the cost of electricity for charging or hydrogen fuel for customers. - The tasks in the Scope of Work contribute to the successful and timely completion of the proposed project. - Planned community outreach is appropriate and comprehensive and contributes to the overall success of the proposed project. - Major risks and barriers to successful project completion are identified and mitigated. - The project team demonstrates it has the resources to operate each charging port and/or hydrogen refueling position for at least six years. - The ZEV infrastructure to be deployed is appropriate for the project’s vehicle population and leads to successful deployment of zero-emission MDHD vehicles. - The retail price of fuel and/or the cost of charging will be minimized. NOTE: Project Readiness must obtain a minimum passing score of 21 points (70% percent) within this evaluation criterion to be eligible for funding. | 30 |

Questions and Answers

Q12:	How does this solicitation assess the charging port capacity? In the instance where a 360 kW Power Cabinet supports three charging ports, charging capacity varies based on how many port are active simultaneously, 360 kW if only one port is active, 180 kW two ports are simultaneously active and 90 kW when three ports are simultaneously active. Is the maximum, average, minimum, or other factor considered for the amount of eligible funding available?

A12. 	Please see Addendum [6]8, which no longer sets a maximum award amount per charging port. Projects will be evaluated on the degree to which the proposed infrastructure demonstrates a highly cost-effective use of CEC funds, with a low cost per charging port or refueling position relative to the power level or refueling capacity. Projects will be evaluated on both the dollar-per-port or refueling position and the dollar-per kW or kg.

Please see Section I.E. How Award is Determined and Section I.G. Minimum Infrastructure Requirements and Maximum Award Amounts.

Q13:	As written, this solicitation appears to encourage eliminating a charging port if the minimum simultaneous delivery is used as an applicant could receive $225,000 for a three port configuration ($75,000 * 3) and $500,000 ($250,000 * 2) for a two port configuration with the same power cabinet. Is the goal of the CEC to have higher power ratings for all applications as opposed to more charging ports? This seems like an odd incentive as it is cheaper to have a two port configuration than a three port configuration, but it is rewarded with more eligible dollars.

A13. 	The CEC does not have a preference for higher power ratings over the number of charging ports. Applicants are encouraged to focus on the infrastructure needs for planned ZEVs and choose the infrastructure type(s) accordingly. Please see Addendum [6]8, which no longer sets a maximum award amount per charging port.

Q14: 	In the vehicle deployment requirement (three MDHD EVs per DCFC), does the CEC define a “charger”? Is this per dispenser/port? For multi-port load-sharing systems does each port count as a separate charger or is the cabinet treated as one charger?

A14: 	Section II.B.4 of Addendum [6]8 clarifies that vehicle deployment requirements are based on charging port instead of charger. For the purposes of this solicitation, “charging port” is defined as the system within a charger that charges one electric vehicle. A charging port may have multiple connectors, but it can provide power to charge only one electric vehicle through one connector at a time. In this solicitation CEC is defining charger as the ability to charge/dispense one vehicle at a time, regardless of how many connectors it has. For example, a multi-port-load sharing system that can simultaneously charge three (3) vehicles would count as three (3) charging ports.

Q15:	As an applicant with secure, fenced yards where public access poses safety and liability risks, is there an exception to the requirement that at least 25% of charging ports must be available for public access during normal hours? If not, this may limit eligibility for transit agencies. Can you clarify?

A15: 	The requirement that at least 25% of charging ports be available for public access during normal operating hours applies to applicants providing charging or fueling for the fleets of public entities (other than California state government agencies, which are ineligible under this solicitation). Addendum [6]8 clarifies exceptions to these public access requirements:

- Infrastructure for off-road and non-road applications are not required to be Public Access.

- Infrastructure that is used for the sole purpose of supporting ZEVs that provide essential city services and are vehicles upfitted to meet such a need (i.e. street sweepers and sanitation trucks) are not required to be Public Access.

- If the Applicant is a school district and their blueprint implementation project is solely for charging and/or refueling school buses, there is no Public Access requirement for their project.

- If the Applicant is a transit agency and their blueprint implementation project is solely for charging and/or refueling their transit buses, then there is no Public Access requirement for their project.

Applicants proposing to support blueprint implementation on behalf of a public entity must adhere to all requirements established for public entities. Exceptions will apply only for the specific vehicle types as described above.

In cases where access to secure or fenced yards is not feasible for safety or operational reasons, applicants may consider installing public-accessible infrastructure outside the fenced area. For example, chargers could be installed in a publicly accessible area of the property, such as a parking lot or designated zone outside the secured perimeter. Publicly dedicated equipment can also be built at a different location.

Q17: 	Many public entities, like school districts and transit agencies, operate sites that are not open to the general public but still serve an essential public function. Would the CEC clarify whether these are considered Private Access or Public Access?

A17: 	The CEC would consider this to be Private Access, or Shared Access if another fleet is using infrastructure at the depot. Please see Section II.B.2 of Addendum [6]8 for more information about Public Access requirements.

Q18: 	The new solicitation addendum requires sites to be open 25% of the time to the general public. If a site is required to be open to the general public for part of the time, would those chargers then be subject to the same regulations and requirements as retail and public EVSE?

A18: 	The requirement is not that the sites be open to the public 25% of the time. Under Section II B., the requirement is “For infrastructure projects providing charging or fueling for the fleets of public entities (other than California state government agencies, which are ineligible under this GFO, and entities covered by the exceptions listed in Section II.B.2 in Addendum [6]8), applicants must propose infrastructure with at least 25% of the charging ports/hydrogen fueling positions available as Public Access during normal operating hours. The remaining 75% of infrastructure may be Public, Shared, or Private Access.”

See Section II.B.2. Eligible Project Accessibility Requirements.

Q19: 	Does the 25% public access requirement apply to public entities that are applying for non-road, private-access chargers?

A19:	Please see exceptions to Public Access requirements in Section II.B.2. in Addendum [6]8.

Q20: 	Would a school district be required to comply with payment system requirements for public charging? Public school districts are not well-positioned to handle financial transactions or store sensitive user/payment data. Installing and operating a secure point-of-sale system is both costly and outside the core mission of this type of project which is to deliver students safely to and from school. Will CEC provide funding to cover these point-of-sale systems, and will applicants be allowed (or expected) to partner with third-party operators who can handle payments and data security?

A20: 	Please see exceptions to Public Access requirements in Section II.B.2 in Addendum [6]8. If equipment will be 100% public access, it must meet the requirements for public access charging stations listed in Section II.C. Minimum Technical Requirements for Electric Vehicle Charging Stations. There is no requirement for chargers to have a point of sale system. Nonetheless, point of sale systems are eligible reimbursable and match costs. Third-party operators may be included as an Applicant’s match share.

Q21: 	The new public access requirement will likely cause additional maintenance burdens for applicants. Public chargers are significantly more expensive to maintain than private fleet chargers, and they’re also more susceptible to vandalism or damage. If a public-facing unit is vandalized and needs to be fully replaced, that could represent a very large unplanned expense for a school district. Can CEC clarify who would be responsible for covering these maintenance and replacement costs — the grantee, the district, or would there be supplemental funding available?

A21: 	Equipment maintenance (i.e. maintenance for chargers used to recharge school buses) for the term of the agreement may be included as an Applicant’s match share. The entity responsible for covering maintenance and replacement costs would be the grantee. Moreover, if the Applicant is a school district and their blueprint implementation project is solely for charging and/or refueling their vehicles (i.e. school buses), there is no Public Access requirement for their project. See exceptions to Public Access requirements in Section II.B.2. in Addendum [6]8.

Q26: 	The Application Manual suggests Level 2 chargers may be eligible if they support MDHD battery electric vehicles (BEVs), but only DCFC outputs are listed in the funding table, and Section C states each port must provide at least 60 kW. Are Level 2 chargers eligible for CEC funding under this GFO if all other criteria are met (e.g., supporting at least two MDHD BEVs per charger)?

A26: 	Please see Addendum [6]8. Level 2 chargers are eligible for CEC funding.

Q28:	Why are minimums on simultaneous power levels included in the solicitation? Many MDHD applications do not need more than Level 2, and this will inflate costs. Typical bidirectional equipment is 60kW as well, which makes this difficult for school districts.

A28:	Please see Addendum [6]8 for new power level requirements (Section II.B.3). Level 2 chargers are eligible for CEC funding.

Additionally, minimums on simultaneous power levels are required if the electric vehicle charging station will be open for public access, and each charging station port must be capable of providing at least 200 kW (Section II.B.3.). If Automated Load Management (ALM) is being utilized, each charging station port must be capable of simultaneously providing at least 150 kW when all ports are in use. This requirement aims to provide sufficient charging speed for larger vehicles, facilitating efficient operations and reducing downtime. If the charging equipment is not for public use, the simultaneous power level minimums do not apply.

Q29:	Could an application be eligible if it makes the case that a per-port power capacity below 80kW is in the economic and operational interest of the project?

A29:	Please see Addendum [6]8 for power level requirements. If the electric vehicle charging station will be Private Access or Shared Access, each charging port must be capable of at least Level 2 charging. (Section II.B.3). If the electric vehicle charging station will be Public Access, each charging station port must be capable of providing at least 200 kW. This requirement is designed to ensure that the infrastructure supports the deployment of and performance needs of medium- and heavy-duty zero-emission vehicles.

Q32:	The GFO Vehicle Deployment Requirements state: “... the fleet that is being provided with charging...must commit to...[a]t least three MDHD EVs per DC fast charger proposed for CEC funding.” Thus, if the project seeks to install 27 DC fast chargers, then the fleet must commit at least 81 MDHD EVs to the project. Do these Vehicle Deployment Requirements apply to off-road equipment or specialty vehicles?

A32: 	Please see Addendum [6]8. A commitment of at least one (1) specialty vehicle, off-road equipment/vehicle, or non-road vehicle is required per charging port or refueling position proposed for CEC funding.

Q33: 	Does each port count as a “DC fast charger” in the context of this text from the GFO: “... the fleet that is being provided with charging...must commit to...[a]t least three MDHD EVs per DC fast charger proposed for CEC funding.”

A33: 	Please see Addendum [6]8. [The fleet that is being provided with charging or fueling must commit to “[a]t least three MDHD EVs per charging port proposed for CEC funding”, where] The charging port is defined as “The system within a charger that charges one electric vehicle. A charging port may have multiple connectors, but it can provide power to charge only one electric vehicle through one connector at a time.”

Q35: 	If a project phases in vehicles over multiple years, how will compliance with the vehicle-to-charger ratio be measured? At the start of operations or by project completion?

A35: 	Compliance with the vehicle-to-charger ratio will be measured by the time infrastructure becomes energized and operational.

Please see Addendum 8. Other relevant requirements are as follows: To ensure that the infrastructure funded under this solicitation will be utilized, Applicants of all Private [or Shared] Access infrastructure projects must submit a Letter(s) of Intent to Place a Purchase Order (Attachment 20) per fleet with their application, with the exception of applicants using existing vehicles. The letter(s) must specify the type(s) and number(s) of ZEVs to be procured and justify the need for the proposed infrastructure.

If an Applicant cannot place a purchase order within three (3) months of agreement execution, the CEC reserves the right, in addition to any other rights it has, to cancel the award and offer funding to the next highest scored eligible Applicant on the NOPA list. While the purchase order must be placed within three months of agreement execution, there is not a firm requirement by when the vehicles must be delivered. Infrastructure lead times or vehicle production lead times may vary and the fleet operator may need to ensure alignment of those. However, the vehicle orders must take place and vehicles must be delivered by the time the infrastructure becomes energized and operational.

Q39: 	When will we be able to begin obtaining the electric vehicles required for shared access projects? May we obtain them prior to funding, only after funding has been awarded or only after the infrastructure is in place?

A39:	Please see Addendum 8. Applicants of all Private [or Shared] Access infrastructure projects must submit a Letter(s) of Intent to Place a Purchase Order (Attachment 20) per fleet with their application, with the exception of applicants using existing vehicles. The letter(s) must specify the type(s) and number(s) of ZEVs to be procured and justify the need for the proposed infrastructure.

If an Applicant cannot place a purchase order within three (3) months of agreement execution, the CEC reserves the right, in addition to any other rights it has, to cancel the award and offer funding to the next highest scored eligible Applicant on the NOPA list. While the purchase order must be placed within three months of agreement execution, there is not a firm requirement by when the vehicles must be delivered.

The vehicles being supported must either be new vehicles being procured or existing vehicles that were not able to be used due to a lack of infrastructure. New vehicles procured as part of a resulting grant agreement may be eligible for match funding. Existing vehicles are not eligible for reimbursement or match funding.

Q40:	In the GFO, one of the success criteria is average daily vehicle miles traveled (VMT). While this works well for projects deploying infrastructure that will serve MDHD trucks, VMT does not seem to be a good way of measuring the success of off-road or specialty equipment, such as forklifts, cargo handling equipment, or industrial equipment. Can you explain if VMT applies equally to such equipment and, if not, provide an alternative metric?’

A40: 	Please see Addendum [6]8. In place of vehicle miles traveled, applicants must provide operations and average daily engine hours, as well as number of engine hours and fuel volume to be replaced by zero-emission alternatives for specialty, off-road, or non-road applications.

Q45:	Under what circumstances would the application need to show proof of an MDHD purchase?

A45: 	Please see Addendum 8. If proposing a Private Access [or Shared Access] infrastructure project (excluding the public entities covered by the exceptions listed in Section II.B.2.), the fleet that is being provided with charging or fueling must commit to:

- At least [two] one MDHD EV[s] per [Level 2] charging port proposed for CEC funding. Applicants that can demonstrate vehicles above a 1-to-1 ratio will score higher. [;]

- [At least three MDHD EVs per DC fast charging port proposed for CEC funding;]

- At least 15 MDHD FCEVs per every one hydrogen fueling position proposed for CEC funding; or

- At least one specialty vehicle, off-road equipment/vehicle, or non-road vehicle per EV charging port or hydrogen refueling position proposed for CEC funding.

Applicants must place a purchase order within three (3) months of agreement execution. Applicants who already own ZEVs or have recently placed a purchase order for ZEVs that will use the proposed infrastructure must submit a letter stating the type(s) and number(s) of ZEVs and explaining the need for the new infrastructure instead of a Letter of Intent to Place a Purchase Order. The proposed number of charging ports or refueling positions must be reasonably aligned with the applicant’s existing or incoming ZEV fleet size. Please see Section 2.B.4. Vehicle Deployment Requirements.

Q58: I see in the latest manual that Energy Star Certification is still required. There seems to be a lot of uncertainty around this program’s continuance under the current administration. How will this be handled for the GFO-24-611 as there are many EV chargers in the CEC approved catalog that are not Energy Star certified and may not be able to obtain the certification?

A58: Per Addendum 8, the requirement for Energy Star certification and listing on the Energy Star Product Finder Page has been removed. Please see Section II.C.4.

Enrico Palo

Commission Agreement Officer