March 12, 2026

# GFO-24-610

# Medium- and Heavy-Duty Zero-Emission Vehicle Port Infrastructure

# Addendum 10

The purpose of this addendum is to notify potential applicants of changes that have been made to GFO-24-610.

The addendum includes revisions to the Solicitation Manual; Attachment 2, Scope of Work; Attachment 3, Scope of Work Instructions; Attachment 20, Station Checklist; and Questions and Answers.

Added language appears in bold underline, and deleted language appears in [strikethrough] and within square brackets.

The updated question-and-answer set is posted on the CEC’s solicitation information website at www.energy.ca.gov/funding-opportunities/solicitations.

## Solicitation Manual

## Section II.C. Minimum Technical Requirements for Electric Vehicle Charging Stations

- The charging port must conform to OCPP 2.0.1 or later. Manufacturers must attest that the charger conforms to OCPP 2.0.1 or later by detailing it on a publicly available charger specification sheet.

- For Public Access charging stations, t[T]he charging port’s networking software must connect to a central management system using OCPP 2.0.1 for the purposes of charger management and data reporting, including for reliability data reporting requirements specified in the solicitation Scope of Work. Charging ports must comply with regulatory requirements under Assembly Bill 2061 once the regulation is adopted by CEC. This includes connecting to a central management system using OCPP 2.0.1 or later for the purposes of reliability data reporting for applicable charging ports.

- The charging ports must be designed to remotely and securely switch OCPP network providers without any changes in hardware or physical site visits.

## Section III.D.3. Scope of Work (Attachment 2)

Applicants must include a completed Scope of Work utilizing the template contained in Attachment 2. Instructions for completing the Scope of Work as well as a sample are included in Attachment 3. The description of activities proposed in the Project Narrative must conform to the tasks described in the Scope of Work. Electronic files for the Scope of Work must be in MS Word.

Please note, the information, requirements, and deliverables set forth in this Scope of Work template are provided for preliminary reference only and are subject to revision. CEC reserves the right to modify the Scope of Work at any time during the negotiation and development of a grant agreement.

Applicants must present a comprehensive and credible Scope of Work which includes (presented in a logical manner) comprehensive and sequential tasks, products resulting from the individual tasks, and how the tasks are related to or are dependent on each other.

Attachment 2, Scope of Work

- The information, requirements, and deliverables set forth in this Scope of Work template are provided for preliminary reference only and are subject to revision. CEC reserves the right to modify the Scope of Work at any time during the negotiation and development of a grant agreement.

Attachment 3, Scope of Work Instructions

## The information, requirements, and deliverables set forth in the Scope of Work template (Attachment 2) are provided for preliminary reference only and are subject to revision. CEC reserves the right to modify the Scope of Work at any time during the negotiation and development of a grant agreement.

Attachment 20, Station Checklist

- [The charging port must be Energy Star certified and listed on the Energy Star Product Finder Page. They do not have to be certified at the time of submitting the proposal but must be certified prior to submitting an invoice that seeks repayment for the chargers. Chargers over 350 kW are not required to be Energy Star certified.]

- The charging ports must conform to OCPP 2.0.1 or later. Manufacturers must attest that the charger conforms to OCPP 2.0.1 or later by detailing it on a publicly available charger specification sheet.

- For Public Access, t[T]he charging port’s networking software must connect to a central management system using OCPP 2.0.1 for the purposes of charger management and data reporting, including for reliability data reporting requirements specified in the solicitation Scope of Work. Charging ports must comply with regulatory requirements under Assembly Bill 2061 once the regulation is adopted by CEC. This includes connecting to a central management system using OCPP 2.0.1 or later for the purposes of reliability data reporting for applicable charging ports.

- The charging ports must be designed to remotely and securely switch OCPP network providers without any changes in hardware or physical site visits.

Questions and Answers

- Unless indicated otherwise, all section numbers identified are from the solicitation 	manual (for example, “Section II.B” refers to Section II.B of the solicitation manual) of 	Addendum [9]10.

A4. 	Please see Addendum [9]10, which no longer sets a maximum award amount per charging port. Projects will be evaluated on the degree to which the proposed infrastructure demonstrates a highly cost-effective use of CEC funds, with a low cost per charging port or refueling position relative to the power level or refueling capacity. Projects will be evaluated on both the dollar-per-port or refueling position and the dollar-per kW or kg.

Please see Section I.E. How Award is Determined and Section I.G. Minimum Infrastructure Requirements and Maximum Award Amounts.

A5:	The CEC does not have a preference for higher power ratings over the number of charging ports. Applicants are encouraged to focus on the infrastructure needs for planned ZEVs and choose the infrastructure type(s) accordingly. Please see Addendum [9]10, which no longer sets a maximum award amount per charging port.

A16:	A proposed project may include charging or hydrogen refueling infrastructure to support a marine vessel or harbor craft. The proposed project must meet the minimum charger port or hydrogen fueling position deployment requirements outlined in Section I.G. Please refer to Addendum [9]10 for new minimum infrastructure requirements. Zero-emission vehicles (purchased, rented, or leased) and vehicle-related expenses (e.g., vehicle parts, labor for vehicle repairs, etc.) are not eligible as CEC reimbursable expenses, but may be included in the Applicant’s Match Share. Refer to Section II.E., Eligible Project Costs.

A43:	The CEQA worksheet must be completed and submitted with the application packet. Projects recommended for funding must complete the CEQA process within 6 months of the release date of the NOPA. The CEC reserves the right to cancel proposed awards that do not meet this CEQA compliance deadline and recommend funding for the next, highest-scoring passing proposal submitted under this solicitation consistent with the evaluation process discussed in Section I.E. How Award is Determined, in Addendum [9]10. Refer to Section III.D.10., CEQA Worksheet (Attachment 10).

Q69:	Are Private or Shared Access projects required to operate on OCPP 2.0.1 in order to be eligible for this solicitation?

A69:	All charging ports must conform to OCPP 2.0.1 or later, and manufacturers must attest that the charger hardware conforms to OCPP 2.0.1 or later by detailing it on a publicly available charger specification sheet. For Public Access charging stations, charging ports must comply with regulatory requirements under Assembly Bill 2061 once the regulation is adopted by CEC. This includes connecting to a central management system using OCPP 2.0.1 or later for the purposes of reliability data reporting for applicable charging ports. Please see Addendum 10.

Q70.	Are forklifts on-road vehicles?

A70.	No, forklifts are not considered on-road vehicles. On-road vehicles are vehicles that are intended by their manufacturer for use on public highways. On-road vehicles must be certified by their manufacturer with the U.S. Department of Transportation (DOT), National Highway Traffic Safety Administration (NHTSA), as compliant with on-highway safety standards as well as certified to all applicable ARB and U.S. EPA on-road emission standards. Compliance with these standards is indicated by separate safety and emissions labels on the vehicle.

Q71.	We are in the process of acquiring a site that could be used to qualify for this project. If land ownership were imminent in the near future, could this be used to make the site eligible under this grant's definition of "Site control"? (We'd likely take ownership by the time the awards are made.)

A71.	Site ownership is not required for this solicitation. However, site control will be evaluated under the Project Readiness/Implementation evaluation criterion. Projects will be scored on the degree to which site control is secured, viable back-up sites have been identified, and a sufficient plan for managing site or site host changes is provided.

Q72.	Could you please clarify the data collection requirements and associated timelines in the GFO? Is the 12month data collection requirement intended to be part of this three year utilization requirement? Can you confirm whether either the 12month or the three year data collection milestones must be included in the Schedule of Products and therefore completed before October 31, 2029?

A72.	Applicants must collect a minimum of 12 months of operations and utilization data within the agreement term, which must end no later than October 31, 2029. The full 12-month data collection period must be included in the Schedule of Products and Due Dates.

The required 12 months of data collection is part of the broader three-year utilization reporting requirement described under the Utilization task in the Scope of Work. Although the full three years of reporting extends beyond the agreement term, applicants must ensure that at least the first 12 months of data collection and reporting occur before the agreement end date and are reflected in the Schedule of Products and Due Dates.

Natalie Johnson

Commission Agreement Officer