(See the Request Instructions for Inverter- or ESS-Based PCS for Listing Requirements) 	ID # _______ (For Internal Use Only)

NOTE: Please do not submit any proprietary or confidential information; all submitted information is public record.

This Form can ONLY be used in conjunction with one of the following Forms: the Inverter Request Form or the ESS Request Form, and must be submitted by the Inverter or ESS manufacturer, as applicable.

New or Existing Model Number:

Request Type: Add PCS Functionality Revise PCS Functionality

Reason for PCS Data Revision (or indicate N/A):

| Type of Equipment | Model Number | Additional Devices Required for PCS Functionality (as indicated by NRTL in the test report) | Brief Description |
| --- | --- | --- | --- |
| ESS Inverter |  |  |  |
| Single or Multi Phase | Output Voltage | Maximum Continuous Current | Maximum Continuous Power |
|  | (V) | (A) | (kVA) |

UL 1741 CRD/UL 3141 Test Report Summary:

| Is the test lab a Nationally Recognized Testing Laboratory (NRTL) whose Scope of Recognition under the Occupational Safety and Health Administration (OSHA) includes UL 1741? | YES NO |
| --- | --- |
| If the UL 3141 standard is used for testing, does the issued test report document indicate both UL 3141 and UL 1741 PCS CRD in the applicable standard section?2 | YES NO |
| Is the submitted test report summary from a NRTL and for the requested equipment model number? | YES NO |
| Was the test equipment calibrated when the test was performed? | YES NO |
| Is the requested model number tested for ESS “Unrestricted Mode”? If yes, this mode’s tested value for Maximum Open Loop Response Time is: seconds | YES NO |
| Is the requested model number tested for ESS “Export Only Mode”? If yes, this mode’s tested value for Maximum Open Loop Response Time is: seconds | YES NO |
| Is the requested model number tested for ESS “Import Only Mode”? If yes, this mode’s tested value for Maximum Open Loop Response Time is: seconds | YES NO |
| Is the requested model number tested for ESS “No Exchange Mode”? If yes, this mode’s tested value for Maximum Open Loop Response Time is: seconds | YES NO |

Manufacturer’s Equipment Information and Instructions (As required in the utilized PCS test protocol):

| Does the submitted “Equipment Information and Instructions” document for this request meet all the requirements of UL 1741 PCS CRD, Section 208; or UL 3141, Section 11? (Based on the utilized testing protocol) | YES NO |
| --- | --- |
| What is/are the identified current measurement reference point(s) (mark all that apply)? |  |

| Inverter | Gateway | External Sensor | External Device | Other (Please explain in the “Notes” section) |
| --- | --- | --- | --- | --- |

Notes:

(If you checked “No” for any of the questions above, please explain and attach supporting documentation) (Please provide any other pertinent information, excluding marketing statements)

ESS: Energy Storage System. PCS: Power Control System.

The UL 1741 Certification Required Decision (CRD) for Power Control System (PCS) functionalities. Additionally, the UL 3141 standard can be utilized to test PCS functionalities.

NOTE: If the tests are done with accordance to the UL 3141 standard, then the NRTL-issued test report summary must indicate both UL 3141 and UL 1741 PCS CRD references in the applicable standard(s) section of the test report document.

A current list of NRTLs approved by OSHA, along with their recognized scopes, can be found on the OSHA website.